## LOT 1
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Item No . | Description Of Item | Brand | Unit Of Supply | Qty | Unit price (N) | Total price EXW | Extra Price to deliver | Total price (N) | VAT and other taxes payable if contract is awarded | Point of Delivery | Delivery Period Offered
|  |  |  | Of units | 5: EXW; 7: Goods to final destination; 8: Delivered
|  |  |  | Required | 6: (col. 4 ´ 5); 8: (col. 6 +7)
[5 empty] | Note 1 / Note 2 |  | Note 3 |  | Note 4
S/N
LOT No. 4: BILLS OF QUANTITIES FOR PROCUREMENT MEDICAL EQUIPMENT LOT 1. AT EDO STATE MINISTRY OF HEALTH
A1 | AED | PROGETTI | 1 | 4 | 555000 | 2220000 | 0 | 2220000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.107.15.29 | RESUSCITATION STATION/BABY WARMER | GE Lullaby Warmer + Resus Plus | 1 | 8 | 3885000 | 31080000 | 0 | 31080000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.107.15.30 | BABY WARMER NICU | PANDER WARMER | 1 | 4 | 3885000 | 15540000 | 0 | 15540000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.109.42.80 | RESUSCITATION UNIT (AMBU) ADULT/PEDIATRIC SET COMPLETE | ambu | 1 | 9 | 22200 | 199800 | 0 | 199800 |  | Stella Obasanajo Hospital | 8-12 weeks
A.112.61.59 | ELECTRONIC TRANSPORT VENTILATOR ON BED HOOK | FALCO | 1 | 14 | 8325000 | 116550000 | 0 | 116550000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.50.51.53 | ANAESTHESIA PENDANT MECH WITH MONITOR SHELF AND POWER OUTLET | INSPITAL | 1 | 7 | 7215000 | 50505000 | 0 | 50505000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.51.03.06 | ANAESTHESIA UNIT - 2 VAPORIZER/VENTILATOR/RESP MONITOR | GE 9100 NXT | 1 | 3 | 11100000 | 33300000 | 0 | 33300000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.51.54.59 | ANAESTHESIA WORKSTATION- 2 VAPORIZER/DIGITAL/RESP+PATIENT MONITOR/VENTILATOR/GAS SCAVENGING | GE 9100 NXT | 1 | 5 | 11100000 | 55500000 | 0 | 55500000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.52.06.11 | ANESTHESIA MACHINE - SIMPLE - MRI COMPATIBLE | GE Aestivia | 1 | 1 | 19980000 | 19980000 | 0 | 19980000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.55.09.17 | CPAP MACHINE - NEONATAL | F&P | 1 | 4 | 4995000 | 19980000 | 0 | 19980000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.57.60.70 | HUMIDIFIER FOR NEONATAL HFO VENTILATOR | F&P | 1 | 3 | 2775000 | 8325000 | 0 | 8325000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.57.60.70M | HUMIDIFIER FOR NEONATAL VENTILATOR | F&P | 1 | 9 | 1665000 | 14985000 | 0 | 14985000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.57.60.71 | HUMIDIFIER FOR ADULT/PEDIATRIC VENTILATOR | F&P | 1 | 4 | 1665000 | 6660000 | 0 | 6660000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.60.12.23 | NEBULISER - EMERGENCY ROOM WITH MEDICATION CUP | omron | 1 | 10 | 66600 | 666000 | 0 | 666000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.60.63.76 | NEBULISER - EMITTED DOSE - ICU/CCU | omron | 1 | 2 | 66600 | 133200 | 0 | 133200 |  | Stella Obasanajo Hospital | 8-12 weeks
A.61.15.29 | NEBULISER | omron | 1 | 5 | 66600 | 333000 | 0 | 333000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.63.66.82 | PLETHYSMOGRAPH CABINET - COMPACT SIZE WITH CHAIR |  | 1 | 1 | 66600 | 66600 | 0 | 66600 |  | Stella Obasanajo Hospital | 8-12 weeks
A.66.18.34 | VENTILATOR - ADULT - ICU | SIarre | 1 | 5 | 8325000 | 41625000 | 0 | 41625000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.67.21.40 | VENTILATOR - BIPAP CAPABILTY - ICU | SIarre | 1 | 2 | 8325000 | 16650000 | 0 | 16650000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.67.72.93 | VENTILATOR - NEONATAL | SIarre | 1 | 9 | 8325000 | 74925000 | 0 | 74925000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.68.24.46 | VENTILATOR - NEONATAL HFO | SIarre | 1 | 3 | 8325000 | 24975000 | 0 | 24975000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.68.75.99 | VENTILATOR - PEDIATRIC/ADULT ICU | SIarre | 1 | 4 | 8325000 | 33300000 | 0 | 33300000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.69.27.52 | VENTILATOR - TRANSPORT - ADULT | FALCO | 1 | 1 | 8325000 | 8325000 | 0 | 8325000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.001 | PORCELAIN FURNACE WITH VACCUM PUMP | EUROPEAN | 1 | 1 | 7215000 | 7215000 | 0 | 7215000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.002 | BURNOUT FURNACE | EUROPEAN | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.003 | CASTING MACHINE - MANUAL | EUROPEAN | 1 | 1 | 1998000 | 1998000 | 0 | 1998000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.004 | SANDBLASTER | EUROPEAN | 1 | 1 | 1054500 | 1054500 | 0 | 1054500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.005 | MICRO SANDPLASTER | EUROPEAN | 1 | 1 | 316350 | 316350 | 0 | 316350 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.006 | VIBRATOR Dental | EUROPEAN | 1 | 1 | 888000 | 888000 | 0 | 888000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.007 | HANGING MOTOR WITH HANPIECE | EUROPEAN | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.008 | MICRO MOTOR | EUROPEAN | 1 | 1 | 521700 | 521700 | 0 | 521700 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.009 | VACCUM MIXER | CHINA | 1 | 1 | 1498500 | 1498500 | 0 | 1498500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.010 | PINDEX | CHINA | 1 | 1 | 499500 | 499500 | 0 | 499500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.011 | MODEL TRIMMER | EUROPEAN | 1 | 1 | 1043400 | 1043400 | 0 | 1043400 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.012 | STEAM MACHINE | CHINA | 1 | 1 | 1043400 | 1043400 | 0 | 1043400 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.013 | MOTOR CENTRIFUGE | UK | 1 | 1 | 3663000 | 3663000 | 0 | 3663000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.014 | POLISHING MOTOR | EUROPEAN | 1 | 1 | 999000 | 999000 | 0 | 999000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.110.51.53 | AMALGAMATOR - DENTAL | Henry Schein | 1 | 6 | 2220000 | 13320000 | 0 | 13320000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.111.03.06 | DENTAL CURING LIGHT - CORDLESS - LED | Woodpe | 1 | 6 | 1665000 | 9990000 | 0 | 9990000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.111.54.59 | LASER - DENTAL SURGICAL/DIODE/TABLETOP FOR SOFT TISSUE | Zolar | 1 | 6 | 9990000 | 59940000 | 0 | 59940000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.121.03.06 | DENTAL CHAIR BUILT IN COMPRESSOR COMPLETE | Olsen | 1 | 6 | 7215000 | 43290000 | 0 | 43290000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.122.06.11 | RADIOVISIOGRAPHY UNIT - HANDHELD WITH INTRAORAL CAMERA | Genoray | 1 | 6 | 9990000 | 59940000 | 0 | 59940000 |  | Stella Obasanajo Hospital | 8-12 weeks
DU.003 | SINK - CLEANER - SINGLE |  | 1 | 10 | 1332000 | 13320000 | 0 | 13320000 |  | Stella Obasanajo Hospital | 8-12 weeks
DU.007 | SLOP HOPPER |  | 1 | 11 | 555000 | 6105000 | 0 | 6105000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.20.51.53 | AUDIOMETER - TABLE TOP - DUAL CHANNEL |  | 1 | 1 | 4440000 | 4440000 | 0 | 4440000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.20.51.54 | BOOTH - AUDIOMETRY - COMPACT WITH VIEWPORT AND CHAIR - 1.2X1.2M |  | 1 | 1 | 5550000 | 5550000 | 0 | 5550000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.21.54.59 | SCREENING - HEARING FOR NEWBORN - OAE & ABR |  | 1 | 3 | 7215000 | 21645000 | 0 | 21645000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.22.06.11 | TYMPANOMETER | Germany | 1 | 1 | 2608500 | 2608500 | 0 | 2608500 |  | Stella Obasanajo Hospital | 8-12 weeks
E.40.51.53 | ENT CAMERA | Euroclinic | 1 | 3 | 11100000 | 33300000 | 0 | 33300000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.41.03.06 | ENT FLEXIBLE SCOPE | Euroclinic | 1 | 3 | 10545000 | 31635000 | 0 | 31635000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.41.54.59 | ENT STATION WITH CHAIR AND INSTRUMENTS - VIDEO MONITOR | Euroclinic | 1 | 3 | 22200000 | 66600000 | 0 | 66600000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.51.54.59 | ENT MICROSCOPE | LEICA | 1 | 3 | 16650000 | 49950000 | 0 | 49950000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.52.06.11 | MICROSCOPE - OPERATING - ENT SURGERY | Leica | 1 | 1 | 22200000 | 22200000 | 0 | 22200000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.101.03.06 | PHYSIOTHERAPY TABLE (BOBATH) |  | 1 | 3 | 1554000 | 4662000 | 0 | 4662000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.106.45.86 | WHEEL CHAIR | Drive | 1 | 21 | 277500 | 5827500 | 0 | 5827500 |  | Stella Obasanajo Hospital | 8-12 weeks
F.106.45.87 | WHEEL CHAIR - PEDIATRICS | Drive | 1 | 4 | 277500 | 1110000 | 0 | 1110000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.106.45.88 | WHEEL CHAIR - MRI COMPATIBLE | TBD | 1 | 1 | 610500 | 610500 | 0 | 610500 |  | Stella Obasanajo Hospital | 8-12 weeks
F.109.55.03 | TROLLEY - PATIENT TRANSPORT - STAINLESS STEEL FRAME - WASHABLE PADDING | GF Tendercare | 1 | 21 | 888000 | 18648000 | 0 | 18648000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.109.55.05 | STRETCHER - PROCEDURAL | GF Tendercare | 1 | 2 | 2220000 | 4440000 | 0 | 4440000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.116.58.09 | TROLLEY - PATIENT TRANSPORT - ABS FRAME - PADDED - TR AND RTR - HYDRAULIC | GF Tendercare | 1 | 22 | 1665000 | 36630000 | 0 | 36630000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.118.09.62 | TROLLEY - PATIENT TRANSPORT - MRI COMPATIBLE - PADDED - ON CASTORS | GF Tendercare | 1 | 1 | 3108000 | 3108000 | 0 | 3108000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.128.58.54 | BOWL STAND STAINLESS STEEL DOUBLE BOWL |  | 1 | 5 | 44400 | 222000 | 0 | 222000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.129.10.06 | BUCKET - KICK ABOUT ON CASTORS STAINLESS STEEL |  | 1 | 5 | 38850 | 194250 | 0 | 194250 |  | Stella Obasanajo Hospital | 8-12 weeks
F.129.61.59 | CABINET - DANGEROUS DRUG COMPARTMENT |  | 1 | 22 | 444000 | 9768000 | 0 | 9768000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.130.13.12 | CABINET - OT - STAINLESS STEEL - INSTRUMENT AND CONSUMABLES STORAGE |  | 1 | 24 | 177600 | 4262400 | 0 | 4262400 |  | Stella Obasanajo Hospital | 8-12 weeks
F.130.64.65 | DRESSING TROLLEY - OT - STAINLESS STEEL - ON CASTORS |  | 1 | 3 | 111000 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
F.131.16.18 | DRESSING TROLLEY - STANDARD |  | 1 | 30 | 111000 | 3330000 | 0 | 3330000 |  | EOMH | 8-12 weeks
F.131.67.71 | TABLE - INSTRUMENTS - STAINLESS STEEL - 2 SHELVES - ON CASTORS |  | 1 | 5 | 277500 | 1387500 | 0 | 1387500 |  | EOMH | 8-12 weeks
F.132.19.23 | CART - ANAESTHESIA - ABS - 5 DRAWER |  | 1 | 7 | 721500 | 5050500 | 0 | 5050500 |  | EOMH | 8-12 weeks
F.132.19.24 | TABLE - MAYO - STAINLESS STEEL |  | 1 | 6 | 277500 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
F.132.19.26 | TABLE - MAYO - MRI COMPATIBLE |  | 1 | 1 | 388500 | 388500 | 0 | 388500 |  | EOMH | 8-12 weeks
F.132.70.76 | TROLLEY - TRANSPORT - STERILE INSTRUMENTS - HERMETIC |  | 1 | 3 | 277500 | 832500 | 0 | 832500 |  | EOMH | 8-12 weeks
F.133.22.29 | TROLLEY - TRANSPORT - WIRE BASKETS |  | 1 | 9 | 277500 | 2497500 | 0 | 2497500 |  | EOMH | 8-12 weeks
F.133.73.82 | WASH STATION - DOUBLE SINK - STAINLESS STEEL - SPRAY GUN WATER |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
F.133.73.83 | CURTAIN - PATIENT SEPARATION |  | 1 | 5 | 55500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
F.136.31.46 | WORK TABLE - STAINLESS STEEL - 1.8 M - PACKING AND SORTING |  | 1 | 2 | 166500 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
F.164.92.17 | INSTRUMENT TROLLEY - OT - STAINLESS STEEL - ON CASTORS |  | 1 | 3 | 277500 | 832500 | 0 | 832500 |  | EOMH | 8-12 weeks
F.34.15.31 | BED - PEDIATRIC - 2 SECTION - MANUAL - ON CASTORS WITH MATTRESS |  | 1 | 43 | 388500 | 16705500 | 0 | 16705500 |  | EOMH | 8-12 weeks
F.35.66.82 | BABY COT - TRANSPARENT PRESPEX DESIGN ON CASTORS |  | 1 | 12 | 222000 | 2664000 | 0 | 2664000 |  | EOMH | 8-12 weeks
F.38.72.93 | BED 3 SECTION ELECTRIC - FIXED HEIGHT - ON CASTORS |  | 1 | 134 | 721500 | 96681000 | 0 | 96681000 |  | EOMH | 8-12 weeks
F.39.24.46 | BED INTENSIVE CARE FULL ELECTRIC |  | 1 | 10 | 2775000 | 27750000 | 0 | 27750000 |  | EOMH | 8-12 weeks
F.39.24.47 | BED INTENSIVE CARE FULL ELECTRIC - PEDIATRIC |  | 1 | 4 | 1665000 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
F.39.75.99 | BED - DELIVERY - HEIGHT ADJUSTABLE - HYDRAULIC - WITH ACCESSORIES |  | 1 | 12 | 1776000 | 21312000 | 0 | 21312000 |  | EOMH | 8-12 weeks
F.40.75.99 | BED SIDE TABLE |  | 1 | 189 | 66600 | 12587400 | 0 | 12587400 |  | EOMH | 8-12 weeks
F.43.66.82 | OVERBED TABLE |  | 1 | 189 | 66600 | 12587400 | 0 | 12587400 |  | EOMH | 8-12 weeks
F.44.66.83 | PATIENT CHAIR - RECLINED - 3 SECTION - HYDRAULIC - FIXED HEIGHT - ARM SUPPORT |  | 1 | 12 | 943500 | 11322000 | 0 | 11322000 |  | EOMH | 8-12 weeks
F.46.27.52 | CLASSIC EXAMINATION COUCH |  | 1 | 26 | 277500 | 7215000 | 0 | 7215000 |  | EOMH | 8-12 weeks
F.46.79.04 | CLASSIC EXAMINATION COUCH - WITH HOLE |  | 1 | 1 | 333000 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
F.72.57.64 | TABLE - OPERATING - ELECTRIC/HYDRAULIC - WITH MANUAL OVERRIDE - EYE/ENT SURGERY | Imspital | 1 | 1 | 8880000 | 8880000 | 0 | 8880000 |  | EOMH | 8-12 weeks
F.73.09.17 | TABLE - OPERATING - GENERAL SURGERY - ELECTRIC/HYDRAULIC | Inspital | 1 | 2 | 6660000 | 13320000 | 0 | 13320000 |  | EOMH | 8-12 weeks
F.73.60.70 | TABLE - OPERATING - MINOR SURGERY - HYDRAULIC | Inspital | 1 | 2 | 5550000 | 11100000 | 0 | 11100000 |  | EOMH | 8-12 weeks
F.74.12.23 | TABLE - OPERATING GENERAL SURGERY ELECTRIC/HYDRAULIC WITH MANUAL OVERRIDE - KIDNEY BRIDGE | Inspital | 1 | 3 | 8325000 | 24975000 | 0 | 24975000 |  | EOMH | 8-12 weeks
F.84.73.38 | POLE - IV ON CASTORS 4 HOOK STAINLESS STEEL |  | 1 | 32 | 22200 | 710400 | 0 | 710400 |  | EOMH | 8-12 weeks
F.92.48.92 | GYNAECOLOGICAL EXAMINATION CHAIR FIXED HEIGHT WITH LEGHOLDERS |  | 1 | 4 | 1665000 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
G.174.12.68 | DELIVERY SUCTION UNIT (VENTEUSE) WITH ACCESSORIES |  | 1 | 12 | 388500 | 4662000 | 0 | 4662000 |  | EOMH | 8-12 weeks
G.20.51.53 | LED VIDEO COLPOSCOPE - 3.75X/7X/15X > 28000 LUX - ON TROLLEY | ECLERIS/C100-FID COLPOSCOPE | 1 | 2 | 8880000 | 17760000 | 0 | 17760000 |  | EOMH | 8-12 weeks
GYM1 | TREADMILL |  | 1 | 8 | 832500 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
GYM10 | LAT PULL DOWN MACHINE |  | 1 | 2 | 1054500 | 2109000 | 0 | 2109000 |  | EOMH | 8-12 weeks
GYM11 | DIPPING BAR |  | 1 | 2 | 499500 | 999000 | 0 | 999000 |  | EOMH | 8-12 weeks
GYM2 | ELLIPTICAL |  | 1 | 4 | 1054500 | 4218000 | 0 | 4218000 |  | EOMH | 8-12 weeks
GYM3 | STATIONARY BIKE |  | 1 | 3 | 721500 | 2164500 | 0 | 2164500 |  | EOMH | 8-12 weeks
GYM4 | ABDOMINAL BENCH |  | 1 | 2 | 88800 | 177600 | 0 | 177600 |  | EOMH | 8-12 weeks
GYM5 | BENCH PRESS |  | 1 | 2 | 388500 | 777000 | 0 | 777000 |  | EOMH | 8-12 weeks
GYM6 | PEC DECK MACHINE |  | 1 | 2 | 444000 | 888000 | 0 | 888000 |  | EOMH | 8-12 weeks
GYM7 | LEG PRESS |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
GYM8 | LEG MACHINE |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
GYM9 | EXERCISE BIKE |  | 1 | 3 | 721500 | 2164500 | 0 | 2164500 |  | EOMH | 8-12 weeks
HYDR01 | HYDROTHERAPY POOL 4M X 6M WITH PUMP ROOM AND ACCESSORIES |  | 1 | 1 | 2775000 | 2775000 | 0 | 2775000 |  | EOMH | 8-12 weeks
K.108.57.63 | EXAMINATION LIGHT - CSSD - MAGNIFYING - DESKTOP | Welch Allen | 1 | 2 | 721500 | 1443000 | 0 | 1443000 |  | EOMH | 8-12 weeks
K.108.57.64 | CEILING LIGHT - SURGICAL - LED - 100K LUX - SINGLE ARM | Inspital | 1 | 4 | 4995000 | 19980000 | 0 | 19980000 |  | EOMH | 8-12 weeks
K.146.55.48 | LIGHT - CEILING MAJOR SURGERY 2 ARMS 300 KLUX | Inspital | 1 | 4 | 8325000 | 33300000 | 0 | 33300000 |  | EOMH | 8-12 weeks
K.151.27.52 | ULTRA SLIM LIGHT BOX DOUBLE FILM |  | 1 | 12 | 88800 | 1065600 | 0 | 1065600 |  | EOMH | 8-12 weeks
K.155.55.03 | ULTRA SLIM LIGHT BOX 41X36 CM |  | 1 | 32 | 66600 | 2131200 | 0 | 2131200 |  | EOMH | 8-12 weeks
K.157.03.95 | PHOTOTHERAPY UNIT ON CASTORS |  | 1 | 9 | 1665000 | 14985000 | 0 | 14985000 |  | EOMH | 8-12 weeks
K.204.19.24 | HEAD LIGHT |  | 1 | 3 | 4995000 | 14985000 | 0 | 14985000 |  | EOMH | 8-12 weeks
K.219.49.81 | EXAMINATION HALOGEN LIGHT - ON CASTORS |  | 1 | 79 | 721500 | 56998500 | 0 | 56998500 |  | EOMH | 8-12 weeks
K.219.49.83 | EXAMINATION LED LIGHT - WALL MOUNTED |  | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.101.45.86 | SPO2 MONITOR HANDHELD WITH PEDIATRIC PROBE |  | 1 | 4 | 277500 | 1110000 | 0 | 1110000 |  | EOMH | 8-12 weeks
M.101.97.39 | SAW - PLASTER – ELECTRIC |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
M.101.97.40 | SAW - PLASTER – MANUAL |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
M.101.97.41 | DRILL - ELECTRICAL - SURGICAL - ORTHOPAEDIC - SET OF ATTACHMENTS - ASSORTED |  | 1 | 1 | 1998000 | 1998000 | 0 | 1998000 |  | EOMH | 8-12 weeks
M.101.97.42 | DRILL - ELECTRICAL - SURGICAL - CRANIAL PLASTY - WITH CRANIAL PERFORATOR |  | 1 | 1 | 1554000 | 1554000 | 0 | 1554000 |  | EOMH | 8-12 weeks
M.106.54.59 | PENDANT - CEILING / 2 TV |  | 1 | 4 | 2997000 | 11988000 | 0 | 11988000 |  | EOMH | 8-12 weeks
M.106.54.59.1 | PENDANT ACCESSORY |  | 1 | 4 | 1776000 | 7104000 | 0 | 7104000 |  | EOMH | 8-12 weeks
M.107.12.23 | CRYOSURGERY UNIT - SET OF ACCESSORIES |  | 1 | 2 | 388500 | 777000 | 0 | 777000 |  | EOMH | 8-12 weeks
M.107.12.24 | CRYOSURGERY UNIT OPHTHALMOLOGY - SET OF ACCESSORIES | RETIKARE | 1 | 1 | 4440000 | 4440000 | 0 | 4440000 |  | EOMH | 8-12 weeks
M.107.18.34 | ELECTROSURGICAL UNIT 120 WATTS - WITH FUME EXTRACTION |  | 1 | 2 | 2775000 | 5550000 | 0 | 5550000 |  | EOMH | 8-12 weeks
M.107.31.46 | PUMP - SUCTION ON TROLLEY TWIN CONTAINER 3L ELECTRIC |  | 1 | 8 | 555000 | 4440000 | 0 | 4440000 |  | EOMH | 8-12 weeks
M.108.15.73 | INSTRUMENT TRAYS FOR STERILE AND CLEAN MATERIALS |  | 1 | 18 | 277500 | 4995000 | 0 | 4995000 |  | EOMH | 8-12 weeks
M.109.15.29 | PATIENT WARMER |  | 1 | 32 | 2775000 | 88800000 | 0 | 88800000 |  | EOMH | 8-12 weeks
M.111.30.57 | ELECTROSURGICAL UNIT 200 WATTS - ENT |  | 1 | 3 | 3885000 | 11655000 | 0 | 11655000 |  | EOMH | 8-12 weeks
M.116.45.86 | ELECTROSURGICAL UNIT 300 WATTS - SINGLE SURGEON |  | 1 | 3 | 4440000 | 13320000 | 0 | 13320000 |  | EOMH | 8-12 weeks
M.120.15.29 | STORAGE UNIT - ORTHOPEDIC ATTACHMENTS - STAINLESS |  | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
M.120.33.63 | MONITOR - PEDIATRIC ICU |  | 1 | 5 | 2775000 | 13875000 | 0 | 13875000 |  | EOMH | 8-12 weeks
M.122.12.68 | ELECTROSURGICAL UNIT 400 WATTS - DOUBLE SURGEON - VESSEL SEALING |  | 1 | 4 | 5550000 | 22200000 | 0 | 22200000 |  | EOMH | 8-12 weeks
M.122.31.02 | LARYNGOSCOPE - MACINTOSH - CURVED - ALL SIZES BLADES |  | 1 | 33 | 166500 | 5494500 | 0 | 5494500 |  | EOMH | 8-12 weeks
M.122.31.05 | LARYNGOSCOPE - FIBRE OPTIC - PEDIATRIC BLADES |  | 1 | 4 | 4995000 | 19980000 | 0 | 19980000 |  | EOMH | 8-12 weeks
M.122.31.07 | LARYNGOSCOPE - MACINTOSH - STRAIGHT - INFANT BLADES |  | 1 | 1 | 166500 | 166500 | 0 | 166500 |  | EOMH | 8-12 weeks
M.122.61.59 | SPIROMETER - HAND HELD - WITH PC LINK - PC INCLUDED |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
M.123.57.64 | INCUBATOR - TRANSPORT - ICU SERVICES - GAS CYLINDER - BATTERY POWERED |  | 1 | 2 | 7215000 | 14430000 | 0 | 14430000 |  | EOMH | 8-12 weeks
M.126.57.64 | INCUBATOR - NICU - ELECTRONIC TEMP CONTROL - FIXED HEIGHT |  | 1 | 9 | 7215000 | 64935000 | 0 | 64935000 |  | EOMH | 8-12 weeks
M.126.57.65 | CART - DIAPER CHANGING - WITH SHELVES - ATTACHED DISPOSAL BIN COVERED |  | 1 | 2 | 832500 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
M.126.92.17 | LARYNGOSCOPE - FIBRE OPTIC - VIDEO - ALL SIZES BLADES |  | 1 | 3 | 4995000 | 14985000 | 0 | 14985000 |  | EOMH | 8-12 weeks
M.139.69.87 | MONITOR - PATIENT - SURGICAL SUITE - ANAESTHETIC GASES MONITORING |  | 1 | 2 | 2775000 | 5550000 | 0 | 5550000 |  | EOMH | 8-12 weeks
M.142.58.09 | SPO2 MONITOR HANDHELD WITH NEONATAL PROBE |  | 1 | 3 | 277500 | 832500 | 0 | 832500 |  | EOMH | 8-12 weeks
M.142.58.42 | INTRACRANIAL PRESSURE MONITOR |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
M.143.21.40 | MONITOR - PATIENT - OPERATING THEATER - ANA GASES/FULL PARAMETER |  | 1 | 5 | 2775000 | 13875000 | 0 | 13875000 |  | EOMH | 8-12 weeks
M.144.51.53 | CRANIOTOMY SAW - ELECTRICAL - HANDHELD |  | 1 | 1 | 2775000 | 2775000 | 0 | 2775000 |  | EOMH | 8-12 weeks
M.147.03.95 | ANEROID SPHYGMO - ON CASTORS |  | 1 | 26 | 133200 | 3463200 | 0 | 3463200 |  | EOMH | 8-12 weeks
M.147.03.96 | ANEROID SPHYGMO - ON CASTORS - PEDIATRIC CUFF |  | 1 | 6 | 133200 | 799200 | 0 | 799200 |  | EOMH | 8-12 weeks
M.149.51.97 | ESOPHAGEAL DILATOR - ASSORTED SIZES - SET |  | 1 | 1 | 11100 | 11100 | 0 | 11100 |  | EOMH | 8-12 weeks
M.150.03.50 | ESOPHAGOSCOPE - RIGID AND FLEXIBLE - SET |  | 1 | 1 | 22200 | 22200 | 0 | 22200 |  | EOMH | 8-12 weeks
M.150.88.22 | SCRUB STATION-DOUBLE WIDTH-SENSOR OPERATED-SOAP DISPENSER |  | 1 | 1 | 3330000 | 3330000 | 0 | 3330000 |  | EOMH | 8-12 weeks
M.150.88.24 | SCRUB STATION-TRIPLE WIDTH-SENSOR OPERATED-SOAP DISPENSER |  | 1 | 3 | 4218000 | 12654000 | 0 | 12654000 |  | EOMH | 8-12 weeks
M.151.70.32 | INFRARED THERMOMETER |  | 1 | 2 | 11100 | 22200 | 0 | 22200 |  | EOMH | 8-12 weeks
M.156.21.85 | FRACTURE TABLE |  | 1 | 1 | 2775000 | 2775000 | 0 | 2775000 |  | EOMH | 8-12 weeks
M.158.95.22 | PUMP - FLUSHING GASTROSCOPY/COLONOSCOPY | Olympus | 1 | 3 | 5550000 | 16650000 | 0 | 16650000 |  | EOMH | 8-12 weeks
M.163.40.65 | MICROSCOPE - OPERATING - NEUROSURGERY | Leica | 1 | 1 | 111000000 | 111000000 | 0 | 111000000 |  | EOMH | 8-12 weeks
M.163.40.65.1 | TWO NURSE EYEPIECE FOLDABLE |  | 1 | 1 | 166500 | 166500 | 0 | 166500 |  | EOMH | 8-12 weeks
M.163.57.64 | TOWER - LAPARASCOPY COMPLETE MONITOR/CAMERA/LIGHT SOURCE/INSUFFLATOR/PUMP/VIDEO PROC | Karlstorz | 1 | 2 | 44400000 | 88800000 | 0 | 88800000 |  | EOMH | 8-12 weeks
M.164.51.53 | COLONOSCOPE | Karlstorz | 1 | 2 | 17538000 | 35076000 | 0 | 35076000 |  | EOMH | 8-12 weeks
M.164.51.54 | COLONOSCOPE - Pediatric | Karlstorz | 1 | 2 | 18648000 | 37296000 | 0 | 37296000 |  | EOMH | 8-12 weeks
M.165.89.11 | INCUBATOR - NICU TR AND REV TR AND VARIABLE HEIGHT ELECTRIC | GE Giraffe Incubator | 1 | 3 | 7215000 | 21645000 | 0 | 21645000 |  | EOMH | 8-12 weeks
M.166.52.42 | VITALS MONITOR ON CASTORS - DETACHABLE | GE V100 | 1 | 43 | 1110000 | 47730000 | 0 | 47730000 |  | EOMH | 8-12 weeks
M.167.25.35 | TRANSPORT & EMERGENCY MONITOR | GE B105 | 1 | 87 | 1998000 | 173826000 | 0 | 173826000 |  | EOMH | 8-12 weeks
M.168.31.46 | PEAK FLOW METER |  | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.168.61.15 | ELECTROENCEPHALOGRAPH STATION - 32 CHANNEL TROLLEY MOUNTED - WITH ACCESSORIES | Neurowork | 1 | 5 | 21090000 | 105450000 | 0 | 105450000 |  | EOMH | 8-12 weeks
M.169.66.82 | GASTROSCOPE | Karlstorz | 1 | 2 | 17538000 | 35076000 | 0 | 35076000 |  | EOMH | 8-12 weeks
M.169.66.83 | GASTROSCOPE - Pediatric | Karlstorz | 1 | 2 | 18648000 | 37296000 | 0 | 37296000 |  | EOMH | 8-12 weeks
M.174.73.38 | EMERGENCY TROLLEY - CRASH CART | Inspital | 1 | 17 | 721500 | 12265500 | 0 | 12265500 |  | EOMH | 8-12 weeks
M.174.73.39 | CART - EQUIPMENT | Inspital | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.176.27.96 | DEFIBRILLATOR - MONITORED WITH PACER | Progetti | 1 | 14 | 3108000 | 43512000 | 0 | 43512000 |  | EOMH | 8-12 weeks
M.176.79.49 | DEFIBRILLATOR - NEONATAL PADDLES WITH MOINTORING AND PACE | Progetti | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
M.177.03.50 | TOWER - ARTHROSCOPY COMPLETE - VIDEO PROCESSOR AND INSTRUMENT SETS |  | 1 | 1 | 53280000 | 53280000 | 0 | 53280000 |  | EOMH | 8-12 weeks
M.177.31.02 | DEFIBRILLATOR - PEDIATRIC PADDLES WITH MONITORING AND PACE | Progetti | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
M.177.82.55 | DEFIBRILLATOR - UNMONITORED | Progetti | 1 | 11 | 3108000 | 34188000 | 0 | 34188000 |  | EOMH | 8-12 weeks
M.177.82.56 | DEFIBRILLATOR - UNMONITORED - PEDIATRIC PADDLES | Progetti | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
M.179.58.54 | MONITOR - PATIENT ICU - ECG/SPO2/NIBP/RESP/ETCO2/TEMP | GE B105 | 1 | 10 | 2775000 | 27750000 | 0 | 27750000 |  | EOMH | 8-12 weeks
M.180.64.65 | GLUCOMETER - HAND HELD - QUICK TEST | Roche | 1 | 39 | 33300 | 1298700 | 0 | 1298700 |  | EOMH | 8-12 weeks
M.182.51.53 | CABINET - ENDOSCOPES | Inspital | 1 | 2 | 2220000 | 4440000 | 0 | 4440000 |  | EOMH | 8-12 weeks
M.186.43.25 | MONITOR - NEONATAL NICU | GE B105 | 1 | 12 | 2775000 | 33300000 | 0 | 33300000 |  | EOMH | 8-12 weeks
M.194.86.05 | MONITOR - PATIENT - VITALS - MRI COMPATIBLE | Schiller | 1 | 1 | 13320000 | 13320000 | 0 | 13320000 |  | EOMH | 8-12 weeks
M.195.22.29 | ENTERAL FEEDING PUMP |  | 1 | 8 | 610500 | 4884000 | 0 | 4884000 |  | EOMH | 8-12 weeks
M.197.85.61 | FLEXIBLE ENDOSCOPES TOWER WITH CAMERA AND LIGHT SOURCE (VIDEO) |  | 1 | 2 | 44400000 | 88800000 | 0 | 88800000 |  | EOMH | 8-12 weeks
M.197.85.62 | LAPAROSCOPY SET |  | 1 | 2 | 9435000 | 18870000 | 0 | 18870000 |  | EOMH | 8-12 weeks
M.197.85.63 | PAEDIATRIC LAPAROSCOPIC INSTRUMENT |  | 1 | 2 | 7215000 | 14430000 | 0 | 14430000 |  | EOMH | 8-12 weeks
M.197.85.64 | CYSTOSCOPE SET AND ACCESSORIES |  | 1 | 2 | 1665000 | 3330000 | 0 | 3330000 |  | EOMH | 8-12 weeks
M.197.85.65 | URETEROSCOPY AND LASER LITHOTRIPSY | usa | 1 | 2 | 27750000 | 55500000 | 0 | 55500000 |  | EOMH | 8-12 weeks
M.197.85.66 | RESECTOSCOPE - TURP |  | 1 | 2 | 777000 | 1554000 | 0 | 1554000 |  | EOMH | 8-12 weeks
M.197.85.67 | PAEDIATRIC URETHROCYSTOSCOPY |  | 1 | 2 | 2331000 | 4662000 | 0 | 4662000 |  | EOMH | 8-12 weeks
M.197.85.68 | NEPHROSCOPE - PCNL |  | 1 | 2 | 16650000 | 33300000 | 0 | 33300000 |  | EOMH | 8-12 weeks
M.20.21.40 | SHARPS COLLECTOR - 7L CLEAR SIGNS |  | 1 | 2 | 16650 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
M.208.16.18 | FLUID WARMER | UK | 1 | 7 | 499500 | 3496500 | 0 | 3496500 |  | EOMH | 8-12 weeks
M.208.16.19 | HYPO HYPERTHERMIA UNIT |  | 1 | 2 | 3330000 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
M.35.51.53 | DIGITAL SCALE ADULT/PEDIATRIC | SECA | 1 | 35 | 55500 | 1942500 | 0 | 1942500 |  | EOMH | 8-12 weeks
M.36.54.59 | INFANT WEIGHING SCALE - ELECTRONIC | SECA | 1 | 4 | 55500 | 222000 | 0 | 222000 |  | EOMH | 8-12 weeks
M.44.57.64 | DIAGNOSTIC STATION - WALL MOUNTED - OPHTHALMOSCOPE - OTOSCOPE - NIBP - THERMOMETER | WELCH ALLEN | 1 | 32 | 1665000 | 53280000 | 0 | 53280000 |  | EOMH | 8-12 weeks
M.52.18.34 | SPHYGMOMANOMETER - ANEROID ON CASTORS |  | 1 | 6 | 222000 | 1332000 | 0 | 1332000 |  | EOMH | 8-12 weeks
M.64.27.52 | GONIOMETER SET |  | 1 | 1 | 333000 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
M.68.33.63 | LENS - GONIOSCOPY |  | 1 | 1 | 555000 | 555000 | 0 | 555000 |  | EOMH | 8-12 weeks
M.70.36.69 | ORCHIDOMETER - WOOD |  | 1 | 3 | 277500 | 832500 | 0 | 832500 |  | EOMH | 8-12 weeks
M.72.51.53 | CENTRAL STATION - PICU TO BE CONNECTED TO NICU AND PED ICU MONITORS ICU | GE Central Monitoring Station | 1 | 1 | 6660000 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
M.73.51.53 | BLOOD PRESSURE HOLTER MONITOR | GE | 1 | 6 | 3996000 | 23976000 | 0 | 23976000 |  | EOMH | 8-12 weeks
M.74.06.11 | TREADMILL ELEVATING WITH PC CONTROL | GE Case+T2100 Treadmill | 1 | 1 | 11655000 | 11655000 | 0 | 11655000 |  | EOMH | 8-12 weeks
M.78.03.06 | RADIANT WARMER - SIMPLE | GE Lullaby Resus Plus | 1 | 6 | 3885000 | 23310000 | 0 | 23310000 |  | EOMH | 8-12 weeks
M.78.85.16 | MONITOR - FOETAL TWIN CAPABILITY | GE Corometrics 172 | 1 | 12 | 4440000 | 53280000 | 0 | 53280000 |  | EOMH | 8-12 weeks
M.82.51.53 | DOPPLER - VASCULAR - ABI CAPABILITY - HAND HELD - WITH PRINTER |  | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
M.84.94.78 | STETHOSCOPE - NURSE - ADULT |  | 1 | 47 | 277500 | 13042500 | 0 | 13042500 |  | EOMH | 8-12 weeks
M.84.94.80 | STETHOSCOPE - NURSE - PEDIATRIC |  | 1 | 5 | 277500 | 1387500 | 0 | 1387500 |  | EOMH | 8-12 weeks
M.85.97.83 | STETHOSCOPE - SURGEON |  | 1 | 4 | 277500 | 1110000 | 0 | 1110000 |  | EOMH | 8-12 weeks
M.85.97.84 | REGULATOR - SUCTION |  | 1 | 1 | 388500 | 388500 | 0 | 388500 |  | EOMH | 8-12 weeks
M.86.57.64 | PUMP - SUCTION ON TROLLEY - TWIN CONTAINER 1L |  | 1 | 9 | 555000 | 4995000 | 0 | 4995000 |  | EOMH | 8-12 weeks
M.88.51.53 | AUTO SYRINGE PUMP |  | 1 | 95 | 666000 | 63270000 | 0 | 63270000 |  | EOMH | 8-12 weeks
M.89.51.53 | INFUSION PUMP VOLUMETRIC |  | 1 | 39 | 666000 | 25974000 | 0 | 25974000 |  | EOMH | 8-12 weeks
M.90.54.59 | INFUSION PUMP VOLUMETRIC ON CASTORS |  | 1 | 74 | 666000 | 49284000 | 0 | 49284000 |  | EOMH | 8-12 weeks
M.92.42.80 | 12 CHANNEL ECG WITH MONITOR AND INTERPRETATION (STRESS TEST) |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
M.93.45.86 | ECG HOLTER MONITOR |  | 1 | 6 | 3330000 | 19980000 | 0 | 19980000 |  | EOMH | 8-12 weeks
M.94.48.92 | ECG - 3 CHANNEL - ON TROLLEY |  | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.95.00.45 | ECG - 12 CHANNEL - ON TROLLEY |  | 1 | 5 | 1665000 | 8325000 | 0 | 8325000 |  | EOMH | 8-12 weeks
M.97.06.11 | PENDANT - OPERATING THEATER SERVICES - SHELVES AND SUPPORTS |  | 1 | 4 | 7215000 | 28860000 | 0 | 28860000 |  | EOMH | 8-12 weeks
MON.006 | PHLEBOTOMY CHAIR |  | 1 | 2 | 721500 | 1443000 | 0 | 1443000 |  | EOMH | 8-12 weeks
MTC.009 | INSTRUMENT CLEANER |  | 1 | 1 | 388500 | 388500 | 0 | 388500 |  | EOMH | 8-12 weeks
MTC.012 | SEALING MACHINE |  | 1 | 1 | 555000 | 555000 | 0 | 555000 |  | EOMH | 8-12 weeks
MTC.098 | ORTHODONTIC SPOT WELDER |  | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
MTC.099 | VACUUM FORMER TABLETOP DENTAL LAB |  | 1 | 1 | 33300 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
N.101.46.31 | HEATER - BABY MILK BOTTLES - 6 HOLDER |  | 1 | 1 | 55500 | 55500 | 0 | 55500 |  | EOMH | 8-12 weeks
N.80.61.15 | DVD RECORDER |  | 1 | 2 | 222000 | 444000 | 0 | 444000 |  | EOMH | 8-12 weeks
N.85.03.95 | GAS CYLINDER - O2 - ON TROLLEY |  | 1 | 7 | 166500 | 1165500 | 0 | 1165500 |  | EOMH | 8-12 weeks
N.86.07.01 | GAS CYLINDER TROLLEY - OXYGEN/N2O |  | 1 | 10 | 166500 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
N.86.07.02 | CYLINDER RACKS |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
O.122.42.80 | PROJECTOR - VISUAL ACUITY |  | 1 | 3 | 721500 | 2164500 | 0 | 2164500 |  | EOMH | 8-12 weeks
O.136.51.53 | TRIAL LENSE FRAME WITH SET OF LENSES |  | 1 | 1 | 222000 | 222000 | 0 | 222000 |  | EOMH | 8-12 weeks
O.160.63.76 | OPHTHALMOLOGY CHAIR - COMPLETE (RETINOSCOPE - SLIT LAMP - TONOMETER) | LIGHT BOX | 1 | 3 | 6438000 | 19314000 | 0 | 19314000 |  | EOMH | 8-12 weeks
O.162.76.43 | OPHTHALMOSCOPE - INDIRECT | WELLCH ALLEN | 1 | 5 | 1443000 | 7215000 | 0 | 7215000 |  | EOMH | 8-12 weeks
O.166.34.52 | RETINAL CAMERA / OCT OPHTHALMOSCOPE / EYE F-ANGIO / TABLETOP | TOPCON | 1 | 1 | 44400000 | 44400000 | 0 | 44400000 |  | EOMH | 8-12 weeks
O.172.73.82 | MAGNIFYING LOUPE - BINOCULAR |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
O.196.40.64 | SCREENER - VISUAL FIELD COMPUTER BASED |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
O.198.06.56 | LENSOMETER - TABLETOP |  | 1 | 3 | 1554000 | 4662000 | 0 | 4662000 |  | EOMH | 8-12 weeks
O.204.21.85 | OPHTHALMOSCOPE - DIRECT | KEELER | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
O.206.46.75 | RETINOSCOPE | KEELER | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
O.209.21.85 | OPHTHALMOSCOPE - FUNDOSCOPE | LIGHT BOX | 1 | 2 | 444000 | 888000 | 0 | 888000 |  | EOMH | 8-12 weeks
O.217.82.55 | AUTO REFRACTOMETER/KERATOMETER |  | 1 | 3 | 4218000 | 12654000 | 0 | 12654000 |  | EOMH | 8-12 weeks
O.224.13.12 | PHACO EMULSIFIER UNIT |  | 1 | 1 | 4995000 | 4995000 | 0 | 4995000 |  | EOMH | 8-12 weeks
P.100.09.17 | PRESSOTHERAPY UNIT |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
P.104.72.93 | VACCUM THERAPY |  | 1 | 1 | 33300 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
P.110.91.27 | INFRARED RADIANT |  | 1 | 1 | 33300 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
P.111.42.80 | MAGNETOTHERAPY |  | 1 | 1 | 4995000 | 4995000 | 0 | 4995000 |  | EOMH | 8-12 weeks
P.121.60.70 | PULLEY SYSTEM |  | 1 | 1 | 111000 | 111000 | 0 | 111000 |  | EOMH | 8-12 weeks
P.125.21.40 | PARALLEL BARS |  | 1 | 1 | 610500 | 610500 | 0 | 610500 |  | EOMH | 8-12 weeks
P.131.91.27 | WEIGHTS - SET PHYSIO |  | 1 | 1 | 166500 | 166500 | 0 | 166500 |  | EOMH | 8-12 weeks
P.136.03.50 | CONTINUOUS PASSIVE MOTION UPPER LIMBS |  | 1 | 1 | 2775000 | 2775000 | 0 | 2775000 |  | EOMH | 8-12 weeks
P.136.55.03 | QUADRICEP EXERCISER |  | 1 | 1 | 222000 | 222000 | 0 | 222000 |  | EOMH | 8-12 weeks
P.139.64.20 | SHOULDER WHEEL |  | 1 | 2 | 444000 | 888000 | 0 | 888000 |  | EOMH | 8-12 weeks
P.147.49.81 | ELECTROTHERAPY UNIT |  | 1 | 3 | 555000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
P.148.40.19 | CONTINUOUS PASSIVE MOTION LOWER LIMBS |  | 1 | 1 | 2331000 | 2331000 | 0 | 2331000 |  | EOMH | 8-12 weeks
P.158.73.38 | HYDROCOLLECTOR - COLD COMPRESS |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
P.162.85.61 | HYDROCOLLECTOR - HOT COMPRESS |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
P.166.43.69 | ERGOMETER |  | 1 | 4 | 166500 | 666000 | 0 | 666000 |  | EOMH | 8-12 weeks
P.98.03.06 | TENS MACHINE (TNS OMEGA) |  | 1 | 3 | 4995000 | 14985000 | 0 | 14985000 |  | EOMH | 8-12 weeks
S.185.61.15 | WASHER - DISINFECTOR - AUTOMATIC CYCLES - PASS THROUGH | TUTTNAUER/TIVA 10 2M | 1 | 2 | 8880000 | 17760000 | 0 | 17760000 |  | EOMH | 8-12 weeks
S.185.61.15.7 | UNINTERRUPTED POWER SYSTEM (UPS) |  | 1 | 5 | 1665000 | 8325000 | 0 | 8325000 |  | EOMH | 8-12 weeks
S.187.67.26 | ENDOSCOPE WASHER - DISINFECTOR | TUTTNAUER/ATS238-0238 | 1 | 1 | 3219000 | 3219000 | 0 | 3219000 |  | EOMH | 8-12 weeks
S.216.03.95 | THERMOWELDER - HEAT SEALING - MANUAL | TUTTNAUER/SEALING MACHINE/SEM-TSM-680 | 1 | 2 | 2220000 | 4440000 | 0 | 4440000 |  | EOMH | 8-12 weeks
S.96.33.64 | AUTOCLAVE - 500 L - DOUBLE DOOR - WITH LOADING AND UNLOADING TROLLEYS | TUTTNAUER/6990 HORIZONTAL (510L) | 1 | 2 | 61050000 | 122100000 | 0 | 122100000 |  | EOMH | 8-12 weeks
S.96.33.64.8 | EXTERNAL LOADING/UNLOADING TROLLEY | TUTTNAUER/6990 LOADING CART+TRANSFER TROLLEY | 1 | 2 | 9435000 | 18870000 | 0 | 18870000 |  | EOMH | 8-12 weeks
S.96.85.16 | AUTOCLAVE - DENTAL INSTRUMENTS 24L | TUTTNAUER/2840EKA D(28L) | 1 | 6 | 2664000 | 15984000 | 0 | 15984000 |  | EOMH | 8-12 weeks
S.96.85.16.1 | EXTERNAL PRINTER | TUTTNAUER PRINTER FOR TABLE TOP AUTOCLAVE | 1 | 6 | 388500 | 2331000 | 0 | 2331000 |  | EOMH | 8-12 weeks
S.97.36.69 | AUTOCLAVE - FAST CYCLE - 30L - HORIZONTAL - TABLE TOP | TUTTNAUER/ELARA 11D | 1 | 4 | 7215000 | 28860000 | 0 | 28860000 |  | EOMH | 8-12 weeks
S.98.66.82 | CLEANER - ULTRASONIC - >30L | SONICA/UTH530 | 1 | 1 | 2220000 | 2220000 | 0 | 2220000 |  | EOMH | 8-12 weeks
S.99.18.34 | SPRAY GUN - AIR | INSPITAL/SPRAY GUN | 1 | 1 | 333000 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
S.99.18.35 | WASHER - BEDPAN/URINAL - FLOOR TYPE | TUTTNAUER/REVO | 1 | 8 | 4440000 | 35520000 | 0 | 35520000 |  | EOMH | 8-12 weeks
S.99.18.37 | TROLLEY - SOILED LINEN - EPOXY COATED - WITH COVER | DOLSAN/LINEN TROLLEY | 1 | 15 | 388500 | 5827500 | 0 | 5827500 |  | EOMH | 8-12 weeks
S.99.18.40 | RECORD HOLDER TROLLEY - 2 LARGE Drawer - ABS | DOLSAN/DRAWER | 1 | 18 | 260850 | 4695300 | 0 | 4695300 |  | EOMH | 8-12 weeks
TPHY | PHYSIO TABLE |  | 1 | 2 | 1665000 | 3330000 | 0 | 3330000 |  | EOMH | 8-12 weeks
U.134.27.96 | COMPUTER-BASED URODYNAMIC SYSTEM ON CASTORS |  | 1 | 2 | 9435000 | 18870000 | 0 | 18870000 |  | EOMH | 8-12 weeks
U.134.79.49 | URODYNAMIC CHAIR |  | 1 | 2 | 2220000 | 4440000 | 0 | 4440000 |  | EOMH | 8-12 weeks
U.63.18.79 | DIALYSIS MACHINE | Gambro AK98 | 1 | 12 | 8325000 | 99900000 | 0 | 99900000 |  | EOMH | 8-12 weeks
U.63.18.79.1 | DIALYSIS MACHINE - ICU | Prismaflex | 1 | 1 | 15540000 | 15540000 | 0 | 15540000 |  | EOMH | 8-12 weeks
| TOTAL |  |  |  | 8: 4136614800
THERE WERE OMISIONS NOTED IN THIS QUOTATION, HOWEVER, WE HAVE DONE THE CORRECTION AND THEY INCLUDE: 1.) A1 AED QTY = 2NR, 2.) MTC.098 ORTHODONTIC SPOT WELDER QTY =1NR, 3.) MTC.099 VACUUM FORMER TABLETOP DENTAL LAB QTY =1NR.

## PHASE 1
MEDICAL EQUIPMENT LOT 1_PHASE 1 SUDABELT
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Item No . | Description Of Item | Brand | Unit Of Supply | Qty | Unit price (N) | Total price EXW | Extra Price to deliver | Total price (N) | VAT and other taxes payable if contract is awarded | Point of Delivery | Delivery Period Offered
|  |  |  | Of units | 5: EXW; MEDICAL EQUIPMENT LOT 1_PHASE 1 SUDABELT 7: Goods to final destination; MEDICAL EQUIPMENT LOT 1_PHASE 1 SUDABELT 8: Delivered
|  |  |  | Required | 6: (col. 4 ´ 5); MEDICAL EQUIPMENT LOT 1_PHASE 1 SUDABELT 8: (col. 6 +7)
[5 empty] | Note 1 / Note 2 |  | Note 3 |  | Note 4
S/N
LOT No. 4: BILLS OF QUANTITIES FOR PROCUREMENT MEDICAL EQUIPMENT LOT 1. AT EDO STATE MINISTRY OF HEALTH
A1 | AED | PROGETTI | 1 | 3 | 555000 | 1665000 | 0 | 1665000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.109.42.80 | RESUSCITATION UNIT (AMBU) ADULT/PEDIATRIC SET COMPLETE | ambu | 1 | 1 | 22200 | 22200 | 0 | 22200 |  | Stella Obasanajo Hospital | 8-12 weeks
A.112.61.59 | ELECTRONIC TRANSPORT VENTILATOR ON BED HOOK | FALCO | 1 | 10 | 8325000 | 83250000 | 0 | 83250000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.50.51.53 | ANAESTHESIA PENDANT MECH WITH MONITOR SHELF AND POWER OUTLET | INSPITAL | 1 | 7 | 7215000 | 50505000 | 0 | 50505000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.51.03.06 | ANAESTHESIA UNIT - 2 VAPORIZER/VENTILATOR/RESP MONITOR | GE 9100 NXT | 1 | 3 | 11100000 | 33300000 | 0 | 33300000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.51.54.59 | ANAESTHESIA WORKSTATION- 2 VAPORIZER/DIGITAL/RESP+PATIENT MONITOR/VENTILATOR/GAS SCAVENGING | GE 9100 NXT | 1 | 5 | 11100000 | 55500000 | 0 | 55500000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.52.06.11 | ANESTHESIA MACHINE - SIMPLE - MRI COMPATIBLE | GE Aestivia | 1 | 1 | 19980000 | 19980000 | 0 | 19980000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.60.12.23 | NEBULISER - EMERGENCY ROOM WITH MEDICATION CUP | omron | 1 | 10 | 66600 | 666000 | 0 | 666000 |  | Stella Obasanajo Hospital | 8-12 weeks
A.61.51.29 | NEBULISER |  | 1 | 1 | 5: 66600; 6: 66600; MEDICAL EQUIPMENT LOT 1_PHASE 1 SUDABELT 8: 66600
A.63.66.82 | PLETHYSMOGRAPH CABINET - COMPACT SIZE WITH CHAIR |  | 1 | 1 | 66600 | 66600 | 0 | 66600 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.001 | PORCELAIN FURNACE WITH VACCUM PUMP | EUROPEAN | 1 | 1 | 7215000 | 7215000 | 0 | 7215000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.002 | BURNOUT FURNACE | EUROPEAN | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.003 | CASTING MACHINE - MANUAL | EUROPEAN | 1 | 1 | 1998000 | 1998000 | 0 | 1998000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.004 | SANDBLASTER | EUROPEAN | 1 | 1 | 1054500 | 1054500 | 0 | 1054500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.005 | MICRO SANDPLASTER | EUROPEAN | 1 | 1 | 316350 | 316350 | 0 | 316350 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.006 | VIBRATOR Dental | EUROPEAN | 1 | 1 | 888000 | 888000 | 0 | 888000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.007 | HANGING MOTOR WITH HANPIECE | EUROPEAN | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.008 | MICRO MOTOR | EUROPEAN | 1 | 1 | 521700 | 521700 | 0 | 521700 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.009 | VACCUM MIXER | CHINA | 1 | 1 | 1498500 | 1498500 | 0 | 1498500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.010 | PINDEX | CHINA | 1 | 1 | 499500 | 499500 | 0 | 499500 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.011 | MODEL TRIMMER | EUROPEAN | 1 | 1 | 1043400 | 1043400 | 0 | 1043400 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.012 | STEAM MACHINE | CHINA | 1 | 1 | 1043400 | 1043400 | 0 | 1043400 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.013 | MOTOR CENTRIFUGE | UK | 1 | 1 | 3663000 | 3663000 | 0 | 3663000 |  | Stella Obasanajo Hospital | 8-12 weeks
ASF.014 | POLISHING MOTOR | EUROPEAN | 1 | 1 | 999000 | 999000 | 0 | 999000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.110.51.53 | AMALGAMATOR - DENTAL | Henry Schein | 1 | 6 | 2220000 | 13320000 | 0 | 13320000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.111.03.06 | DENTAL CURING LIGHT - CORDLESS - LED | Woodpe | 1 | 6 | 1665000 | 9990000 | 0 | 9990000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.111.54.59 | LASER - DENTAL SURGICAL/DIODE/TABLETOP FOR SOFT TISSUE | Zolar | 1 | 6 | 9990000 | 59940000 | 0 | 59940000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.121.03.06 | DENTAL CHAIR BUILT IN COMPRESSOR COMPLETE | Olsen | 1 | 6 | 7215000 | 43290000 | 0 | 43290000 |  | Stella Obasanajo Hospital | 8-12 weeks
D.122.06.11 | RADIOVISIOGRAPHY UNIT - HANDHELD WITH INTRAORAL CAMERA | Genoray | 1 | 6 | 9990000 | 59940000 | 0 | 59940000 |  | Stella Obasanajo Hospital | 8-12 weeks
DU.003 | SINK - CLEANER - SINGLE |  | 1 | 6 | 1332000 | 7992000 | 0 | 7992000 |  | Stella Obasanajo Hospital | 8-12 weeks
DU.007 | SLOP HOPPER |  | 1 | 4 | 555000 | 2220000 | 0 | 2220000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.20.51.53 | AUDIOMETER - TABLE TOP - DUAL CHANNEL |  | 1 | 1 | 4440000 | 4440000 | 0 | 4440000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.20.51.54 | BOOTH - AUDIOMETRY - COMPACT WITH VIEWPORT AND CHAIR - 1.2X1.2M |  | 1 | 1 | 5550000 | 5550000 | 0 | 5550000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.22.06.11 | TYMPANOMETER | Germany | 1 | 1 | 2608500 | 2608500 | 0 | 2608500 |  | Stella Obasanajo Hospital | 8-12 weeks
E.40.51.53 | ENT CAMERA | Euroclinic | 1 | 3 | 11100000 | 33300000 | 0 | 33300000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.41.03.06 | ENT FLEXIBLE SCOPE | Euroclinic | 1 | 3 | 10545000 | 31635000 | 0 | 31635000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.41.54.59 | ENT STATION WITH CHAIR AND INSTRUMENTS - VIDEO MONITOR | Euroclinic | 1 | 3 | 22200000 | 66600000 | 0 | 66600000 |  | Stella Obasanajo Hospital | 8-12 weeks
E.51.54.59 | ENT MICROSCOPE | LEICA | 1 | 3 | 16650000 | 49950000 | 0 | 49950000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.101.03.06 | PHYSIOTHERAPY TABLE (BOBATH) |  | 1 | 3 | 1554000 | 4662000 | 0 | 4662000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.106.45.86 | WHEEL CHAIR | Drive | 1 | 11 | 277500 | 3052500 | 0 | 3052500 |  | Stella Obasanajo Hospital | 8-12 weeks
F.106.45.88 | WHEEL CHAIR - MRI COMPATIBLE | TBD | 1 | 1 | 610500 | 610500 | 0 | 610500 |  | Stella Obasanajo Hospital | 8-12 weeks
F.109.55.03 | TROLLEY - PATIENT TRANSPORT - STAINLESS STEEL FRAME - WASHABLE PADDING | GF Tendercare | 1 | 1 | 888000 | 888000 | 0 | 888000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.116.58.09 | TROLLEY - PATIENT TRANSPORT - ABS FRAME - PADDED - TR AND RTR - HYDRAULIC | GF Tendercare | 1 | 22 | 1665000 | 36630000 | 0 | 36630000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.118.09.62 | TROLLEY - PATIENT TRANSPORT - MRI COMPATIBLE - PADDED - ON CASTORS | GF Tendercare | 1 | 1 | 3108000 | 3108000 | 0 | 3108000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.128.58.54 | BOWL STAND STAINLESS STEEL DOUBLE BOWL |  | 1 | 1 | 44400 | 44400 | 0 | 44400 |  | Stella Obasanajo Hospital | 8-12 weeks
F.129.10.06 | BUCKET - KICK ABOUT ON CASTORS STAINLESS STEEL |  | 1 | 1 | 38850 | 38850 | 0 | 38850 |  | Stella Obasanajo Hospital | 8-12 weeks
F.129.61.59 | CABINET - DANGEROUS DRUG COMPARTMENT |  | 1 | 13 | 444000 | 5772000 | 0 | 5772000 |  | Stella Obasanajo Hospital | 8-12 weeks
F.130.13.12 | CABINET - OT - STAINLESS STEEL - INSTRUMENT AND CONSUMABLES STORAGE |  | 1 | 3 | 177600 | 532800 | 0 | 532800 |  | Stella Obasanajo Hospital | 8-12 weeks
F.130.64.65 | DRESSING TROLLEY - OT - STAINLESS STEEL - ON CASTORS |  | 1 | 1 | 111000 | 111000 | 0 | 111000 |  | EOMH | 8-12 weeks
F.131.16.18 | DRESSING TROLLEY - STANDARD |  | 1 | 18 | 111000 | 1998000 | 0 | 1998000 |  | EOMH | 8-12 weeks
F.131.67.71 | TABLE - INSTRUMENTS - STAINLESS STEEL - 2 SHELVES - ON CASTORS |  | 1 | 5 | 277500 | 1387500 | 0 | 1387500 |  | EOMH | 8-12 weeks
F.132.19.23 | CART - ANAESTHESIA - ABS - 5 DRAWER |  | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
F.132.19.24 | TABLE - MAYO - STAINLESS STEEL |  | 1 | 2 | 277500 | 555000 | 0 | 555000 |  | EOMH | 8-12 weeks
F.132.19.26 | TABLE - MAYO - MRI COMPATIBLE |  | 1 | 1 | 388500 | 388500 | 0 | 388500 |  | EOMH | 8-12 weeks
F.133.22.29 | TROLLEY - TRANSPORT - WIRE BASKETS |  | 1 | 2 | 277500 | 555000 | 0 | 555000 |  | EOMH | 8-12 weeks
F.164.92.17 | INSTRUMENT TROLLEY - OT - STAINLESS STEEL - ON CASTORS |  | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
F.38.72.93 | BED 3 SECTION ELECTRIC - FIXED HEIGHT - ON CASTORS |  | 1 | 6 | 721500 | 4329000 | 0 | 4329000 |  | EOMH | 8-12 weeks
F.40.75.99 | BED SIDE TABLE |  | 1 | 36 | 66600 | 2397600 | 0 | 2397600 |  | EOMH | 8-12 weeks
F.43.66.82 | OVERBED TABLE |  | 1 | 36 | 66600 | 2397600 | 0 | 2397600 |  | EOMH | 8-12 weeks
F.44.66.83 | PATIENT CHAIR - RECLINED - 3 SECTION - HYDRAULIC - FIXED HEIGHT - ARM SUPPORT |  | 1 | 12 | 943500 | 11322000 | 0 | 11322000 |  | EOMH | 8-12 weeks
F.46.27.52 | CLASSIC EXAMINATION COUCH |  | 1 | 26 | 277500 | 7215000 | 0 | 7215000 |  | EOMH | 8-12 weeks
F.46.79.04 | CLASSIC EXAMINATION COUCH - WITH HOLE |  | 1 | 1 | 333000 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
F.73.60.70 | TABLE - OPERATING - MINOR SURGERY - HYDRAULIC | Inspital | 1 | 2 | 5550000 | 11100000 | 0 | 11100000 |  | EOMH | 8-12 weeks
F.84.73.38 | POLE - IV ON CASTORS 4 HOOK STAINLESS STEEL |  | 1 | 24 | 22200 | 532800 | 0 | 532800 |  | EOMH | 8-12 weeks
F.92.48.92 | GYNAECOLOGICAL EXAMINATION CHAIR FIXED HEIGHT WITH LEGHOLDERS |  | 1 | 4 | 1665000 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
G.20.51.53 | LED VIDEO COLPOSCOPE - 3.75X/7X/15X > 28000 LUX - ON TROLLEY | ECLERIS/C100-FID COLPOSCOPE | 1 | 2 | 8880000 | 17760000 | 0 | 17760000 |  | EOMH | 8-12 weeks
GYM1 | TREADMILL |  | 1 | 8 | 832500 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
GYM10 | LAT PULL DOWN MACHINE |  | 1 | 2 | 1054500 | 2109000 | 0 | 2109000 |  | EOMH | 8-12 weeks
GYM11 | DIPPING BAR |  | 1 | 2 | 499500 | 999000 | 0 | 999000 |  | EOMH | 8-12 weeks
GYM2 | ELLIPTICAL |  | 1 | 4 | 1054500 | 4218000 | 0 | 4218000 |  | EOMH | 8-12 weeks
GYM3 | STATIONARY BIKE |  | 1 | 3 | 721500 | 2164500 | 0 | 2164500 |  | EOMH | 8-12 weeks
GYM4 | ABDOMINAL BENCH |  | 1 | 2 | 88800 | 177600 | 0 | 177600 |  | EOMH | 8-12 weeks
GYM5 | BENCH PRESS |  | 1 | 2 | 388500 | 777000 | 0 | 777000 |  | EOMH | 8-12 weeks
GYM6 | PEC DECK MACHINE |  | 1 | 2 | 444000 | 888000 | 0 | 888000 |  | EOMH | 8-12 weeks
GYM7 | LEG PRESS |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
GYM8 | LEG MACHINE |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
GYM9 | EXERCISE BIKE |  | 1 | 3 | 721500 | 2164500 | 0 | 2164500 |  | EOMH | 8-12 weeks
HYDR01 | HYDROTHERAPY POOL 4M X 6M WITH PUMP ROOM AND ACCESSORIES |  | 1 | 1 | 2775000 | 2775000 | 0 | 2775000 |  | EOMH | 8-12 weeks
K.108.57.64 | CEILING LIGHT - SURGICAL - LED - 100K LUX - SINGLE ARM | Inspital | 1 | 2 | 4995000 | 9990000 | 0 | 9990000 |  | EOMH | 8-12 weeks
K.151.27.52 | ULTRA SLIM LIGHT BOX DOUBLE FILM |  | 1 | 4 | 88800 | 355200 | 0 | 355200 |  | EOMH | 8-12 weeks
K.155.55.03 | ULTRA SLIM LIGHT BOX 41X36 CM |  | 1 | 32 | 66600 | 2131200 | 0 | 2131200 |  | EOMH | 8-12 weeks
K.204.19.24 | HEAD LIGHT |  | 1 | 3 | 4995000 | 14985000 | 0 | 14985000 |  | EOMH | 8-12 weeks
K.219.49.81 | EXAMINATION HALOGEN LIGHT - ON CASTORS |  | 1 | 56 | 721500 | 40404000 | 0 | 40404000 |  | EOMH | 8-12 weeks
K.219.49.83 | EXAMINATION LED LIGHT - WALL MOUNTED |  | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.101.97.39 | SAW - PLASTER – ELECTRIC |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
M.101.97.40 | SAW - PLASTER – MANUAL |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
M.107.31.46 | PUMP - SUCTION ON TROLLEY TWIN CONTAINER 3L ELECTRIC |  | 1 | 2 | 555000 | 1110000 | 0 | 1110000 |  | EOMH | 8-12 weeks
M.108.15.73 | INSTRUMENT TRAYS FOR STERILE AND CLEAN MATERIALS |  | 1 | 4 | 277500 | 1110000 | 0 | 1110000 |  | EOMH | 8-12 weeks
M.109.15.29 | PATIENT WARMER |  | 1 | 7 | 2775000 | 19425000 | 0 | 19425000 |  | EOMH | 8-12 weeks
M.111.30.57 | ELECTROSURGICAL UNIT 200 WATTS - ENT |  | 1 | 3 | 3885000 | 11655000 | 0 | 11655000 |  | EOMH | 8-12 weeks
M.116.45.86 | ELECTROSURGICAL UNIT 300 WATTS - SINGLE SURGEON |  | 1 | 1 | 4440000 | 4440000 | 0 | 4440000 |  | EOMH | 8-12 weeks
M.122.12.68 | ELECTROSURGICAL UNIT 400 WATTS - DOUBLE SURGEON - VESSEL SEALING |  | 1 | 1 | 5550000 | 5550000 | 0 | 5550000 |  | EOMH | 8-12 weeks
M.122.31.02 | LARYNGOSCOPE - MACINTOSH - CURVED - ALL SIZES BLADES |  | 1 | 12 | 166500 | 1998000 | 0 | 1998000 |  | EOMH | 8-12 weeks
M.122.61.59 | SPIROMETER - HAND HELD - WITH PC LINK - PC INCLUDED |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
M.143.21.40 | MONITOR - PATIENT - OPERATING THEATER - ANA GASES/FULL PARAMETER |  | 1 | 1 | 2775000 | 2775000 | 0 | 2775000 |  | EOMH | 8-12 weeks
M.147.03.95 | ANEROID SPHYGMO - ON CASTORS |  | 1 | 11 | 133200 | 1465200 | 0 | 1465200 |  | EOMH | 8-12 weeks
M.150.88.22 | SCRUB STATION-DOUBLE WIDTH-SENSOR OPERATED-SOAP DISPENSER |  | 1 | 1 | 3330000 | 3330000 | 0 | 3330000 |  | EOMH | 8-12 weeks
M.158.95.22 | PUMP - FLUSHING GASTROSCOPY/COLONOSCOPY | Olympus | 1 | 1 | 5550000 | 5550000 | 0 | 5550000 |  | EOMH | 8-12 weeks
M.163.40.65.1 | TWO NURSE EYEPIECE FOLDABLE |  | 1 | 1 | 166500 | 166500 | 0 | 166500 |  | EOMH | 8-12 weeks
M.166.52.42 | VITALS MONITOR ON CASTORS - DETACHABLE | GE V100 | 1 | 19 | 1110000 | 21090000 | 0 | 21090000 |  | EOMH | 8-12 weeks
M.167.25.35 | TRANSPORT & EMERGENCY MONITOR | GE B105 | 1 | 27 | 1998000 | 53946000 | 0 | 53946000 |  | EOMH | 8-12 weeks
M.168.31.46 | PEAK FLOW METER |  | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.168.61.15 | ELECTROENCEPHALOGRAPH STATION - 32 CHANNEL TROLLEY MOUNTED - WITH ACCESSORIES | Neurowork | 1 | 3 | 21090000 | 63270000 | 0 | 63270000 |  | EOMH | 8-12 weeks
M.174.73.38 | EMERGENCY TROLLEY - CRASH CART | Inspital | 1 | 10 | 721500 | 7215000 | 0 | 7215000 |  | EOMH | 8-12 weeks
M.174.73.39 | CART - EQUIPMENT | Inspital | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.176.27.96 | DEFIBRILLATOR - MONITORED WITH PACER | Progetti | 1 | 8 | 3108000 | 24864000 | 0 | 24864000 |  | EOMH | 8-12 weeks
M.177.82.55 | DEFIBRILLATOR - UNMONITORED | Progetti | 1 | 3 | 3108000 | 9324000 | 0 | 9324000 |  | EOMH | 8-12 weeks
M.180.64.65 | GLUCOMETER - HAND HELD - QUICK TEST | Roche | 1 | 15 | 33300 | 499500 | 0 | 499500 |  | EOMH | 8-12 weeks
M.194.86.05 | MONITOR - PATIENT - VITALS - MRI COMPATIBLE | Schiller | 1 | 1 | 13320000 | 13320000 | 0 | 13320000 |  | EOMH | 8-12 weeks
M.20.21.40 | SHARPS COLLECTOR - 7L CLEAR SIGNS |  | 1 | 2 | 16650 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
M.208.16.18 | FLUID WARMER | UK | 1 | 2 | 499500 | 999000 | 0 | 999000 |  | EOMH | 8-12 weeks
M.35.51.53 | DIGITAL SCALE ADULT/PEDIATRIC | SECA | 1 | 35 | 55500 | 1942500 | 0 | 1942500 |  | EOMH | 8-12 weeks
M.44.57.64 | DIAGNOSTIC STATION - WALL MOUNTED - OPHTHALMOSCOPE - OTOSCOPE - NIBP - THERMOMETER | WELCH ALLEN | 1 | 32 | 1665000 | 53280000 | 0 | 53280000 |  | EOMH | 8-12 weeks
M.64.27.52 | GONIOMETER SET |  | 1 | 1 | 333000 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
M.70.36.69 | ORCHIDOMETER - WOOD |  | 1 | 3 | 277500 | 832500 | 0 | 832500 |  | EOMH | 8-12 weeks
M.73.51.53 | BLOOD PRESSURE HOLTER MONITOR | GE | 1 | 6 | 3996000 | 23976000 | 0 | 23976000 |  | EOMH | 8-12 weeks
M.74.06.11 | TREADMILL ELEVATING WITH PC CONTROL | GE Case+T2100 Treadmill | 1 | 1 | 11655000 | 11655000 | 0 | 11655000 |  | EOMH | 8-12 weeks
M.82.51.53 | DOPPLER - VASCULAR - ABI CAPABILITY - HAND HELD - WITH PRINTER |  | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
M.84.94.78 | STETHOSCOPE - NURSE - ADULT |  | 1 | 18 | 277500 | 4995000 | 0 | 4995000 |  | EOMH | 8-12 weeks
M.86.57.64 | PUMP - SUCTION ON TROLLEY - TWIN CONTAINER 1L |  | 1 | 9 | 555000 | 4995000 | 0 | 4995000 |  | EOMH | 8-12 weeks
M.88.51.53 | AUTO SYRINGE PUMP |  | 1 | 32 | 666000 | 21312000 | 0 | 21312000 |  | EOMH | 8-12 weeks
M.89.51.53 | INFUSION PUMP VOLUMETRIC |  | 1 | 1 | 666000 | 666000 | 0 | 666000 |  | EOMH | 8-12 weeks
M.90.54.59 | INFUSION PUMP VOLUMETRIC ON CASTORS |  | 1 | 30 | 666000 | 19980000 | 0 | 19980000 |  | EOMH | 8-12 weeks
M.92.42.80 | 12 CHANNEL ECG WITH MONITOR AND INTERPRETATION (STRESS TEST) |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
M.93.45.86 | ECG HOLTER MONITOR |  | 1 | 6 | 3330000 | 19980000 | 0 | 19980000 |  | EOMH | 8-12 weeks
M.94.48.92 | ECG - 3 CHANNEL - ON TROLLEY |  | 1 | 1 | 721500 | 721500 | 0 | 721500 |  | EOMH | 8-12 weeks
M.95.00.45 | ECG - 12 CHANNEL - ON TROLLEY |  | 1 | 4 | 1665000 | 6660000 | 0 | 6660000 |  | EOMH | 8-12 weeks
MON.006 | PHLEBOTOMY CHAIR |  | 1 | 2 | 721500 | 1443000 | 0 | 1443000 |  | EOMH | 8-12 weeks
MTC.009 | INSTRUMENT CLEANER |  | 1 | 1 | 388500 | 388500 | 0 | 388500 |  | EOMH | 8-12 weeks
MTC.012 | SEALING MACHINE |  | 1 | 1 | 555000 | 555000 | 0 | 555000 |  | EOMH | 8-12 weeks
MTC.098 | ORTHODONTIC SPOT WELDER |  | 1 | 1 | 277500 | 277500 | 0 | 277500 |  | EOMH | 8-12 weeks
MTC.099 | VACUUM FORMER TABLETOP DENTAL LAB |  | 1 | 1 | 33300 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
N.85.03.95 | GAS CYLINDER - O2 - ON TROLLEY |  | 1 | 5 | 166500 | 832500 | 0 | 832500 |  | EOMH | 8-12 weeks
N.86.07.01 | GAS CYLINDER TROLLEY - OXYGEN/N2O |  | 1 | 2 | 166500 | 333000 | 0 | 333000 |  | EOMH | 8-12 weeks
N.86.07.02 | CYLINDER RACKS |  | 1 | 1 | 1665000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
O.122.42.80 | PROJECTOR - VISUAL ACUITY |  | 1 | 3 | 721500 | 2164500 | 0 | 2164500 |  | EOMH | 8-12 weeks
O.160.63.76 | OPHTHALMOLOGY CHAIR - COMPLETE (RETINOSCOPE - SLIT LAMP - TONOMETER) | LIGHT BOX | 1 | 3 | 6438000 | 19314000 | 0 | 19314000 |  | EOMH | 8-12 weeks
O.162.76.43 | OPHTHALMOSCOPE - INDIRECT | WELLCH ALLEN | 1 | 4 | 1443000 | 5772000 | 0 | 5772000 |  | EOMH | 8-12 weeks
O.166.34.52 | RETINAL CAMERA / OCT OPHTHALMOSCOPE / EYE F-ANGIO / TABLETOP | TOPCON | 1 | 1 | 44400000 | 44400000 | 0 | 44400000 |  | EOMH | 8-12 weeks
O.196.40.64 | SCREENER - VISUAL FIELD COMPUTER BASED |  | 1 | 1 | 943500 | 943500 | 0 | 943500 |  | EOMH | 8-12 weeks
O.198.06.56 | LENSOMETER - TABLETOP |  | 1 | 3 | 1554000 | 4662000 | 0 | 4662000 |  | EOMH | 8-12 weeks
O.209.21.85 | OPHTHALMOSCOPE - FUNDOSCOPE | LIGHT BOX | 1 | 2 | 444000 | 888000 | 0 | 888000 |  | EOMH | 8-12 weeks
O.217.82.55 | AUTO REFRACTOMETER/KERATOMETER |  | 1 | 3 | 4218000 | 12654000 | 0 | 12654000 |  | EOMH | 8-12 weeks
P.100.09.17 | PRESSOTHERAPY UNIT |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
P.104.72.93 | VACCUM THERAPY |  | 1 | 1 | 33300 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
P.110.91.27 | INFRARED RADIANT |  | 1 | 1 | 33300 | 33300 | 0 | 33300 |  | EOMH | 8-12 weeks
P.111.42.80 | MAGNETOTHERAPY |  | 1 | 1 | 4995000 | 4995000 | 0 | 4995000 |  | EOMH | 8-12 weeks
P.121.60.70 | PULLEY SYSTEM |  | 1 | 1 | 111000 | 111000 | 0 | 111000 |  | EOMH | 8-12 weeks
P.125.21.40 | PARALLEL BARS |  | 1 | 1 | 610500 | 610500 | 0 | 610500 |  | EOMH | 8-12 weeks
P.131.91.27 | WEIGHTS - SET PHYSIO |  | 1 | 1 | 166500 | 166500 | 0 | 166500 |  | EOMH | 8-12 weeks
P.136.03.50 | CONTINUOUS PASSIVE MOTION UPPER LIMBS |  | 1 | 1 | 2775000 | 2775000 | 0 | 2775000 |  | EOMH | 8-12 weeks
P.136.55.03 | QUADRICEP EXERCISER |  | 1 | 1 | 222000 | 222000 | 0 | 222000 |  | EOMH | 8-12 weeks
P.139.64.20 | SHOULDER WHEEL |  | 1 | 2 | 444000 | 888000 | 0 | 888000 |  | EOMH | 8-12 weeks
P.147.49.81 | ELECTROTHERAPY UNIT |  | 1 | 3 | 555000 | 1665000 | 0 | 1665000 |  | EOMH | 8-12 weeks
P.148.40.19 | CONTINUOUS PASSIVE MOTION LOWER LIMBS |  | 1 | 1 | 2331000 | 2331000 | 0 | 2331000 |  | EOMH | 8-12 weeks
P.158.73.38 | HYDROCOLLECTOR - COLD COMPRESS |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
P.162.85.61 | HYDROCOLLECTOR - HOT COMPRESS |  | 1 | 1 | 3885000 | 3885000 | 0 | 3885000 |  | EOMH | 8-12 weeks
P.166.43.69 | ERGOMETER |  | 1 | 4 | 166500 | 666000 | 0 | 666000 |  | EOMH | 8-12 weeks
P.98.03.06 | TENS MACHINE (TNS OMEGA) |  | 1 | 3 | 4995000 | 14985000 | 0 | 14985000 |  | EOMH | 8-12 weeks
S.96.85.16 | AUTOCLAVE - DENTAL INSTRUMENTS 24L | TUTTNAUER/2840EKA D(28L) | 1 | 6 | 2664000 | 15984000 | 0 | 15984000 |  | EOMH | 8-12 weeks
S.96.85.16.1 | EXTERNAL PRINTER | TUTTNAUER PRINTER FOR TABLE TOP AUTOCLAVE | 1 | 6 | 388500 | 2331000 | 0 | 2331000 |  | EOMH | 8-12 weeks
S.97.36.69 | AUTOCLAVE - FAST CYCLE - 30L - HORIZONTAL - TABLE TOP | TUTTNAUER/ELARA 11D | 1 | 2 | 7215000 | 14430000 | 0 | 14430000 |  | EOMH | 8-12 weeks
S.99.18.35 | WASHER - BEDPAN/URINAL - FLOOR TYPE | TUTTNAUER/REVO | 1 | 2 | 4440000 | 8880000 | 0 | 8880000 |  | EOMH | 8-12 weeks
S.99.18.37 | TROLLEY - SOILED LINEN - EPOXY COATED - WITH COVER | DOLSAN/LINEN TROLLEY | 1 | 8 | 388500 | 3108000 | 0 | 3108000 |  | EOMH | 8-12 weeks
S.99.18.40 | RECORD HOLDER TROLLEY - 2 LARGE Drawer - ABS | DOLSAN/DRAWER | 1 | 7 | 260850 | 1825950 | 0 | 1825950 |  | EOMH | 8-12 weeks
TPHY | PHYSIO TABLE |  | 1 | 2 | 1665000 | 3330000 | 0 | 3330000 |  | EOMH | 8-12 weeks
U.134.27.96 | COMPUTER-BASED URODYNAMIC SYSTEM ON CASTORS |  | 1 | 2 | 9435000 | 18870000 | 0 | 18870000 |  | EOMH | 8-12 weeks
U.134.79.49 | URODYNAMIC CHAIR |  | 1 | 2 | 2220000 | 4440000 | 0 | 4440000 |  | EOMH | 8-12 weeks
U.63.18.79 | DIALYSIS MACHINE | Gambro AK98 | 1 | 12 | 8325000 | 99900000 | 0 | 99900000 |  | EOMH | 8-12 weeks
V.001 | ALLOW A PROVISIONAL SUM FOR MRI ROOM PREPARATION |  | LOT | LOT | 15000000 | 15000000 |  | 15000000 |  | EOMH | 1-2 weeks
V.002 | ALLOW A PROVISIONAL SUM FOR CT ROOM PREPARATION |  | LOT | LOT | 20000000 | 20000000 |  | 20000000 |  | EOMH | 1-2 weeks
V.003 | ALLOW A PROVISIONAL SUM FOR MAMOGRAPHY ROOM PREPARATION |  | LOT | LOT | 15000000 | 15000000 |  | 15000000 |  | EOMH | 1-2 weeks
V.004 | ALLOW A PROVISIONAL SUM FOR X-RAY ROOM PREPARATION |  | LOT | LOT | 15000000 | 15000000 |  | 15000000 |  | EOMH | 1-2 weeks
V.005 | ALLOW A PROVISIONAL SUM FOR REVERSE OSMOSIS COMPLETE WITH PRE-TREATMENT PLANT ANDHOUSING |  | LOT | LOT | 30000000 | 30000000 |  | 30000000 |  | EOMH | 1-2 weeks
| TOTAL |  |  |  | MEDICAL EQUIPMENT LOT 1_PHASE 1 SUDABELT 8: 1720778150