## Cover
BILL OF QUANTITIES
FOR
PROPOSED REMODELING/REFURBISHMENT WORKS OF STELLA OBASANJO HOSPITAL IN-PATIENT DEPARTMENT (IPD) BUILDING
AT
BENIN - CITY, EDO STATE
FOR
EDO STATE GOVERNMENT OF NIGERIA
Prepared by:
QUANTITY SURVEYORS
EDO STATE PUBLIC BUILDING AND MAINTENANCE AGENCY
FIRST FLOOR NEW SECRETARIAT COMPLEX(BLOCK C)
BENIN CITY EDO STATE.
MAY, 2023

## Prelims
PROPOSED REMODELING/REFURBISHMENT WORKS OF STELLA OBASANJO HOSPITAL IN-PATIENT DEPARTMENT(IPD) BUILDING AT BENIN-CITY , EDO STATE FOR EDO STATE GOVERNMENT OF NIGERIA.
ITEM | DESCRIPTION | AMOUNT (₦ K )
Sequence of Work
A | The Contractor is to allow for carrying out the works in such proportion and in such order as the employer requires
Inspection of site
B | The contractor is advise to visit the site and make himself thoroughly conversant with the nature of the site, the facilities for access, the local condition, the full extent and character of the operations, the supply of and conditions affecting labours, the risk of injury or damage to property adjacent to the site or to the occupiers of such property and all other matters affecting his tender and the execution of the works. The contractor will be deemed to have included in his tender all costs and expenses in connection with the foregoing and no claims for additional payment will be allowed consequent upon any misunderstanding or lack of knowledge of such matters. Arrangement to visit the site may be through the Architect
Existing Site Levels
C | The Contractor is referred to levels indicated on site drawing Contractor shall confirmed the level before commencement of the works, as no claim be entertained
Contractor to Inspect Drawings
D | The construction drawing on which this bills of quantities were prepared indicate the general nature and scope of the works. These drawing are available for inspection to all tenders in the office of the consultants - ARCHITECT or QUANTITY SURVEYORS.
Area To Which the Contractor Will be Confined
E | The area of land is available for use by the contractor for the execution of the contract is shown on site plan. The contractor shall confine his temporary buildings, stores and everything pertaining to the work within the limit shown on the buildings.
Materials found on site
F | Any Sand Laterite, gravel or other building materials discovered on the site shall be the property of the Employer and shall not be used in the construction works without the prior written consent of the Architect. The market of the material so used shall be allowed to the employer by the contractor and the contract sum adjusted accordingly.Precious articles or antiquities found on the site shall be the property of the Employer and shall be handed over to the architect
To Collection
A | Definition of Abbreviation
Abbreviations have been use in the Bills of Quantities for the units of measurement and the contract should take due notice of the undermentioned.
M3 - Cubic Metre
M2 - Square Metre
M - Linear Metre
Nr - Number
MM - Millimetre
Kg - Kilogramme
N - Naira
K - Kobo
O.P.C - Ordinary Portland Cement
R.H.P.C - Rapid Hardening Portland Cement
N. MM2 - Newton per square millimetre
EPUBMA - Edo Public Building and Maintenance Agency
Singular & Plural
B | Words importing the singular only shall include the plural and the vice versa
No Alterations to Bills of Quantities
C | No Alterations whatsoever is to be made by the text of this bills of quantities by the contractor unless such alteration is authorize in writing by the Quantity Surveyor. Any such alteration notes or additions being made to the text of this Bill of Quantities and not covered by such notice in writing will be disregarded.
CONTRACT PARTICULARS
Conditions of Contract
D | The Articles of Agreement and condition of contract are set out in full on page AA1 - AA4 and CC/1 -CC/22 inclusive of this document. The Contractor is referred to the clauses there in each enumerated below and he is to allow here in his tender against each item the cost of fulfilling all obligations and liabilities contained therein.
To Collection
A | Clause No.
1. Contractors obligation
2. Architect instruction
3. Contract Document
4. Statutory Obligation, notice, fees and charges
5. Levels and setting out of the work
6. Materials, goods and workmanship to conform to description, testing and inspection
7. Royalties and patent rights
8. foreman-in-charges
9. Access for Architect to the Works
10. Clerk of the Works
11. Variations, provision and prime cost sums
12. Contract Bills
13. Contract Sums
14. Unfixed good and material
15. Practical completion and defects liabilities
16. Sectional complexion
17. Assignment or sub-letting
18. Injury to person and property Employers indemnity
19. Insurance against injury to persons and property
20. Insurance of the work against fire, etc
21. Possession, completion and postponement
22. Damage for non-completion
23. Extension of time
24. Loss and expense caused by disturbance of regular pressure of work
25. Determination of Employee
26. Determination of Contractor
27. Nominated Sub-Contractor
28. Nominated suppliers
29. Artists and Tradesmen
30. Certificate and Payment
31. Fluctuation
32. Outbreak of hostilities
33. War Damage
34. Antiquities
35. Arbitration
To Collection
A | Insurance of the Works
The contractor will be required to effect insurance with insurance company to be approved by the Architect in respect of the following liabilities and in accordance with clause 19 (1) (a) and (b) of the condition of contract and these insurances shall be kept in force throughout the duration of the contract.
(1) Contractors legal liabilities as described in clause 18 (1) and 18 (2) of the conditions of contract in respect of death of or injury to persons (other than contractors own employees) and damage to property up to a limit of N in respect of any one claim or series of claims arising out of one event or accident and provided that there shall not be any limit on the number of event or accident occurring during the Contract Periods
(2) The Contract shall execute and maintaining insurance in accordance with the provision of clause 19(2) (a) of the Contract Conditions
The Contractor insure against loss of damage by fire, storm tempest and other hazards as referred to in clause 20(a) of the Condition 0f Contract.
The Contractor will be required to show evidence that the interest of the Employer are property and adequately covered by the above mentioned insurances.
Contract Performance Bond
B | It shall be a condition precedent to a contract base on the acceptance of the tender:- That the contractor shall enter into a contract performance bound with an insurance company or commercial bank by which they shall be jointly and severally bound to the employer in a sum equivalent to 2% of the contract price, conditioned for the due fulfillment of the terms and conditions of the contract.
Final Certificate
C | The final Account, when it has been agreed between EPUBMA, the Consultant and the Contractor will form the final figure of the Contract.
| To Collection | 0
Contractor's Supervision
A | The contractor shall provide full and adequate supervision during the process of the works and shall keep competent and authorized agents or general foremen approved by the architect (which approval may be withdrawn at any time) constantly on the works. Such authorized agent or general foremen shall given their whole time to the supervision of the work and must be able to receive and act upon (on behalf of the contractor) all instructions or orders issued by the Architect or his representative.
B | Setting Out of the Works
At commencement of the Contract and form time to time as the site becomes available, the Contractor is to set out the buildings for the Architect's inspection with levels and measurements, taken on the site and will be responsible for the accuracy thereof, and if inaccurate for making all alterations as required by the Architect. The Contractor shall also be responsible for checking that the site survey upon which the site layout is based is correct. Any inaccuracy found which affects the site layout shall be reported to the Architect immediately. The Contractor shall allow a maximum period of fourteen days in his program for the amendment of the site layout by reasons of survey inaccuracies. Immediately the remainder or other parts of the site becomes available the Contractor shall carry out further checks encompassing the released areas and data. Upon by the same criteria as stated in the foregoing paragraph. The Contractor Shall perform all setting out by a method to be approved by the Architect and provide all instruments, templates, rods and setting out boards, etc. as may be necessary for this purpose, and where required maintain these for reference during the progress of the works.
Foreman Incharge
C | Include for providing a competent foreman for proper supevision of work
Safety, Health and Welfare
D | Provide for the safety, health and welfare of all work people engaged upon the works to a reasonable standard approved by the provisions of factories ordinance 1995 and any subsequent amendment or addition thereto.
| To Collection | 0
Conditions of Service for Work People
A | Include for all cost incurred in observing as required by the "Conditions of Service for the Building and Civil Engineering Industry Contractor in Nigeria" including training of IT students throughout the duration of the contract
Transport for Work People
B | Include for providing transport as required for work people both about and off the site
Safeguard Works, etc
C | Include for providing all necessary day and night watchmen and lighting for safeguarding the works, materials and plant against damage and theft
Maintaining Roads, etc
D | The Contractor is to maintain and keep clean public and private roads, kerbs, drains, culverts and other property and will be held responsible for and make good at his own expense any damaged caused thereto
Police Regulations
E | Include the cost of complying with Police regulations which may affect the carrying out of the works
Temporary Water and Electricity Supplies
F | Include for providing all water and electricity, together with mains, pumps, water storage vessels, plumbing, cables and artificial lighting and other ancillary equipment required for the proper execution of the works and installing and maintaining all these items in strict accordance with the regulations of the appropriate supply authority and paying all fees and charges in connection therewith
Temporary Roads
G | Include the forming and maintaining access to and about the site by means of temporary roads and gangways together with drain channel crossovers as required and maintain during the progress of the work
Temporary Buildings for Contractor
H | Include for erecting temporary sheds, offices, mess-rooms, sanitary accommodation, covered workshops and shelter and other temporary buildings for the use of the contractor
| To Collection | 0
Temporary Buildings and Facilities
A | Include for erecting suitable temporary site office with furnishing for client's representatives
Sanitary Facilities
B | Provide proper sanitary accommodation for use on site to the approval of the Architect/Superintendent Officer
Protecting from the Weather
C | Include for protecting all work in progress or completed against from the rain and sun
Notice of Covering Up
D | The Contractor must give at least three days clear notice to the Architect before covering up any of the work in foundation and drains in order that proper inspection and measurement may be taken of the works executed, and in the event of the Contractor failing to provide such notice he will be required, at his own expense, to uncover such work and afterward reinstate
Tests and Samples of Materials
E | Include for labour, material, plant and transport used in preparation fro, or carrying out tests of any materials and for providing samples of materials including various colours of the same materials for approval as required by this Contract and the Architect before use or application in the works and for clearing samples away from site after relevant works are completed
F | Only the net cost of fees for testing materials proven to be in accordance with this Contract will be paid to the Contractor under clause 6 of Conditions of Contract
G | Any samples rejected are to be replaced until approved and all materials subsequently used in the works are to be equal in all respects to the approved samples
National Provident Fund
H | The Contractor shall include for all costs and contributions in operating and complying with the provisions of the National Provident Fund Act 1961 and any subsequent amendment or addition thereto
| To Collection | 0
Ordering Materials
A | Upon receipt of the order to commence the works, the Contractor is to make a review of the materials required for the execution of the said work and is to place order for such materials, so as to obviate future delay. The Contractor's failure to order materials on time will be regarded as a serious breach of contract and he will be held responsible and subject to damages for non-completion should any delay to the completion of the works result from such failure
B | Records
The Contractor is to keep accurate record with dates, of weather, temperatures, visitors any other events influencing the progress and quality of the works
Include for furnishing to the Architects such information as he may he may require in connection with the works including a statement showing the number of men employed each day in all trades and the delivery notes for all materials
Progress Photographs
C | Progress Photographs shall be taken by the Contractor at regular intervals. Copies of the photographs shall be tabled at the monthly progress meeting
Site Sign Board
D | The Contractor is to include for providing and erecting on site an elevated sign board constructed and painted on steel framing and edging with plywood unfill, showing the title of the Contract names and addresses of the Consultants, Nominated Suppliers and Sub-Contractors and such other information as may be required by the Architect who shall approve the design, layout and colours of the board. Lettering shall be "cut out" plywood or plastic of an approved thickness and shall be 250mm high for the main title, and 200mm high elsewhere. The whole board shall be maintained in good condition, repainted as necessary and removed when no longer required
Temporary Storm-Water Drainage
E | Allow for ensuring that the whole of the site is kept free from the risk of storm-water flooding and providing temporary ditched, gullies and the likes as may be necessary and for subsequently back-filling such excavations and making good at the Contractor's own expense
| To Collection | 0
Scaffolding and Plant
A | Allow for providing all scaffolding, hoists, tackle and other plant, profiles, templates, centering and equipment generally required for the proper safe and efficient execution of the Works
B | The Contractor is particularly to note that scaffolding staging and the like is to be provided both for the execution of his own work and that of Sub-Contractors employed under this Contract, including that required solely for the execution of work by Sub-Contractors
C | Allow for providing all gangway, walkways, planking decking, temporary platforms, etc. necessary to construct and afford access to or between all parts of the Works
Holidays for Work People
D | The Contractor shall include for any payment to work people in connection with public and religious holidays and annual vacations
Works by Public Bodies
E | The Contractor shall be responsible for the supervision and administration of all pubic bodies engaged on the works, who shall be regarded as Nominated Sub-Contractors
Nominated Sub-Contractors and Suppliers
F | The Contractor shall be fully responsible for all sections of the works
Protection of the Works
G | The Contractor shall provide all necessary coverings, causings and other means adequate to protect the works from injury from weather or any cause and shall erect, maintain and remove from time to time as necessary and finally cleared away
H | During inclement weather the Contractor shall suspend such parts of the Works from injury all works then in the course of erection
Extermination and Prevent Pests
J | Allow for effectively destroying all vermin, insects and pests to the whole area of the site and taking all preventive measures to maintain the site in a clean and sanitary condition to the satisfaction of the Architect
| To Collection | 0
Defects after Completion
A | Allow for inspection of the works at the end of the Defects liability period and making good all defects in accordance with Clause 15 of the Conditions of Contract. Allow also for inspecting and making good such defects as may be of an urgency during the Defects liability period
Clerk of Works
B | Include for clerk of works for the proper execution of the works
Contract Documentation
C | Include a provisional sum of One Million Naira (1,000,000.00) for contract documentation payable to Ministry of physical planning and urban development
D | Include a provisional sum of () for contract agreement payable to Ministry of Justice or any approved legal firm on receipt of mobilization fees
Contract Administration
E | Include a provisional sum of Two million,Five Hundred Thousand Naira (N 2,500,000.00) for Contract Administration
Removing Rubbish
F | Include for cleaning down the whole of the premises, including cleaning glass on both sides and cleaning off all floors, pavings, metalwork, finishing and fittings throughout, touching up paint work and generally removing all stains, dirt and surplus materials and rubbish and leave the works and site in a clean and tidy condition and ready for immediate use with all damage to property, road, paths and drains e.t.c. made good all to the satisfaction of the Architect
Advance Payment/performance bond
G | Allow for providing an advance payment/performance bond obtainable from an approved bank.
| To Collection | 0
COLLECTION
| PRL 1/4 | 0
| PRL 1/5 | 0
| PRL 1/6 | 0
| PRL 1/7 | 0
| PRL 1/8 | 0
| PRL 1/9 | 0
| PRL 1/10 | 0
BILL NO.1
PRELIMINARIES:
| CARRIED TO GENERAL SUMMARY | 0

## Hospital
PROPOSED REMODELING/REFURBISHMENT WORKS OF STELLA OBASANJO HOSPITAL IN-PATIENT DEPARTMENT(IPD) BUILDING AT BENIN-CITY , EDO STATE FOR EDO STATE GOVERNMENT OF NIGERIA.
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BILL NR.2: REMODELING/REFURBISHMENT WORKS OF HOSPITAL/ INCINERATOR BUILDING
ELEMENT NR.1
DEMOLITION AND ALTERATION WORKS
All demolished items are to remain property of employer, except where instructed
Carefully break out, remove and cart away debris from the site and making good all disturbed areas for the following:
A | Existing wall tiles (Toilets) | 2468 | m2 |  | 0
B | Ditto; (kitchen) | 60 | m2 |  | 0
C | Existing floor tiles (Toilets) | 315 | m2 |  | 0
D | Ditto; (wards,offices,open areas etc) | 9078 | m2 |  | 0
E | Ditto; (kitchen) | 24 | m2 |  | 0
F | Ditto; Ceiling boards (Main) | 9735 | m2 |  | 0
G | Ditto; Ceiling boards (Staircases) | 158 | m2 |  | 0
H | Ditto; bituminous felting | 584 | m2 |  | 0
J | Ditto; staircase (Landing, Treads & Risers) | 106 | m2 |  | 0
K | Ditto; Wooden doors | 340 | Nr |  | 0
L | Ditto; Aluminium doors | 67 | Nr |  | 0
M | Ditto; Aluminium windows | 303 | Nr |  | 0
N | Chisel out & plaster along crack 300mm wide and replaster over with chicken wire mesh | 300 | m |  | 0
P | Making good all surface defects on walls due to damp penetration (approximately 900m2) | 1 | item |  | 0
Q | Ditto; A/Cs Units & Piping | 152 | Nr |  | 0
R | Scrape off existing internal painting works of surface to receive new paints | 15185 | m2 |  | 0
S | Ditto; staircase areas | 725 | m2 |  | 0
T | Scrape off existing external painting works of surface to receive new paints | 2200 | m2 |  | 0
U | Carefully remove existing electrical equipment:fittings,switches & sockets and cables, and the likes, make good all works disturbed (approximately 200 rooms, opens etc) | 1 | item |  | 0
V | Carefully remove existing sanitary wares:WCs,WHBs,Baths,Water heaters, Accessories & Piping and the likes, making good all works disturbed (approximately 80 bathrooms) | 1 | item |  | 0
| To collection |  |  |  | 0
A | Break up existing block walls | 6020 | m2 |  | 0
Correction of Structural Defects (Concrete & Block works repair)
B | Modification/Correction of existing structural defects | 1 | item |  | 0
Site Clearance
C | Relocate Office furniture/wares & machine from hospital to approved stores | 1 | Lot |  | 0
LANDSCAPING/HORTICULTURAL WORK (Courtyard)
Plant and maintain Bahamas grass, hedges, or other equal and
approved flowers, including top soiling, fertilizing and
D | maintaining throughout defect liability period. | 1250 | m2 |  | 0
Rubbish
E | Cart away rubbish/debris from site to approved dumpsite | 1 | item |  | 0
Protection
F | Protect all works in this element |  | item
| To collection |  |  |  | 0
COLLECTION
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
ELEMENT NR.1
| DEMOLITION AND ALTERATION WORKS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.2
NEW STRUCTURE - LIFT SHAFTS & KITCHEN/CENTRAL GASES/UPS/ REVERSE OSMOSIS/WATER PRETREATMENT PLANT CONSTRUCTION
SUBSTRUCTURE & BASEMENT (WORKS UP TO AND INCLUDING GROUND FLOOR SLAB)
Excavations and Earthworks
Excavation by machine
Site Clearance
A | Clear site from all shrub, bushes undergrowth, large stones, rubbish, debris etc. and removed from site | 534 | m2 |  | 0
B | Excavate oversite average 150mm deep to remove topsoil and vegetable matter and deposit where directed. | 534 | m2 |  | 0
C | Disposal of topsoil | 80.1 | m3 |  | 0
Excavations and Earthworks
Excavation by machine
D | Excavate trench for tie beams foundation not exceeding 1.50 meters deep starting from stripped level; including excavation and backfilling of working space. | 80 | m3 |  | 0
E | Excavate pit for column bases foundation not exceeding 1.50 meters deep starting from stripped level; including excavation and backfilling of working space. | 139 | m3 |  | 0
F | Ditto; lift shafts | 96 | m3 |  | 0
Disposal of excavated materials
Mechanical loading from site of excavation
G | Backfilling with selected excavated materials | 164 | m3 |  | 0
H | Remove surplus excavated materials from excavation materials and deposit where directed | 140 | m3 |  | 0
Base course
J | 300mm thick bed of approved base course consolidated and compacted to make up levels under floor | 205 | m3 |  | 0
Laterite filling
K | 150mm thick imported laterite filling leveled and well compacted to make up levels under base course | 145 | m3 |  | 0
Surface Treatment
L | Level and ram bottom of excavation to receive concrete (tie beams) | 87 | m2 |  | 0
M | Level and ram bottom of excavation to receive concrete (column bases & lift shaft) | 99 | m2 |  | 0
N | Prepare and apply one coat of dieldrex anti-termite solution treatment to surfaces of excavation (tie beams) | 348 | m2 |  | 0
P | Prepare and apply one coat of dieldrex anti-termite solution treatment to surfaces of excavation (column bases & lift shaft) | 396 | m2 |  | 0
| To collection |  |  |  | 0
Concrete works
Plain in-situ concrete (1:10 ) - Grade 18 blinding in:
A | 50mm blinding to tie beams | 87 | m2 |  | 0
B | Ditto; column bases & lift shaft | 99 | m2 |  | 0
C | Ditto, slab on grade | 534 | m2 |  | 0
Concrete works
Reinforced in-situ concrete (1:1.5:3 -20mm aggregate) - Grade 25 in:
D | Columns | 11 | m3 |  | 0
E | Column bases | 33 | m3 |  | 0
F | Tie beams | 12 | m3 |  | 0
G | Lift shaft bases | 14 | m3 |  | 0
H | Lift shaft walls | 15 | m3 |  | 0
J | 150mm thick ground floor slab on grade | 80 | m3 |  | 0
Reinforcement
High yield deformed bar reinforcement to BS 4449 grade 460 in slab, ramp, steps, columns lift shaft etc.(provisional)
K | 10 - 20mm diameter bar in columns | 1.65 | ton |  | 0
L | 16mm diameter bar in column bases | 4.95 | ton |  | 0
M | 10 - 20mm diameter bar in tie beams | 1.8 | ton |  | 0
N | 16mm diameter bar in lift shaft bases & walls | 4.35 | ton |  | 0
P | 12mm diameter bar in slabs on grade | 12 | ton |  | 0
Marine formwork to:
Q | Vertical sides of columns | 192 | m2 |  | 0
R | Vertical sides of column bases | 73 | m2 |  | 0
S | Vertical sides of lift shaft bases | 18 | m2 |  | 0
T | Vertical sides of lift shaft walls | 144 | m2 |  | 0
U | Vertical sides of tie beams | 106 | m2 |  | 0
V | Edge of ground slab 150mm wide | 162 | m |  | 0
Damp proof membrane
W | 1000 gauge 'visqueen' polythene damp proof membrane lapped 450mm at all welted joints and laid on rock laterite | 534 | m2 |  | 0
Protection
X | Protect all works in this element |  | item
| To collection |  |  |  | 0
COLLECTION
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
ELEMENT NR.2
| SUBSTRUCTURE (WORKS UP TO AND INCLUDING GROUND FLOOR SLAB) |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.3
FRAME STRUCTURE - NEW STRUCTURE
Concrete works
Reinforced in-situ concrete (1:1.5:3 -20mm aggregate) - Grade 25 in:
A | Columns | 25 | m3 |  | 0
B | Attached/Floor beams | 24 | m3 |  | 0
C | Lift shaft/cage walls | 86 | m3 |  | 0
Reinforcements
High yield deformed bar reinforcement to BS 4449 grade 460 in beams,
columns, (provisional)
D | 10-20mm diameter bar in columns | 3.75 | ton |  | 0
E | 10-16mm diameter bar in attached/floor beams | 3.6 | ton |  | 0
F | 10 - 16 mm diameter bar in lift shaft/cage walls | 12.9 | ton |  | 0
Marine formwork to:
G | Vertical sides of columns | 293 | m2 |  | 0
H | Sides and soffit of attached/floor beams | 281 | m2 |  | 0
J | Vertical sides of lift shaft/cage walls | 864 | m2 |  | 0
Protection
K | Protect all works in this element |  | item
ELEMENT NR.3
FRAME STRUCTURE
| CARRIED TO BILL NR.2 SUMMARY |  |  |  | 0
ELEMENT NR.4
EXTERNAL AND INTERNAL WALLS
Block work
Sandcrete hollow block work in cement mortar (1:4)
A | 200mm wall (to cover A/C openings) | 120 | m2 |  | 0
B | 200mm wall ( External) - New Structure | 1297 | m2 |  | 0
C | 200mm wall (Internal) - New Structure | 314 | m2 |  | 0
D | 100mm wall - Internal | 3886 | m2 |  | 0
E | 100mm wall - New structure | 471 | m2 |  | 0
Protection
E | Protect all works in this element |  | item
ELEMENT NR.4
EXTERNAL AND INTERNAL WALLS
| CARRIED TO BILL NR.2 SUMMARY |  |  |  | 0
ELEMENT NR.5
STAIRCASES
Internal Staircase
Concrete work
A | Staircase & landings (GF - 2nd floor) - New Structure | 9 | m3 |  | 0
Reinforcement
High yield deformed bar reinforcement to BS 4449 grade 460
in staircase, etc. (provisional)
B | 12mm diameter bar in staircase & landings | 1.35 | ton |  | 0
Marine formwork to: - New Structure
C | Horizontal soffit of landings | 30 | m2 |  | 0
D | Sloping soffit of stairs | 12 | m2 |  | 0
E | Sloping open string 375mm wide but to profile of treads and risers | 12 | m |  | 0
F | Face of riser 150mm wide | 12 | m |  | 0
G | Edge of landing slab 200mm wide | 32 | m |  | 0
Supply and install stainless steel handrail balustrade, comprising of 50mm diameter brush stainless steel grade 316 handrail of 1.10m high, cut and pin to block wall or concrete floor bed or grout and point in cement mortar(1:4) make good all works disturbed
H | Step hand railing | 48 | m |  | 0
J | Ditto; Terrace - Balustrade | 93 | m |  | 0
Finishing
600 x 600 x 20mm thick approved quality polished granite floor tiles laid with adhesive on screeded bed (measured separately)
K | Landings | 90 | m2 |  | 0
L | 80mm high skirting | 110 | m |  | 0
Precut approved quality polished granite floor tiles bedded and jointed in cement and sand mortar (1:3) laid with adhesive on screeded bed (measured separately)
M | 20mm thick slab on tread 300mm wide with rounded nosing finished fair on all exposed edges | 114 | m |  | 0
N | 20mm thick risers 150mm wide covered at junction with tread | 114 | m |  | 0
P | 80mm high skirting | 52 | m |  | 0
| To collection |  |  |  | 0
Cement and Sand (1:3) bed and backing
A | 30mm screeded bed to receive granite tiles | 90 | m2 |  | 0
B | Ditto; 300mm wide tread | 114 | m |  | 0
C | 15mm screeded backing to risers | 114 | m |  | 0
D | 15mm screeded backing to skirting | 162 | m |  | 0
Painting & Decorating
On wall Internally
E | Plaster of Paris screeding well sanded on rendered surface to receive emulsion paint | 823 | m2 |  | 0
F | Prepare and apply one mist coat and two full coats of emulsion paint on walls | 823 | m2 |  | 0
G | Ditto; surface not exceeding 375mm wide | 309 | m |  | 0
H | 15mm cement and sand soffit of landing width exceeding 300mm | 90 | m2 |  | 0
J | Ditto; sloping soffit of staircase width exceeding 300mm | 74 | m2 |  | 0
K | Ditto; edges of sloping surfaces of waist 300mm wide | 48 | m |  | 0
L | Ditto; edges of landing | 110 | m |  | 0
Ceiling covering
M | 600x600mm aluminium perforated suspended ceiling boards fixed to steel hanger including all necessary accessories | 188 | m2 |  | 0
External Spiral Staircases
Maintenance works
N | Refurbish, rehabilitate and making good existing spiral staircases of Tread tapering 1200mm wide (28nr), with steel railing of 26m long including epoxy finishes | 1 | item |  | 0
Steel (hand railing & balustrade - ramp)
P | Prepare and apply two full coats of gloss paint on surfaces of steel works | 62 | m2 |  | 0
Protection
Q | Protect all works in this element |  | item
| To collection |  |  |  | 0
COLLECTION
| Page 8 |  |  |  | 0
| Page 9 |  |  |  | 0
ELEMENT NR.5
STAIRCASES
| CARRIED TO BILL NR.2 SUMMARY |  |  |  | 0
ELEMENT NR.6
UPPER FLOORS
Reinforced in-situ concrete (1:1.5:3 -20mm aggregate) - Grade 25 in:
A | Suspended slab (1st & 2nd floor) - New Structure | 195 | m3 |  | 0
Reinforcement
High yield deformed bar reinforcement to BS 4449 grade 460
in slabs. (provisional)
B | 12mm diameter bar in suspended slabs | 29.25 | ton |  | 0
Marine formwork to:
C | Horizontal soffit of suspended slabs | 1071 | m2 |  | 0
D | Edge of slab 250mm wide | 194 | m |  | 0
Protection
E | Protect all works in this element |  | item
ELEMENT NR.6
UPPER FLOORS
| CARRIED TO BILL NR.2 SUMMARY |  |  |  | 0
ELEMENT NR.7
ROOF CONSTRUCTION & COVERING
New Structure
Reinforced in-situ concrete (1:1.5:3 -20mm aggregate) - Grade 25 in:
A | Roof slab | 181 | m3 |  | 0
B | Roof beams | 29 | m3 |  | 0
C | Parapet walls | 28 | m3 |  | 0
Reinforcement
High yield deformed bar reinforcement to BS 4449 grade 460
in beams,slabs,parapet walls etc. (provisional)
D | 12mm diameter bar in roof slab | 27.15 | ton |  | 0
E | 10 - 16mm diameter bar in roof beams | 4.35 | ton |  | 0
F | 10 - 16mm diameter bar in parapet walls | 4.2 | ton |  | 0
Marine formwork to:
G | Horizontal soffit of roof slab | 870 | m2 |  | 0
H | Sides and soffit of roof beams | 346 | m2 |  | 0
J | Vertical sides of parapet walls | 238 | m2 |  | 0
K | Edge of slab 250mm wide | 136 | m |  | 0
Maintenance works
L | Refurbish, rehabilitate and making good existing corrugated roofing sheet/steel trusses & accessories and change any damaged sheets/pipes if necessary (approximately 6620m2) | 1 | item |  | 0
Cement board (Fascia & Eave)
M | 50x50x2.5mm thick hollow section steel profiles | 1428 | m |  | 0
N | Cement ceiling boards fixed to 50x50mm thick hollow section steel profiles (measured separately),eave ends | 352 | m2 |  | 0
P | Ditto; fascia board of 350mm wide | 124 | m2 |  | 0
Q | Edge groove with steel structure to cement board (measured separately) | 704 | m |  | 0
Painting
R | Plaster of Paris screeding well sanded on rendered surface to receive emulsion paint | 476 | m2 |  | 0
S | Prepare and apply one mist coat and two full coats of emulsion paint on walls | 476 | m2 |  | 0
| To collection |  |  |  | 0
Waterproofing
Built-Up Felt Roof Covering
Apply one coat of bitumen fiberized emulsion "PASTA IMPER 66 PRIMER" to concrete surfaces and lay single layer of 4mm thick "PARALON NT4" water proofing membrane and two protective coats of resin based white colour "ASTOMUlG" on:
A | Slab (Roof)/Terrace | 1407 | m2 |  | 0
B | Vertical walls | 143 | m2 |  | 0
Troweled screed cement and sand (1:4) to fall protection inclusive of polysulfide joints/floor drain
C | 65mm (Average) floated bed laid to cross - falls | 1407 | m2 |  | 0
D | 12mm floated backing | 143 | m2 |  | 0
Membrane
E | Supply and lay 3mm thick "CARTONAL" semi-flexible, polypropylene based board horizontally on felting (measured separately) | 1407 | m2 |  | 0
Protection
F | Protect all works in this element |  | item
| To collection |  |  |  | 0
COLLECTION
| Page 11 |  |  |  | 0
| Page 12 |  |  |  | 0
ELEMENT NR.7
| ROOF CONSTRUCTION & COVERING |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.8
DOORS
CONCRETE WORK
Reinforced in-situ concrete (1:1.5:3 -20mm aggregate) - Grade 25 in:
Incl.New Structure
A | In lintels over 0.03m2 but not exceeding 0.10m2 cross sectional area | 18 | m3 |  | 0
Reinforcement
High yield deformed bar reinforcement to BS 4449 grade 460
in lintel. (provisional)
B | 10 -12mm diameter bar in lintel | 2.7 | ton |  | 0
Marine formwork to:
C | Sides and soffit of lintel | 188 | m2 |  | 0
Aluminum Double Swing doors
D | Overall size 1800 x 2100mm high Incl.New Structure | 10 | Nr |  | 0
E | Overall size 1200 x 2100mm high New Structure | 3 | Nr |  | 0
Aluminum Sliding doors
F | Overall size 2400 x 4000mm high | 4 | Nr |  | 0
G | Overall size 1800 x 2400mm high | 4 | Nr |  | 0
H | Overall size 1200 x 2100mm high | 4 | Nr |  | 0
Fixed Aluminum Glass Partition with 1Nr. swing door
I | Overall size 3000 x 2100mm high | 4 | Nr |  | 0
Paneled doors (ARTCO INDUSTRIES LTD OR EQUAL)
J | 44mm (finished) hollow "Eurocre" double swing paneled door set in 50 x 225mm wooden frame finished with architraves size 1800 x 2100mm high Incl.New Structure | 53 | Nr |  | 0
K | Ditto; size 1200 x 2100mm high | 76 | Nr |  | 0
L | Ditto; size 900 x 2100mm high Incl.New Structure | 143 | Nr |  | 0
M | Ditto; size 800 x 2100mm high (or aluminum paneled) New Structure | 113 | Nr |  | 0
Ironmongery
Supply and install karltrade or equal approved set of ironmongery
N | Pair 100mm solid drawn brass butt hinges | 411 | Nr |  | 0
O | "Kensington" SAA 115-8624 level lock furniture cylinder fixing c/w 2241 SC/76mm single cylinder mortise lockset complete with keys | 411 | Nr |  | 0
P | "Kensington" rubber door stop | 411 | Nr |  | 0
Protection
Q | Protect all works in this element |  | item
ELEMENT NR.8
| DOORS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.9
WINDOWS
CONCRETE WORK
Reinforced in-situ concrete (1:1.5:3 -20mm aggregate) - Grade 25 in:
Incl.New Structure
A | In lintels over 0.03m2 but not exceeding 0.10m2 cross sectional area | 20 | m3 |  | 0
Reinforcement
High yield deformed bar reinforcement to BS 4449 grade 460
in lintel. (provisional)
B | 10 -12mm diameter bar in lintel | 3 | ton |  | 0
Marine formwork to:
C | Sides and soffit of lintel | 238 | m2 |  | 0
Aluminum preglazed windows
Supply and fix the following approved quality powder coated aluminum casement window with special heavy duty profile of 6mm thick glazing divided into panes with nominal transoms and mullions fixed in accordance with manufacturer's printed instruction to:
D | Overall size 2400 x 1800mm high | 4 | Nr |  | 0
E | Overall size 2000 x 5900mm high | 1 | Nr |  | 0
F | Overall size 2000 x 2200mm high | 18 | Nr |  | 0
G | Overall size 1800 x 1200mm high | 7 | Nr |  | 0
H | Overall size 1500 x 2200mm high | 82 | Nr |  | 0
J | Overall size 1200 x 2400mm high | 64 | Nr |  | 0
K | Overall size 600 x 1300mm high | 158 | Nr |  | 0
Maintenance works
Refurbish, clean and making good existing louver windows changing all damaged glasses/ accessories
L | Overall size 1000 x 600mm high (4 Panes) | 32 | Nr |  | 0
Protection
K | Protect all works in this element |  | item
ELEMENT NR.9
| WINDOWS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR. 10
FITTINGS AND FIXTURES
Kitchen Cabinet
Kitchen Cabinet complete with door, partitions, ironmongery and finished in veneer (ARTCO INDUSTRIES LTD)
A | Base cabinet unit 600 x 900mm high | 20 | m |  | 0
B | Upper cabinet unit 600 x 900mm high | 20 | m |  | 0
C | 20mm thick marble worktop | 16 | m2 |  | 0
Kitchen table
D | Kitchen table overall size 2800x800mm | 1 | Nr |  | 0
Pantry (New Structure)
E | Base cabinet unit 600 x 900mm high | 5 | m |  | 0
F | Upper cabinet unit 600 x 900mm high | 5 | m |  | 0
G | 20mm thick marble worktop | 4 | m2 |  | 0
Storage Cabinet
H | Storage Cabinet | 26 | m |  | 0
Kitchen equipment
J | Allow for providing industrial kitchen equipment | 1 | item |  | 0
Reception Counter
K | Allow for providing Bar Counter constructed mainly of hard wood with 3 layers and polished on completion. The counter is L - shaped on plan (L= 6000mm,H= 1200mm) | 3 | Nr |  | 0
Protection
L | Protect all works in this element |  | item
ELEMENT NR.10
| FITTINGS AND FIXTURES |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.11
PLUMBING INSTALLATIONS
SANITARY APPLIANCES / FITTINGS (IDEAL STANDARD/ERGO OR OTHER APPROVED)
Water Closet
A | Water closet with close couple Mania Vitreous China cistern horizontal outlet, trap connection and concealed fittings with Gemini seat and cover, 6 liters capacity flushing cistern for side supply and overflow with free flow plastic siphon fittings and 13mm micro valve HP/LP side supply ball valve, 19mm side overflow plastic flush bend, simplex inlet connector and supports. Incl.New Structure | 130 | Nr |  | 0
Wash Hand Basin
B | Wash hand basin in vitreous China with wall brackets in cast iron provided with concealed screw holes for screwing to wall through the back. Shall be complete with 13mm cold water pillar tap on 32mm bead chain waste and plug, 32mm plastic resealing bottle trap with 75mm water seal size 560 x 410mm | 129 | Nr |  | 0
Shower Tray
C | Shower Tray complete with all necessary accessories and taps/mixers Incl.New Structure | 106 | Nr |  | 0
Kitchen sink
D | Kitchen sink double drain, double bowl complete with all necessary accessories and mixer/taps (GRANITEX) | 1 | Nr |  | 0
E | Kitchen sink single drain, single bowl complete with all necessary accessories and mixer/taps New Structure | 1 | Nr |  | 0
Laundry Basin
F | Laundry Basin complete with all necessary accessories and taps (New Structure) | 4 | Nr |  | 0
Water heater
G | Supply and install 20L water heater including all necessary accessories | 106 | Nr |  | 0
Towel Holder
H | Towel holder complete with all necessary accessories | 106 | Nr |  | 0
Soap Holder
J | Soap Holder complete with all necessary accessories | 106 | Nr |  | 0
Glass Holder
K | Glass Holder complete with all necessary accessories | 106 | Nr |  | 0
Toilet Mirror
L | Plate plain glass type toilet mirror size 460mm wide x 610mm high | 129 | Nr |  | 0
Extractor & fresh Air Fans
M | Supply and install 70m3/Hr. WC Extractor fans, low noise level including all necessary accessories | 127 | Nr |  | 0
N | Supply and install 150m3/Hr KITCHEN Extractor fans, low noise level including all necessary accessories | 2 | Nr |  | 0
| To collection |  |  |  | 0
Floor drain
A | Supply and install floor drain including all necessary accessories | 129 | Nr |  | 0
PLUMBING INSTALLATIONS (First Fix)
Pipe works and fittings
B | Allow Provisional sum for plumbing water supply, waste and soil Upvc pipe works and pipe fittings as first fix to be expended as directed. | 1 | sum |  | 0
Fire Fighting Installations
C | Fire Hose cabinet | 8 | Nr |  | 0
9kg ABC type powder/carbon dioxide all purpose rechargeable
D | wall mounted fire extinguisher complete with mounting brackets | 16 | Nr |  | 0
E | Allow Provisional sum for fire fighting pipe works of 15mm - 75mm replacing & making good, change where necessary including 60nr.splinklers to be expended as directed. | 1 | sum |  | 0
Manholes/Inspection chambers
Manhole size 600x450x450mm deep average internally
constructed of 150mm plain in-situ concrete grade15, 150mm
hollow sandcrete block work sides filled solid with plain
concrete and capped with 75mm thick precast concrete grade
20 cover slab reinforced with single layer BRC No. 65 mesh
and with 75mm (average) concrete grade 15 benching and
forming 150mm diameter half round diameter in the same and
rendering insides in water proof cement and sand (1:3) mortar
F | including all necessary excavations, disposal and formwork | 85 | Nr |  | 0
Water Supply/Distribution System
G | Allow sum for Functional Tanks, Borehole, Water Treatment Plants to be expended as directed. | 1 | item |  | 0
Builder's Work
H | Allow a provisional sum for builder's work in connection with plumbing installations | 1 | sum |  | 0
Testing
I | Allow a provisional sum for testing of plumbing installations | 1 | sum |  | 0
Medical Gas Piping
J | Allow a provisional sum for medical gas piping installations | 1 | sum |  | 0
Protection
K | Protect all works in this element |  | item
| To collection |  |  |  | 0
COLLECTION
| Page 16 |  |  |  | 0
| Page 17 |  |  |  | 0
ELEMENT NR.11
| PLUMBING INSTALLATIONS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.12
AIR CONDITIONING INSTALLATIONS
SPLIT-SYSTEM AIR-CONDITIONING UNITS
The unit shall be factory assembled and shall include high and low pressure switch, filter drier, time delay control, overload protection relay. The Split unit shall be insulated and sloped drain pan, complete with the supply and installation of control a Refrigerant copper pipes to be complete with pipe fittings, traps, hangers, sight glass and all necessary accessories insulated with 12 mm “Arm flex” or equivalent.
Split Unit Type (TOSHIBA or equal)
A | Wall mounted split unit,24000 BTU/10.6.0KW (2.5HP) | 15 | Nr |  | 0
B | Wall mounted split unit,18000 BTU/8.8KW (2.0HP)Incl.New Structure | 21 | Nr |  | 0
C | Wall mounted split unit,12000 BTU/5.3KW (1.5HP)Incl.New Structure | 91 | Nr |  | 0
D | Wall mounted split unit,9000 BTU/3.5KW (1.0HP) | 52 | Nr |  | 0
CONDENSATE DRAIN PIPE:
E | Supply and installation of P-trap for each AC indoor unit with clean out with 32 diameter PVC | 179 | Nr |  | 0
F | Supply and installation of refrigerant copper pipes insulated with 12mm “Armaflex” or equivalent | 1 | sum |  | 0
TESTING AND MISCELLANEOUS.
G | Allow a sum for Shop Drawings for equipment rooms with all details sections and levels of all ducts | 1 | sum |  | 0
H | Testing and commissioning compete with catalogues, operation and maintenance manuals | 1 | sum |  | 0
Protection
I | Protect all works in this element
ELEMENT NR.12
| AIR CONDITIONING INSTALLATIONS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.13
ELECTRICAL INSTALLATIONS
MAIN CONNECTIONS
Supply and fix the following obtainable from MANE LTD conforming to Engineers specifications:
A | MDB PANEL | 1 | Nr |  | 0
CABLING AND CONDUITS IN FINAL CIRCUITS, RADIAL LIGHTING SUB-CIRCUITS
Copper PVC insulated and colour coded cables drawn into 20mm diameter concealed PVC conduits (rates to include for all cables for lighting points, switches, and other accessories; including conduit, trucking ducting and fittings) necessary for complete
B | Lighting points,2.5mm2 cable | 1728 | Nr |  | 0
C | Single 20A switched socket outlet points for A/C,4.00mm2 cable | 179 | Nr |  | 0
D | Water heater socket outlet point | 106 | Nr |  | 0
E | 13A single-gang Flushed switch socket outlet points | 122 | Nr |  | 0
F | 13A twin-gang Flushed switch socket outlet points | 122 | Nr |  | 0
G | Data socket outlet point | 182 | Nr |  | 0
H | Isolated single coaxial TV outlet point | 184 | Nr |  | 0
J | Telephone socket outlet point (RJ 45 CAT 6) | 184 | Nr |  | 0
K | Extractor fan socket outlet point | 129 | Nr |  | 0
L | Cooker unit socket outlet point | 2 | Nr |  | 0
Switches and Socket Outlet
M | Wall mounted 1 gang,1 way switch | 258 | Nr |  | 0
N | Wall mounted 1 gang,2 way switch | 208 | Nr |  | 0
P | Wall mounted 3 gang,1 way switch | 60 | Nr |  | 0
Q | 20A A/C Switch socket outlet | 179 | Nr |  | 0
R | Water heater switch socket outlet | 106 | Nr |  | 0
| To collection |  |  |  | 0
A | 13A single-gang switch socket outlet | 122 | Nr |  | 0
B | 13A twin-gang switch socket outlet | 122 | Nr |  | 0
C | Data switch socket outlet | 182 | Nr |  | 0
D | TV switch socket outlet | 184 | Nr |  | 0
E | Telephone switch socket outlet | 184 | Nr |  | 0
F | Extractor fan socket outlet | 129 | Nr |  | 0
G | Cooker unit switch socket outlet | 2 | Nr |  | 0
DISTRIBUTION BOARDS AND CONTROLS
H | 100Amp 8-ways TP&N distribution board | 4 | Nr |  | 0
J | 100A TP&N ELCB | 4 | Nr |  | 0
K | TV/Telephone panels (PABX) | 1 | item |  | 0
LIGHTING FIXTURES
Supply and fix the following or other equal and approved to engineers specification
L | 600 x 600mm,50W LED Modular lighting fittings | 502 | Nr |  | 0
M | 30W LED Ceiling light fitting | 550 | Nr |  | 0
N | 18W LED Ceiling light fitting - Incl. New Structure | 135 | Nr |  | 0
P | 12W LED Ceiling light fitting - Incl.New Structure | 330 | Nr |  | 0
Q | Emergency light fitting | 40 | Nr |  | 0
R | 50W external lighting fittings (Security) | 51 | Nr |  | 0
S | 200W projector lighting fittings | 11 | Nr |  | 0
T | Ceiling Fan with Regulator | 113 | Nr |  | 0
Detection Alarm System
U | Fire alarm system wiring points - Incl.New Structure | 228 | Nr |  | 0
Analogue Addressable ionization smoke Detector complete with terminal plates and replacement chambers for cost effective maintenance, with remote LED facility.
V | Gent or Approved Equal | 192 | Nr |  | 0
Manual Call Point complete with back box and other mounting accessories.
W | Gent or Approved Equal- Incl.New Structure | 13 | Nr |  | 0
24DC 104dBA at 1m Electronic Sounder.
X | Gent or Approved Equal- Incl.New Structure | 13 | Nr |  | 0
2 - loop analogue, fire alarm control
Y | Gent or Approved Equal- Incl.New Structure | 13 | Nr |  | 0
| To collection |  |  |  | 0
MAIN Fire Alarm Panel
EN 54 Gent Vigilant Fire Alarm Mimic Panel with graphical LCD display and Processor Unit with Integral Power Supply Unit and Battery Box for dry cell rechargeable 1 x 12V, 6AH battery and charger for 72 hours battery standby.
A | Gent MIM-A4 or Approved equal | 1 | Nr |  | 0
4 Loop Addressable Fire Detection and Alarm System Loop Control Panel and Processor Unit with Integral Power Supply Unit and Battery Box for dry cell rechargeable battery and charger for 72 hours battery standby.
B | Gent Vigil on or Approved equal | 1 | Nr |  | 0
CCTV Installations
C | Allow for Closed circuit Television with video storage system comprising of 12 camera system switcher with adjustable globe dwell (24H TIME,2NOS 15" COLOUR MONITOR,24V DC SUPPLY FOR THE CAMERA) | 1 | sum |  | 0
Earthling/Thunder Arrestor
Earthling
D | Supply and install earthling system comprising of 1x70mm2 bare copper stranded conductor, 4nr earth pit including earth bar with disconnect links. | 1 | sum |  | 0
Thunder Arrestor
E | Supply and install preventron (TS6.60)mounted with brackets on 6m elevation point including 3mmx25mm copper tape rising to joint lighting preventron | 1 | Nr |  | 0
External Electrification
F | Allow sum for Functional Generators,Stabilizers,ATS,Supply cables, Exterior lighting fittings to be expended as directed | 1 | item |  | 0
Builder's work
G | Allow a provisional sum for builder's work in connection with electrical installations | 1 | sum |  | 0
Testing
H | Allow a provisional sum for testing in connection with electrical installations | 1 | sum |  | 0
Miscellaneous works
J | Making good/Builder's works of existing Electrical works to be executed in this contract | 1 | Lot |  | 0
Protection
K | Protect all works in this element |  | item
| To collection |  |  |  | 0
COLLECTION
| Page 19 |  |  |  | 0
| Page 20 |  |  |  | 0
| Page 21 |  |  |  | 0
ELEMENT NR.13
| ELECTRICAL INSTALLATIONS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.14
LIFT INSTALLTIONS
"Mitsubishi" or other approved passenger lift comprising of single speed A/C with microprocessor motor control, power operated centre opening stainless steel doors, governor operated gradual safety gear, spring terminal buffers including direction and position indicators, overload safety device, illuminating car button, express call button, hall position indicators on floors, emergency power supply and other accessories as specified complete with axial cooling fans, intercom system and UPS
A | 8 passengers (900Kg) lift with a speed of 1.00m/sec. travelling from Ground floor to 1st floor (2stops,2openings) size 2400mm x 2000mm | 2 | Nr |  | 0
B | Ditto; size 2000mm x 1200mm | 1 | Nr |  | 0
C | 30KVA/APC | 3 | Nr |  | 0
Builder's Work
D | Allow a provisional sum for builder's work in connection with lift Installations | 1 | Lot |  | 0
Testing
E | Allow a provisional sum for testing of lift installations | 1 | sum |  | 0
Sundries
F | Allow for the provision of detailed manufacturer's catalogues and specifications, tests, as built drawings and other technical details associated with lift works | 1 | item |  | 0
Protection
G | Protect all works in this element |  | item
ELEMENT NR.14
LIFT INSTALLATIONS
| CARRIED TO BILL NR.2 SUMMARY |  |  |  | 0
ELEMENT NR.15
WALL FINISHINGS
Internal
Rendering
A | 15mm cement and sand (1:4) smooth material rendering on walls | 7631 | m2 |  | 0
B | Ditto; surface not exceeding 300mm wide | 825 | m |  | 0
Ceramic Wall Tilling
C | 300 x 300 x 6mm coloured approved quality cushioned edge tilling bedded in cement mortar on screeded backing (measured separately) and pointed in coloured cement (toilets/kitchen) | 3108 | m2 |  | 0
D | Ditto; not exceeding 300mm wide | 932.4 | m |  | 0
E | Plastic edge trims to ceramic wall tiles | 310.8 | m |  | 0
Backings
F | 12mm cement and sand screeded backing | 3108 | m2 |  | 0
G | Ditto; not exceeding 300mm wide | 932.4 | m |  | 0
External
In-situ finishing wall
H | on walls | 1393 | m2 |  | 0
J | Ditto; surface not exceeding 300mm wide | 418 | m |  | 0
Protection
K | Protect all works in this element |  | item
ELEMENT NR.15
| WALL FINISHINGS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.16
FLOOR FINISHINGS
Internal
500 x 500 x 8mm thick Quality ceramic vitrified floor tile laid with adhesive on screeded bed (measured separately)
A | Floors (offices, wards & others) | 9613 | m2 |  | 0
B | Floors (accommodation,lounge,lobby,seminars & others) | 689 | m2 |  | 0
C | Ditto; but 80mm skirting | 9177 | m |  | 0
300 x 600 x 8mm thick Quality unglazed vitrified floor tile laid with adhesive on screeded bed (measured separately)
D | Floors (toilets & kitchen) | 508 | m2 |  | 0
Cement and Sand (1:3) bed
E | 42mm cement and sand screeded bed to receive vitrified floor tiles | 10810 | m2 |  | 0
F | 15mm screeded backing to skirting | 9177 | m |  | 0
Water proofing
Prepare surface, supply and apply primer and single compo-
nent, unmodified polyurethane waterproofing; include reinfor-
cing the system at corners; include all necessary material and
accessories; as per the specifications and drawings
G | Waterproofing to wet areas (toilets ) | 486 | m2 |  | 0
H | Ditto; but as skirting | 1016 | m |  | 0
Protection
J | Protect all works in this element |  | item
ELEMENT NR.16
| FLOOR FINISHINGS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.17
CEILING FINISHINGS
Ceiling covering
A | 600x600mm aluminium perforated suspended ceiling boards fixed to steel hanger including all necessary accessories (offices/wards/accomodatiion/louge/labs/toilets/kitchen) | 10810 | m2 |  | 0
Protection
B | Protect all works in this element |  | item
ELEMENT NR.17
| CEILING FINISHINGS |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
ELEMENT NR.18
PAINTING AND DECORATING
On wall Internally
A | Plaster of Paris screeding well sanded on rendered surface to receive emulsion paint | 19550 | m2 |  | 0
B | Prepare and apply one mist coat and two full coats of emulsion paint on walls | 19550 | m2 |  | 0
C | Ditto; surface not exceeding 300mm wide | 5843 | m |  | 0
External
Prepare and apply texture paint on:
D | Walls | 5023 | m2 |  | 0
E | Walls not exceeding 300mm girth | 1485 | m |  | 0
Protection
F | Protect all works in this element |  | item
ELEMENT NR.18
| PAINTING AND DECORATING |  |  |  | 0
CARRIED TO BILL NR.2 SUMMARY
BILL NR.2: REMODELING/REFURBISHMENT WORKS OF HOSPITAL/ INCINERATOR BUILDING
SUMMARY
| ELEMENT NR.1: DEMOLITION AND ALTERATION WORKS |  |  |  | 0
| ELEMENT NR.2: SUBSTRUCTURE (WORKS UP TO AND INCLUDING GROUND FLOOR SLAB) |  |  |  | 0
| ELEMENT NR.3:FRAME STRUCTURE |  |  |  | 0
| ELEMENT NR.4:EXTERNAL AND INTERNAL WALLS |  |  |  | 0
| ELEMENT NR.5: STAIRCASES |  |  |  | 0
| ELEMENT NR.6:UPPER FLOORS |  |  |  | 0
| ELEMENT NR.7: ROOF CONSTRUCTION & COVERING |  |  |  | 0
| ELEMENT NR.8: DOORS |  |  |  | 0
| ELEMENT NR.9: WINDOWS |  |  |  | 0
| ELEMENT NR.10: FITTINGS AND FIXTURES |  |  |  | 0
| ELEMENT NR.11: PLUMBING INSTALLATIONS |  |  |  | 0
| ELEMENT NR.12: AIR CONDITIONING INSTALLATIONS |  |  |  | 0
| ELEMENT NR.13: ELECTRICAL INSTALLATIONS |  |  |  | 0
| ELEMENT NR. 14: LIFT INSTALLATIONS |  |  |  | 0
| ELEMENT NR.15: WALL FINISHINGS |  |  |  | 0
| ELEMENT NR.16: FLOOR FINISHINGS |  |  |  | 0
| ELEMENT NR.17: CEILING FINISHINGS |  |  |  | 0
| ELEMENT NR.18: PAINTING AND DECORATING |  |  |  | 0
BILL NR.2
| REMODELING/REFURBISHMENT WORKS OF HOSPITAL BUILDING |  |  |  | 0
CARRIED TO GENERAL SUMMARY

## General Summary
PROPOSED REMODELING/REFURBISHMENT WORKS OF STELLA OBASANJO HOSPITAL (IN PATIENT DEPARTMENT) BUILDING AT BENIN-CITY , EDO STATE FOR EDO STATE GOVERNMENT OF NIGERIA.
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
GENERAL SUMMARY
A | DESIGN FEES (1% OF C) |  |  | 1% | 0
B | BILL NR 1: PRELIMINARIES AND GENERAL ITEMS |  |  |  | 0
C | BILL NR 2: REMODELING/REFURBISHMENT WORKS OF HOSPITAL BUILDING |  |  |  | 0
D | BILL NR 3: EXTERNAL WORKS |  |  |  | NOT APPLICABLE
| SUB-TOTAL 1 |  |  |  | 0
F | WHT (5%), DEVELOPMENT LEVIES (3%),LEGAL FEES (1%) STAMP DUTY (2%) ACCOUNTED FOR WITHIN THE PRICES |  |  | 11% | INCLUDED
| SUB-TOTAL 2 |  |  |  | 0
G | ALLOW A PROVISIONAL SUM OF 5% OF SUB-TOTAL 2 FOR CONTINGENCIES TO BE EXPENDED AS DIRECTED BY THE CLIENT |  |  | 5% | 0
| SUB-TOTAL 3 |  |  |  | 0
G | ADD: VALUE ADDED TAX |  |  | 7.5% | 0
| ESTIMATED TOTAL COST |  |  |  | 0
P.S: | ONLY ABOVE-MENTIONED TAXES ARE CONSIDERED (ITEMS E & F), ANY OTHER FEES OR TAXES NOT MENTIONED IN THE B.O.Q ARE NOT ACCOUNTED FOR AND TO BE ADDED TO THE GENERAL TOTAL
CONSIDERING THE SHORT PERIOD OF EXECUTION AND THE UNSTABLE MARKET PRICES AND IN ORDER TO ENABLE THE CONTRACTOR FIXING THE CONTRACT PRICE, AN ADVANCE PAYMENT OF ….% IS TO BE CONSIDERED
Our Completion Period: () weeks Of Site Possession, Advance Payment reception and Permanent Access whichever occurs latest
Quantities are provisional and to be re-measured.
Signature of Employer……………………………………… Date:…………………………………….
Signature of Contractor………………………………..…… Date:…………………………………….
E
F
G |  | 9
H |  | 26
J |  | 26
K
L |  | 122
M |  | 122
N |  | 122
A |  | 122 |  | 8000
B |  | 122
C |  | 120
D | Supply and install 150m3/Hr KITCHEN Extractor fans, low noise level including all necessary accessories | 1 | Nr | 350000 | #REF!
E |  | 150
F |  |  |  | 30500000
G |  | 8
H |  | 16
J |  |  |  | 5000000
K |  | 26
L |  |  |  | 3000000
M |  |  |  | 2000000
N
60
32
54
5840000
1000000
500000