## Sheet1
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Item No . | Description Of Item | Brand | Unit Of Supply | Qty | Unit price (N) | Total price EXW | Extra Price to deliver | Total price (N) | VAT and other taxes payable if contract is awarded | Point of Delivery | Delivery Period Offered
|  |  |  | Of units | 5: EXW; 7: Goods to final destination; 8: Delivered
|  |  |  | Required | 6: (col. 4 ´ 5); 8: (col. 6 +7)
[5 empty] | Note 1 / Note 2 |  | Note 3 |  | Note 4
S/N
LOT No. 4: BILLS OF QUANTITIES FOR PROCUREMENT LABORATORY IVF EQUIPMENT LOT 5. AT EDO STATE MINISTRY OF HEALTH
L.101.03.06 | ANALYZER - BLOOD GAS WITH ELECTROLYTES STAT FOR ICU | Abbott | 1 | 2 | 9360000 | 18720000 | 0 | 18720000 |  | EOMH | 8-12 weeks
L.110.51.53 | MICROPIPETTE (A)- Manual- SET 4 Sizes |  | 1 | 2 | 491400 | 982800 | 0 | 982800 |  | EOMH | 8-12 weeks
L.110.54.12 | DEIONIZER |  | 1 | 1 | 7560000 | 7560000 | 0 | 7560000 |  | EOMH | 8-12 weeks
L.112.57.64 | VORTEX MIXER |  | 1 | 2 | 386400 | 772800 | 0 | 1159200 |  | EOMH | 8-12 weeks
L.161.54.100 | DIGITAL COUNTER FOR BLOOD CELL DIFFERENTIAL |  | 1 | 1 | 420000 | 420000 | 0 | 420000 |  | EOMH | 8-12 weeks
L.161.54.101 | CYTOCENTRIFUGE |  | 1 | 2 | 10016370 | 20032740 | 0 | 20032740 |  | EOMH | 8-12 weeks
L.161.54.103 | DILUTER / DISPENSER - MANUAL (SET OF 2) |  | 1 | 2 | 655200 | 1310400 | 0 | 1310400 |  | EOMH | 8-12 weeks
L.161.54.105 | DISTILLING APPARATUS - 8 L/H |  | 1 | 1 | 188370 | 188370 | 0 | 188370 |  | EOMH | 8-12 weeks
L.161.54.106 | DRYING CABINET - LABORATORY GLASSWARE |  | 1 | 1 | 1848000 | 1848000 | 0 | 1848000 |  | EOMH | 8-12 weeks
L.161.54.107 | ELECTROPHORESIS UNIT - WITH DENSITOMETER |  | 1 | 1 | 4160520 | 4160520 | 0 | 4160520 |  | EOMH | 8-12 weeks
L.161.54.108 | EMBEDDING ACCESSORIES - TISSUE - SET |  | 1 | 1 | 1638000 | 1638000 | 0 | 1638000 |  | EOMH | 8-12 weeks
L.161.54.109 | EMBEDDING CENTER - TISSUE |  | 1 | 1 | 11355120 | 11355120 | 0 | 11355120 |  | EOMH | 8-12 weeks
L.161.54.110 | EMERGENCY SHOWER AND EYE WASH |  | 1 | 1 | 302400 | 302400 | 0 | 302400 |  | EOMH | 8-12 weeks
L.161.54.111 | EXTRACTOR - BLOOD COMPONENTS |  | 1 | 1 | 294840 | 294840 | 0 | 294840 |  | EOMH | 8-12 weeks
L.161.54.112 | FREEZER 100 L |  | 1 | 1 | 173040 | 173040 | 0 | 173040 |  | EOMH | 8-12 weeks
L.161.54.113 | FREEZER - BLOOD PLASMA |  | 1 | 1 | 2721600 | 2721600 | 0 | 2721600 |  | EOMH | 8-12 weeks
L.161.54.114 | FUME HOOD |  | 1 | 1 | 5670000 | 5670000 | 0 | 5670000 |  | EOMH | 8-12 weeks
L.161.54.116 | INCINERATOR SMALL |  | 1 | 1 | 7560000 | 7560000 | 0 | 7560000 |  | EOMH | 8-12 weeks
L.161.54.117 | JAR - ANAEROBIC |  | 1 | 2 | 491400 | 982800 | 0 | 982800 |  | EOMH | 8-12 weeks
L.161.54.118 | LABELLING MACHINE |  | 1 | 1 | 24570000 | 24570000 | 0 | 24570000 |  | EOMH | 8-12 weeks
L.161.54.120 | MANUAL SLIDE STAINING SET |  | 1 | 1 | 302400 | 302400 | 0 | 302400 |  | EOMH | 8-12 weeks
L.161.54.121 | HAEMOGLOBIN METER - MICRO-CUVETTE |  | 1 | 1 | 504000 | 504000 | 0 | 504000 |  | EOMH | 8-12 weeks
L.161.54.122 | MICROSCOPE - Trinocular with Camera |  | 1 | 1 | 4422600 | 4422600 | 0 | 4422600 |  | EOMH | 8-12 weeks
L.161.54.123 | MICROSCOPE - BINOCULAR - LED |  | 1 | 3 | 982800 | 2948400 | 0 | 2948400 |  | EOMH | 8-12 weeks
L.161.54.124 | MICROSCOPE - FLUORESCENT |  | 1 | 1 | 2643732 | 2643732 | 0 | 5287464 |  | EOMH | 8-12 weeks
L.161.54.125 | MICROTOME |  | 1 | 1 | 11157300 | 11157300 | 0 | 11157300 |  | EOMH | 8-12 weeks
L.161.54.127 | ORGANIZER - SLIDES |  | 1 | 1 | 1638000 | 1638000 | 0 | 1638000 |  | EOMH | 8-12 weeks
L.161.54.128 | OVEN - UNIVERSAL |  | 1 | 1 | 1228500 | 1228500 | 0 | 1228500 |  | EOMH | 8-12 weeks
L.161.54.129 | Real Tme PCR 96 well, 5 detection channel |  | 1 | 1 | 20160000 | 20160000 | 0 | 20160000 |  | EOMH | 8-12 weeks
L.161.54.130 | PCR THERMOCYCLER |  | 1 | 1 | 4914000 | 4914000 | 0 | 4914000 |  | EOMH | 8-12 weeks
L.161.54.131 | PIPETTE (B) - MANUAL - SET 4 SIZES |  | 1 | 3 | 199836 | 599508 | 0 | 599508 |  | EOMH | 8-12 weeks
L.161.54.132 | PLATE - BLOOD TYPING/GROUPING |  | 1 | 1 | 84000 | 84000 | 0 | 84000 |  | EOMH | 8-12 weeks
L.161.54.133 | PLATELET AGGREGATION ANALYZER |  | 1 | 1 | 50400000 | 50400000 | 0 | 50400000 |  | EOMH | 8-12 weeks
L.161.54.134 | REFRIGERATOR 500 L |  | 1 | 7 | 924000 | 6468000 | 0 | 6468000 |  | EOMH | 8-12 weeks
L.161.54.135 | REFRIGERATOR - LABORATORY |  | 1 | 1 | 1092000 | 1092000 | 0 | 2184000 |  | EOMH | 8-12 weeks
L.161.54.136 | REFRIGERATOR/FREEZER - LABORATORY |  | 1 | 2 | 1092000 | 2184000 | 0 | 2184000 |  | EOMH | 8-12 weeks
L.161.54.138 | ROLLER/MIXER - TEST TUBES |  | 1 | 1 | 302400 | 302400 | 0 | 302400 |  | EOMH | 8-12 weeks
L.161.54.139 | ESR MANUAL ‐WESTERGREN |  | 1 | 2 | 75600 | 151200 | 0 | 151200 |  | EOMH | 8-12 weeks
L.161.54.140 | SET - BLOOD BAG MIXING/EXTRACTING/SEALING/SCALING |  | 1 | 1 | 2620800 | 2620800 | 0 | 2620800 |  | EOMH | 8-12 weeks
L.161.54.141 | SET - GLASSWARE - LABORATORY |  | 1 | 2 | 168000 | 336000 | 0 | 336000 |  | EOMH | 8-12 weeks
L.161.54.142 | SET - RACKS - TEST TUBES |  | 1 | 3 | 42000 | 126000 | 0 | 126000 |  | EOMH | 8-12 weeks
L.161.54.143 | SHAKER - WITH ACCESSORIES |  | 1 | 2 | 1146600 | 2293200 | 0 | 2293200 |  | EOMH | 8-12 weeks
L.161.54.144 | SHARPS CONTAINER 4 L |  | 1 | 5 | 25200 | 126000 | 0 | 176400 |  | EOMH | 8-12 weeks
L.161.54.147 | SMALL CENTRIFUGE FOR URINE |  | 1 | 1 | 655200 | 655200 | 0 | 655200 |  | EOMH | 8-12 weeks
L.161.54.148 | SPECTROPHOTOMETER - UV/VIS SCANNING |  | 1 | 1 | 7560000 | 7560000 | 0 | 7560000 |  | EOMH | 8-12 weeks
L.161.54.149 | STAINING REAGENTS FOR HAEMATOLOGY SLDES |  | 1 | 1 | 42000 | 42000 | 0 | 42000 |  | EOMH | 8-12 weeks
L.161.54.150 | STAINING REAGENTS SET- TISSUE SLIDES |  | 1 | 1 | 819000 | 819000 | 0 | 819000 |  | EOMH | 8-12 weeks
L.161.54.151 | STIRRER - HOTPLATE - ELECTRIC |  | 1 | 1 | 491400 | 491400 | 0 | 491400 |  | EOMH | 8-12 weeks
L.161.54.152 | STOOL |  | 1 | 17 | 75600 | 1285200 | 0 | 1814400 |  | EOMH | 8-12 weeks
L.161.54.153 | HOT PLATE- SMALL |  | 1 | 1 | 655200 | 655200 | 0 | 655200 |  | EOMH | 8-12 weeks
L.161.54.154 | THAWER - PLASMA |  | 1 | 1 | 3855600 | 3855600 | 0 | 3855600 |  | EOMH | 8-12 weeks
L.161.54.155 | TIMER - INTERVAL |  | 1 | 5 | 42000 | 210000 | 0 | 210000 |  | EOMH | 8-12 weeks
L.161.54.156 | TROLLEY - BLOOD COLLECTION |  | 1 | 1 | 1596000 | 1596000 | 0 | 1596000 |  | EOMH | 8-12 weeks
L.161.54.157 | TROLLEY - LABORATORY |  | 1 | 1 | 588000 | 588000 | 0 | 1176000 |  | EOMH | 8-12 weeks
L.161.54.158 | VIEWER AGGLUTINATION |  | 1 | 1 | 655200 | 655200 | 0 | 655200 |  | EOMH | 8-12 weeks
L.161.54.160 | WASHER/DISINFECTOR - GLASSWARE - LABORATORY - MEDIUM |  | 1 | 1 | 8190000 | 8190000 | 0 | 8190000 |  | EOMH | 8-12 weeks
L.161.54.161 | WASTE CAN - 20-31 GALLONS |  | 1 | 5 | 75600 | 378000 | 0 | 378000 |  | EOMH | 8-12 weeks
L.161.54.162 | WASTE CAN - BIO-HAZARDOUS |  | 1 | 5 | 92400 | 462000 | 0 | 831600 |  | EOMH | 8-12 weeks
L.161.54.165 | WELDER - STERILE TUBING |  | 1 | 1 | 500000 | 500000 | 0 | 500000 |  | EOMH | 8-12 weeks
L.161.54.166 | INCUBATOR - 80 L |  | 1 | 1 | 907200 | 907200 | 0 | 907200 |  | EOMH | 8-12 weeks
L.161.54.167 | INCUBATOR - GENERAL PURPOSE - 100 L |  | 1 | 1 | 1043280 | 1043280 | 0 | 1043280 |  | EOMH | 8-12 weeks
L.161.54.172 | DIGITAL THERMOMETHER |  | 1 | 3 | 27000 | 81000 | 0 | 81000 |  | EOMH | 8-12 weeks
L.161.54.173 | CENTRIFUGE - TABLETOP |  | 1 | 0 | 810000 | 0 | 0 | 1620000 |  | EOMH | 8-12 weeks
L.161.54.174 | DRY BATH - INCUBATORS |  | 1 | 0 | 907200 | 0 | 0 | 1814400 |  | EOMH | 8-12 weeks
L.161.54.175 | ANALYZER - SPERM COUNTING - ELECTRONIC |  | 1 | 1 | 11340000 | 11340000 | 0 | 11340000 |  | EOMH | 8-12 weeks
L.161.54.176 | MICROSCOPE - LABORATORY |  | 1 | 0 | 1134000 | 0 | 0 | 2268000 |  | EOMH | 8-12 weeks
L.161.54.177 | MICROSCOPE - STEREODISSECTING WITH HEATING EQUIPMENT |  | 1 | 1 | 4500000 | 4500000 | 0 | 4500000 |  | EOMH | 8-12 weeks
L.161.54.178 | CONTAINERS - LIQUID NITROGEN |  | 1 | 3 | 6500000 | 19500000 | 0 | 19500000 |  | EOMH | 8-12 weeks
L.161.54.179 | WORKSTATION - IVF |  | 1 | 0 | 24000000 | 0 | 0 | 48000000 |  | EOMH | 8-12 weeks
L.161.54.180 | TABLE - ANTI-VIBRATION |  | 1 | 0 | 16800000 | 0 | 0 | 33600000 |  | EOMH | 8-12 weeks
L.161.54.181 | WARMER - SLIDE |  | 1 | 0 | 907200 | 0 | 0 | 1814400 |  | EOMH | 8-12 weeks
L.161.54.182 | MICRO-CENTRIFUGE - REFRIGERATED - TABLETOP |  | 1 | 0 | 6350400 | 0 | 0 | 6350400 |  | EOMH | 8-12 weeks
L.161.54.183 | INCUBATOR - CO2 - WATER JACKETED |  | 1 | 0 | 5292000 | 0 | 0 | 10584000 |  | EOMH | 8-12 weeks
L.161.54.184 | BATH - WATER |  | 1 | 0 | 771120 | 0 | 0 | 771120 |  | EOMH | 8-12 weeks
L.161.54.185 | WORKSTATION - EMBRYO MONITORING - CHAMBER |  | 1 | 0 | 1500000 | 0 | 0 | 1500000 |  | EOMH | 8-12 weeks
L.161.54.186 | KARYOTYPING / FISH - AUTOMATED - COMPLETE SYSTEM |  | 1 | 0 | 105840000 | 0 | 0 | 105840000 |  | EOMH | 8-12 weeks
L.161.54.187 | LIQUID NITROGEN FREEZER - CONTROLLED RATE - COMPUTERIZED |  | 1 | 0 | 27216000 | 0 | 0 | 27216000 |  | EOMH | 8-12 weeks
L.161.54.188 | MICROSCOPE - INVERTED - FOR ICSI APPLICATION |  | 1 | 0 | 22680000 | 0 | 0 | 22680000 |  | EOMH | 8-12 weeks
L.161.54.189 | CELL HARVESTOR |  | 1 | 0 | 5000000 | 0 | 0 | 5000000 |  | EOMH | 8-12 weeks
L.161.54.190 | TANK - LIQUID NITROGEN - 230L |  | 1 | 0 | 4000000 | 0 | 0 | 12000000 |  | EOMH | 8-12 weeks
L.161.54.60 | AGITATOR - PLATELET - WITH INCUBATOR |  | 1 | 1 | 2570400 | 2570400 | 0 | 2570400 |  | EOMH | 8-12 weeks
L.161.54.61 | ANALYSER LAB BLOOD CULTURE | Abbott | 1 | 1 | 21504000 | 21504000 | 0 | 21504000 |  | EOMH | 8-12 weeks
L.161.54.62 | ANALYSER LAB - MICROBIOLOGY & SENSIVITY |  | 1 | 1 | 19958400 | 19958400 | 0 | 19958400 |  | EOMH | 8-12 weeks
L.161.54.63 | ANALYSER - BLOOD GAS - ELECTROLYTE | Abbott | 1 | 2 | 10080000 | 20160000 | 0 | 20160000 |  | EOMH | 8-12 weeks
L.161.54.64 | ANALYSER - CLINICAL CHEMISTRY - AUTOMATED | Abbott | 1 | 1 | 77616000 | 77616000 | 0 | 77616000 |  | EOMH | 8-12 weeks
L.161.54.65 | ANALYSER - COAGULATION |  | 1 | 1 | 3276000 | 3276000 | 0 | 3276000 |  | EOMH | 8-12 weeks
L.161.54.66 | ANALYSER - ELISA - AUTOMATIC |  | 1 | 2 | 7560000 | 15120000 | 0 | 15120000 |  | EOMH | 8-12 weeks
L.161.54.67 | ANALYSER - HAEMATOLOGY - 22 PARAMETERS - 5-PART DIFF | ABBOTT | 1 | 1 | 18018000 | 18018000 | 0 | 18018000 |  | EOMH | 8-12 weeks
L.161.54.68 | ANALYSER - IMMUNOLOGY - AUTOMATED | ABBOTT | 1 | 1 | 64310400 | 64310400 | 0 | 64310400 |  | EOMH | 8-12 weeks
L.161.54.69 | ANALYSER - SEDIMENTATION ESR |  | 1 | 1 | 1638000 | 1638000 | 0 | 1638000 |  | EOMH | 8-12 weeks
L.161.54.70 | ANALYSER - URINE - AUTOMATED |  | 1 | 1 | 3276000 | 3276000 | 0 | 3276000 |  | EOMH | 8-12 weeks
L.161.54.71 | ANALYSERS - BLOOD TYPING |  | 1 | 1 | 49560000 | 49560000 | 0 | 49560000 |  | EOMH | 8-12 weeks
L.161.54.72 | ANALYZER - HAEMATOLGY - 18 PARAMETERS - 3-PART DIFF | ABBOTT | 1 | 1 | 16052400 | 16052400 | 0 | 16052400 |  | EOMH | 8-12 weeks
L.161.54.73 | APPARATUS - DISTILLING - WATER - 20 L/H |  | 1 | 1 | 907200 | 907200 | 0 | 907200 |  | EOMH | 8-12 weeks
L.161.54.74 | AUTOCLAVE - UNIVERSAL |  | 1 | 1 | 13440000 | 13440000 | 0 | 13440000 |  | EOMH | 8-12 weeks
L.161.54.75 | AUTOMATED TISSUE PROCESSOR |  | 1 | 1 | 24570000 | 24570000 | 0 | 24570000 |  | EOMH | 8-12 weeks
L.161.54.76 | PCR AUTOMATIC EXTRACTOR |  | 1 | 1 | 19320000 | 19320000 | 0 | 19320000 |  | EOMH | 8-12 weeks
L.161.54.77 | BALANCE - LAB |  | 1 | 1 | 398034 | 398034 | 0 | 398034 |  | EOMH | 8-12 weeks
L.161.54.78 | BALANCE - PRECISION |  | 1 | 5 | 398034 | 1990170 | 0 | 1990170 |  | EOMH | 8-12 weeks
L.161.54.79 | BATH WATER - SHAKING |  | 1 | 1 | 1156680 | 1156680 | 0 | 1156680 |  | EOMH | 8-12 weeks
L.161.54.80 | BATH - WATER - PRECISION - 14 L |  | 1 | 2 | 238140 | 476280 | 0 | 476280 |  | EOMH | 8-12 weeks
L.161.54.81 | BATH - WATER - TISSUE FLOATATION |  | 1 | 1 | 2072070 | 2072070 | 0 | 2072070 |  | EOMH | 8-12 weeks
L.161.54.82 | BLOOD BANK REFRIGERATOR |  | 1 | 2 | 2268000 | 4536000 | 0 | 4536000 |  | EOMH | 8-12 weeks
L.161.54.83 | BOX. RHESUS TYPING |  | 1 | 1 | 250000 | 250000 | 0 | 250000 |  | EOMH | 8-12 weeks
L.161.54.85 | PCR SAFETY CABINET PREPARATION |  | 1 | 1 | 2494800 | 2494800 | 0 | 2494800 |  | EOMH | 8-12 weeks
L.161.54.88 | SAFETY CABINET - CLASS II Type B2 |  | 1 | 2 | 9298800 | 18597600 | 0 | 18597600 |  | EOMH | 8-12 weeks
L.161.54.89 | PCR CENTRIFUGE |  | 1 | 1 | 4095000 | 4095000 | 0 | 4095000 |  | EOMH | 8-12 weeks
L.161.54.90 | CENTRIFUGE - BLOOD BANK |  | 1 | 1 | 10920000 | 10920000 | 0 | 10920000 |  | EOMH | 8-12 weeks
L.161.54.91 | CENTRIFUGE - BLOOD CELL WASHING |  | 1 | 2 | 22680000 | 45360000 | 0 | 45360000 |  | EOMH | 8-12 weeks
L.161.54.93 | CENTRIFUGE - GENERAL USE |  | 1 | 1 | 1428000 | 1428000 | 0 | 1428000 |  | EOMH | 8-12 weeks
L.161.54.94 | CENTRIFUGE - HAEMATOCRIT |  | 1 | 1 | 1428000 | 1428000 | 0 | 1428000 |  | EOMH | 8-12 weeks
L.161.54.95 | CENTRIFUGE - REFRIGERATED |  | 1 | 1 | 4095000 | 4095000 | 0 | 4095000 |  | EOMH | 8-12 weeks
L.161.54.98 | COLD PLATE |  | 1 | 1 | 1506960 | 1506960 | 0 | 1506960 |  | EOMH | 8-12 weeks
L.161.54.99 | NEUBAUER CELL |  | 1 | 1 | 58800 | 58800 | 0 | 58800 |  | EOMH | 8-12 weeks
LAB.001.063 | COLD ROOM/FREEZER - WALK-IN TYPE - 2M X 2M |  | 1 | 1 | 33600000 | 33600000 | 0 | 33600000 |  | EOMH | 8-12 weeks
LAB.001.066 | PATHOLOGY FRIDGE LARGE |  | 1 | 1 | 1428000 | 1428000 | 0 | 1428000 |  | EOMH | 8-12 weeks
LAB.064 | TROLLEY, BLOOD COLLECTION |  | 1 | 2 | 1428000 | 2856000 | 0 | 2856000 |  | EOMH | 8-12 weeks
| TOTAL |  |  |  | 6: 803323944; 8: 1090041596
1090041596