## SOH OPD Tags
SOH OPD MEDICAL EQUIPMENT/FURNITURE TAGGING
Tag No. | Equipment Description | Additional Comments | Brand name | Electrical Specifics | Procurement/ Delivery Schedule | Installation/ Commisioning Schedule | TANIT Comments for A&K
1 | ULTRA SLIM LIGHT BOX 41X36 CM |  | GF TENDERCARE | Equipment is Table top. Input Power Supply: 100-230V, 50-60Hz, 120VA | 2023-01-01 | 2023-02-15 | Pending From Supplier
2 | ECG - 12 CHANNEL - ON TROLLEY |  | GE Mac 2000 | Equipment is mounted on cart to a height of 200mm. Equipment uses AC/DC or Battery Operation. Input Power Supply: 100-240VAC, 47-63Hz, maximum 1.5A. Equipment is also LAN enabled. | 2023-01-01 | 2023-02-15 | Pending From Supplier
11 | PLETHYSMOGRAPH CABINET - COMPACT SIZE WITH CHAIR |  | nSpire | Input Power Supply: 100-240V ± 10%, 50/60 Hz. Box Dimension: 93*85*172cm Equipment requires external PC connection. | 2023-01-01 | 2023-02-15 | Pending From Supplier
15 | ELECTROSURGICAL UNIT 200 WATTS - ENT | On ENT Station | Inspital | Input Power Voltage: 100-240VAC, 50-60Hz Input Power: 750VA Maximum Output Power 200W | 2023-01-01 | 2023-02-15 | Pending From Supplier
18.2 | SCREENER - VISUAL FIELD COMPUTER BASED |  | LIGHT BOX | Equipment is Table top, LAN Connectivity enabled. Input Power Supply: 85 – 263 V AC, 50/60 Hz, 60 VA | 2023-01-01 | 2023-02-15 | Pending From Supplier
27 | PROJECTOR - VISUAL ACUITY |  | LIGHT BOX AUTOMATED ACUITY CHAT | Equipment is Table top, can also be mounted on wall. Input Power Supply: 115-230 VAC 50/60 Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
28 | AUTO REFRACTOMETER/KERATOMETER |  | REICHART | Equipment is Table top. Input Power Supply: 100-240V, 50/60Hz, 60VA | 2023-01-01 | 2023-02-15 | Pending From Supplier
28.1 | LENSOMETER - TABLETOP |  | LIGHT BOX | Equipment is Table top. Input Power Supply: 6VAC Adapter 220V | 2023-01-01 | 2023-02-15 | Pending From Supplier
29 | OPHTHALMOLOGY CHAIR - COMPLETE (RETINOSCOPE - SLIT LAMP - TONOMETER) |  | Light Box | Input Power Supply: 110-230V, 50/60Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
31 | BOOTH - AUDIOMETRY - COMPACT WITH VIEWPORT AND CHAIR - 1.2X1.2M |  | sibelmed | Input Power Supply: 220 V 50-60 Hz, 50W | 2023-01-01 | 2023-02-15 | Pending From Supplier
33 | ELECTROTHERAPY UNIT |  | Doctor life | Input Power Supply: 220 V 50-60 Hz, 50W | 2023-01-01 | 2023-02-15 | Pending From Supplier
33.1 | PRESSOTHERAPY UNIT |  | EME Physio | Input Power Supply: 220 V 50-60 Hz, 50W | 2023-01-01 | 2023-02-15 | Pending From Supplier
33.2 | VACCUM THERAPY |  | Motech | Equipment is mobile, hand-held Input Power Supply: 200 V, 50Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
33.3 | INFRARED RADIANT |  | Motech | Equipment is mobile, hand-held Input Power Supply: 200 V, 50Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
33.4 | MAGNETOTHERAPY |  | Chinesport | Equipment is Table-top Input Power Supply: 230 VAC, 50-60 Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
33.6 | CONTINUOUS PASSIVE MOTION LOWER LIMBS |  | EME Physio | Input Power Supply: 220V, 50Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
35 | COMPUTER-BASED URODYNAMIC SYSTEM ON CASTORS |  | creomidical | Equipment is moveable on castor. LAN Connection available. Input Power Supply: 220V, 50Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
36 | URODYNAMIC CHAIR |  | Creo Medical | Input Power Supply: 220-240V, 50/60Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
38 | PORCELAIN FURNACE WITH VACCUM PUMP | Supplier to provide exact final positioning on drawing | Phoenix 7 | Input Power Supply: 220V, 1.6W | 2023-01-01 | 2023-02-15 | Pending From Supplier
39 | BURNOUT FURNACE |  | UMG | Input Power Supply: 240V, 13A, 3.1kW, 1 Ph, 50/60Hz; Power Consumption: 4000W | 2023-01-01 | 2023-02-15 | Pending From Supplier
40 | CASTING MACHINE - MANUAL |  | Mancast | Equipment is table top, non electrical. | 2023-01-01 | 2023-02-15 | Pending From Supplier
41 | SANDBLASTER |  | Aixin | Input Power Supply: 220V, 50/60Hz Power Consumption: <8W | 2023-01-01 | 2023-02-15 | Pending From Supplier
42 | MICRO SANDPLASTER |  | Optiblast | Equipment is table top, mobile. Input Power Supply: 220V, 50Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
43 | VIBRATOR |  | European | Equipment is table top Input Power Supply: 220V, 50Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
44 | HANGING MOTOR WITH HANPIECE |  | European | Equipment is mobile with rechargeable battery 40V, 2.5Ah Input Power Supply: 220V, | 2023-01-01 | 2023-02-15 | Pending From Supplier
45 | MICRO MOTOR |  | European | Equipment is attached to motor | 2023-01-01 | 2023-02-15 | Pending From Supplier
46 | VACCUM MIXER |  | China | Equipment is table top Input Power Supply: 110/230V, 50/60Hz. Motor: 320RPM | 2023-01-01 | 2023-02-15 | Pending From Supplier
47 | PINDEX |  | China | Equipment is table top Input Power Supply: 230V, 50Hz, 2500rpms Nominal Power: 100W | 2023-01-01 | 2023-02-15 | Pending From Supplier
48 | MODEL TRIMMER |  | European | Power Supply: 220V/110V 50/60Hz Power Consumption: 370W Rotational Speed: 2,800RPM | 2023-01-01 | 2023-02-15 | Pending From Supplier
49 | STEAM MACHINE |  | China | Power Supply: 120/220V Power Consumption: 10amps | 2023-01-01 | 2023-02-15 | Pending From Supplier
50 | MOTOR CENTRIFUGE |  | UK | Power Supply: 220V | 2023-01-01 | 2023-02-15 | Pending From Supplier
51 | POLISHING MOTOR |  | European | Power Supply: 220V, 50/60Hz | 2023-01-01 | 2023-02-15 | Pending From Supplier
52 | INSTRUMENT CLEANER |  | MULIT ENZYMATIC | Consumable, Non-Electrical Item | 2023-01-01 | 2023-02-15 | Pending From Supplier
53 | SEALING MACHINE |  | QASA | Equipment is Table top Power Input: max 420W | 2023-01-01 | 2023-02-15 | Pending From Supplier
54 | ORTHODONTIC SPOT WELDER |  | Vimel | Equipment is Table top Power Input Voltage: 220V, 50/60Hz Supply current on load: 15A Power: 1000W | 2023-01-01 | 2023-02-15 | Pending From Supplier
55 | VACUUM FORMER TABLETOP DENTAL LAB |  | UMG | Equipment is Table top Power Input Voltage: 220V, 50/60Hz Power: 350W | 2023-01-01 | 2023-02-15 | Pending From Supplier