## Sheet1
Item No . | Tag No | Description Of Item | LAN | Qty of Units required | Total Qty in IPD | Total Qty in OPD | Voltage (V) | Power (W) | Total Power in OPD (W)
K.219.49.81 | 4 | EXAMINATION HALOGEN LIGHT - ON CASTORS |  | 79 | 47 | 32 |  | 20 | 640
5 | 5 | DIAGNOSTIC STATION - WALL MOUNTED - OPHTHALMOSCOPE - OTOSCOPE - NIBP - THERMOMETER |  | 32 | 2 | 30 |  | 250 | 7500
6 | 6 | ULTRA SLIM LIGHT BOX 41X36 CM |  | 32 | 3 | 29 |  | 150 | 4350
M.95.00.45 | 7 | ECG - 12 CHANNEL - ON TROLLEY | LAN | 5 | 3 | 2 |  | 250 | 500
M.177.82.55 | 8 | DEFIBRILLATOR - UNMONITORED |  | 11 | 10 | 1 |  | 250 | 250
M.74.06.11 | 9 | TREADMILL ELEVATING WITH PC CONTROL |  | 1 | 0 | 1 |  | 4800 | 4800
R.169.72.93 | 10 | ULTRASOUND UNIT - OB/GYN 3/4D VOLUMETRIC WITH DVD RECORDER |  | 2 | 0 | 2 |  | 1125 | 2250
A.63.66.82 | 11 | PLETHYSMOGRAPH CABINET - COMPACT SIZE WITH CHAIR 1 |  | 1 | 0 | 1 |  | 250 | 250
M.168.61.15 | 12 | ELECTROENCEPHALOGRAPH STATION - 32 CHANNEL TROLLEY MOUNTED - WITH ACCESSORIES |  | 5 | 2 | 3 | 220 | 250 | 750
E.41.54.59 | 13 | ENT STATION WITH CHAIR AND INSTRUMENTS - VIDEO MONITOR |  | 3 | 0 | 3 | 220 | 1130 | 3390
E.51.54.59 | 14 | ENT MICROSCOPE |  | 3 | 0 | 3 |  | 1500 | 4500
M.111.30.57 | 15 | ELECTROSURGICAL UNIT 200 WATTS - ENT |  | 3 | 0 | 3 |  | 940 | 2820
O.196.40.64 | 18.2 | SCREENER - VISUAL FIELD COMPUTER BASED | LAN | 1 | 0 | 1 |  | 75 | 75
CBCT.001 | 19 | CEPHALO SCAN CBCT 1 |  | 1 | 0 | 1 | 110 | 3000 | 3000
D.121.03.06 | 20 | DENTAL CHAIR BUILT IN COMPRESSOR COMPLETE |  | 6 | 0 | 6 |  | 46 | 276
D.121.03.06 | 20 | DENTAL X-RAY UNIT WALL MOUNTED |  | 6 | 0 | 6 | 110 | 2250 | 13500
D.111.03.06 | 21 | DENTAL CURING LIGHT - CORDLESS - LED |  | 6 | 0 | 6 |  | 12.5 | 75
S.96.85.16 | 22 | AUTOCLAVE - DENTAL INSTRUMENTS 24L |  | 6 | 0 | 6 |  | 1400 | 8400
D.111.54.59 | 24 | LASER - DENTAL SURGICAL/DIODE/TABLETOP FOR SOFT TISSUE |  | 6 | 0 | 6 |  | 50 | 300
D.110.51.53 | 25 | AMALGAMATOR - DENTAL |  | 6 | 0 | 6 | 110 | 40 | 240
O.166.34.52 | 26 | RETINAL CAMERA / OCT OPHTHALMOSCOPE / EYE F-ANGIO / TABLETOP |  | 1 | 0 | 1 | 220 | 500 | 500
O.122.42.80 | 27 | PROJECTOR - VISUAL ACUITY |  | 3 | 0 | 3 | 220 | 250 | 750
O.217.82.55 | 28 | AUTO REFRACTOMETER/KERATOMETER |  | 3 | 0 | 3 | 220 | 75 | 225
O.198.06.56 | 28.1 | LENSOMETER - TABLETOP |  | 3 | 0 | 3 | 220 | 150 | 450
O.160.63.76 | 29 | OPHTHALMOLOGY CHAIR - COMPLETE (RETINOSCOPE - SLIT LAMP - TONOMETER) |  | 3 | 0 | 3 | 220 | 528 | 1584
G.20.51.53 | 30 | LED VIDEO COLPOSCOPE - 3.75X/7X/15X > 28000 LUX - ON TROLLEY |  | 2 | 0 | 2 | 220 | 500 | 1000
E.20.51.54 | 31 | BOOTH - AUDIOMETRY - COMPACT WITH VIEWPORT AND CHAIR - 1.2X1.2M |  | 1 | 0 | 1 | 220 | 250 | 250
P.166.43.69 | 32 | ERGOMETER |  | 4 | 0 | 4 | 220 | 75 | 300
P.147.49.81 | 33 | ELECTROTHERAPY UNIT |  | 3 | 0 | 3 | 220 | 50 | 150
P.100.09.17 | 33.1 | PRESSOTHERAPY UNIT |  | 1 | 0 | 1 | 220 | 50 | 50
P.104.72.93 | 33.2 | VACCUM THERAPY |  | 1 | 0 | 1 | 220 | 250 | 250
P.110.91.27 | 33.3 | INFRARED RADIANT |  | 1 | 0 | 1 | 220 | 1000 | 1000
P.111.42.80 | 33.4 | MAGNETOTHERAPY |  | 1 | 0 | 1 | 220 |  | 0
P.136.03.50 | 33.5 | CONTINUOUS PASSIVE MOTION UPPER LIMBS |  | 1 | 0 | 1 | 220 | 75 | 75
P.148.40.19 | 33.6 | CONTINUOUS PASSIVE MOTION LOWER LIMBS |  | 1 | 0 | 1 | 220 | 75 | 75
P.158.73.38 | 33.7 | HYDROCOLLECTOR - COLD COMPRESS |  | 1 | 0 | 1 | 220 | 1500 | 1500
P.162.85.61 | 33.8 | HYDROCOLLECTOR - HOT COMPRESS |  | 1 | 0 | 1 | 220 | 1500 | 1500
R.168.69.87 | 34 | ULTRASOUND UNIT - CARDIAC - WITH ASSESSMENT SOFTWARE - 3 PROBE |  | 1 | 0 | 1 | 220 | 250 | 250
U.134.27.96 | 35 | COMPUTER-BASED URODYNAMIC SYSTEM ON CASTORS | LAN | 2 | 0 | 2 | 220 | 250 | 500
U.134.79.49 | 36 | URODYNAMIC CHAIR |  | 2 | 0 | 2 | 220 | 250 | 500
L.161.54.134 | 37 | REFRIGERATOR 500 L 1 |  |  |  | 1 | 220 | 250 | 250
ASF.001 | 38 | PORCELAIN FURNACE WITH VACCUM PUMP |  | 1 | 0 | 1 | 220 | 440 | 440
ASF.002 | 39 | BURNOUT FURNACE |  | 1 | 0 | 1 | 220 | 4000 | 4000
ASF.003 | 40 | CASTING MACHINE - MANUAL |  | 1 | 0 | 1 | 220 |  | 0
ASF.004 | 41 | SANDBLASTER |  | 1 | 0 | 1 | 220 | 10 | 10
ASF.005 | 42 | MICRO SANDPLASTER |  | 1 | 0 | 1 | 220 |  | 0
ASF.006 | 43 | VIBRATOR |  | 1 | 0 | 1 | 220 |  | 0
ASF.007 | 44 | HANGING MOTOR WITH HANPIECE |  | 1 | 0 | 1 | 220 | 250 | 250
ASF.008 | 45 | MICRO MOTOR |  | 1 | 0 | 1 | 220 | 250 | 250
ASF.009 | 46 | VACCUM MIXER |  | 1 | 0 | 1 | 220 | 250 | 250
ASF.010 | 47 | PINDEX |  | 1 | 0 | 1 | 220 | 125 | 125
ASF.011 | 48 | MODEL TRIMMER |  | 1 | 0 | 1 | 220 | 462.5 | 462.5
ASF.012 | 49 | STEAM MACHINE |  | 1 | 0 | 1 | 220 | 2750 | 2750
ASF.013 | 50 | MOTOR CENTRIFUGE |  | 1 | 0 | 1 | 220 |  | 0
ASF.014 | 51 | POLISHING MOTOR |  | 1 | 0 | 1 | 220 |  | 0
MTC.009 | 52 | INSTRUMENT CLEANER | Non-medical | 1 | 0 | 1 | 0 | 0 | 0
MTC.012 | 53 | SEALING MACHINE |  | 1 | 0 | 1 | 220 | 420 | 420
MTC.098 | 54 | ORTHODONTIC SPOT WELDER |  | 1 | 0 | 1 | 220 | 1000 | 1000
MTC.099 | 55 | VACUUM FORMER TABLETOP DENTAL LAB 1 |  | 1 | 0 | 1 | 220 | 350 | 350
A.112.61.59 | 56 | ELECTRONIC TRANSPORT VENTILATOR ON BED HOOK |  | 14 | 14 | 0 | 220 | 50 | 0
A.60.12.23 | 57 | NEBULISER - EMERGENCY ROOM WITH MEDICATION CUP |  | 10 | 10 | 0 | 220 | 97 | 0
M.109.15.29 | 58 | PATIENT WARMER |  | 32 | 32 | 0 | 220 | 150 | 0
M.166.52.42 | 59 | VITALS MONITOR ON CASTORS - DETACHABLE |  | 43 | 43 | 0 | 220 | 270 | 0
M.167.25.35 | 60 | TRANSPORT & EMERGENCY MONITOR |  | 87 | 87 | 0 | 220 | 300 | 0
M.176.27.96 | 61 | DEFIBRILLATOR - MONITORED WITH PACER |  | 14 | 14 | 0 | 220 |  | 0
M.86.57.64 | 62 | PUMP - SUCTION ON TROLLEY - TWIN CONTAINER 1L |  | 9 | 9 | 0 | 220 |  | 0
M.88.51.53 | 63 | AUTO SYRINGE PUMP |  | 95 | 95 | 0 | 220 | 62.5 | 0
M.90.54.59 | 64 | INFUSION PUMP VOLUMETRIC ON CASTORS |  | 74 | 74 | 0 | 220 | 62.5 | 0
M.101.97.39 | 65 | SAW - PLASTER – ELECTRIC |  | 1 | 1 | 0 | 220 | 250 | 0
M.101.97.40 | 66 | SAW - PLASTER – MANUAL | Non-electric | 1 | 1 | 0 | 0 | 0 | 0
S.97.36.69 | 67 | AUTOCLAVE - FAST CYCLE - 30L - HORIZONTAL - TABLE TOP |  | 4 | 4 | 0 | 220 | 1700 | 0
DU.007 | 68 | SLOP HOPPER | Non-electric | 11 | 11 | 0 | 0 | 0 | 0
A.51.03.06 | 69 | ANAESTHESIA UNIT - 2 VAPORIZER/VENTILATOR/RESP MONITOR |  | 3 | 3 | 0 | 220 | 250 | 0
F.73.60.70 | 70 | TABLE - OPERATING - MINOR SURGERY - HYDRAULIC | Non-electric | 2 | 2 | 0 | 0 | 0 | 0
K.108.57.64 | 71 | CEILING LIGHT - SURGICAL - LED - 100K LUX - SINGLE ARM |  | 4 | 4 | 0 | 220 | 100 | 0
S.99.18.35 | 72 | WASHER - BEDPAN/URINAL - FLOOR TYPE | Non-electric | 8 | 8 | 0 | 0 | 0 | 0
R.168.18.34 | 73 | GENERAL ULTRASOUND UNIT 3 PROBE WITH PRINTER |  | 2 | 2 | 0 | 220 | 250 | 0
PRTS | 74 | PRINTER NETWORK BASED LASER B/W |  | 9 | 9 | 0 | 220 | 250 | 0
R.108.39.75 | 75 | FILM PRINTER MULTI FORMAT FOR RADIOLOGY DEPARTMENT |  | 1 | 1 | 0 | 220 | 1375 | 0
R.88.76.43 | 76 | REPORTING STATION (WITH THE DESIRED 3-WORKSTATIONS ACCORDING TO STATED SPECIIFCATION) |  | 1 | 1 | 0 | 220 |  | 0
K.151.27.52 | 77 | ULTRA SLIM LIGHT BOX DOUBLE FILM |  | 12 | 12 | 0 | 220 | 150 | 0
F.38.72.93 | 78 | BED 3 SECTION ELECTRIC - FIXED HEIGHT - ON CASTORS |  | 134 | 134 | 0 | 220 | 490 | 0
F.39.24.46 | 79 | BED INTENSIVE CARE FULL ELECTRIC |  | 10 | 10 | 0 | 220 | 490 | 0
M.179.58.54 | 80 | MONITOR - PATIENT ICU - ECG/SPO2/NIBP/RESP/ETCO2/TEMP |  | 10 | 10 | 0 | 220 | 300 | 0
A.66.18.34 | 81 | VENTILATOR - ADULT - ICU |  | 5 | 5 | 0 | 220 | 50 | 0
A.60.63.76 | 82 | NEBULISER - EMITTED DOSE - ICU/CCU |  | 2 | 2 | 0 | 220 | 12 | 0
PCD |  | PC DESKTOP 15" MONITOR ALL IN ONE WITH UPS 500 VA |  |  |  | 58 | 220 | 250 | 11600
|  | UPS LIGHTING |  |  |  | 120 |  | 19.8 | 2376 | 2.97
|  | TOTAL |  |  | All medical equipment |  |  |  | 63466
[5 empty] | KVA = | 79.3325
[5 empty] | 10% = | 87.2657
[5 empty] | All medical equipment & PCs |  |  |  | 75066
[5 empty] | KVA = | 93.8325
[5 empty] | 10% = | 103.2157
[5 empty] | All medical equipment & UPS Lighting |  |  |  |  | 82.3025
[5 empty] | KVA = | 82.3025
[5 empty] | 10%= | 90.5328
[5 empty] | All other equipment without medical(KVA) |  |  |  | 286
[5 empty] | Grand-total(KVA) |  |  |  | 286
[5 empty] | Current in Amps |  |  |  | 398.3564
8.3313
554.8
A1 |  | AED |  | 2 | 2
A.107.15.29 |  | RESUSCITATION STATION/BABY WARMER |  | 8 | 8
A.107.15.30 |  | BABY WARMER NICU |  | 4 | 4
A.109.42.80 |  | RESUSCITATION UNIT (AMBU) ADULT/PEDIATRIC SET COMPLETE |  | 9 | 9
A.50.51.53 |  | ANAESTHESIA PENDANT MECH WITH MONITOR SHELF AND POWER OUTLET |  | 7 | 7
A.51.54.59 |  | ANAESTHESIA WORKSTATION- 2 VAPORIZER/DIGITAL/RESP+PATIENT MONITOR/VENTILATOR/GAS SCAVENGING |  | 5 | 5
A.52.06.11 |  | ANESTHESIA MACHINE - SIMPLE - MRI COMPATIBLE |  | 1 | 1
A.55.09.17 |  | CPAP MACHINE - NEONATAL |  | 4 | 4
A.57.60.70 |  | HUMIDIFIER FOR NEONATAL HFO VENTILATOR |  | 3 | 3
A.57.60.70M |  | HUMIDIFIER FOR NEONATAL VENTILATOR |  | 9 | 9
A.57.60.71 |  | HUMIDIFIER FOR ADULT/PEDIATRIC VENTILATOR |  | 4 | 4
A.61.15.29 |  | NEBULISER |  | 5 | 4
A.63.66.82 |  | PLETHYSMOGRAPH CABINET - COMPACT SIZE WITH CHAIR |  | 1 | 0
A.67.21.40 |  | VENTILATOR - BIPAP CAPABILTY - ICU |  | 2 | 2
A.67.72.93 |  | VENTILATOR - NEONATAL |  | 9 | 9
A.68.24.46 |  | VENTILATOR - NEONATAL HFO |  | 3 | 3
A.68.75.99 |  | VENTILATOR - PEDIATRIC/ADULT ICU |  | 4 | 4
A.69.27.52 |  | VENTILATOR - TRANSPORT - ADULT |  | 1 | 1
D.122.06.11 |  | RADIOVISIOGRAPHY UNIT - HANDHELD WITH INTRAORAL CAMERA |  | 6 | 0
DU.003 |  | SINK - CLEANER - SINGLE |  | 10 | 4
E.20.51.53 |  | AUDIOMETER - TABLE TOP - DUAL CHANNEL |  | 1 | 0
E.21.54.59 |  | SCREENING - HEARING FOR NEWBORN - OAE & ABR |  | 3 | 3
E.22.06.11 |  | TYMPANOMETER |  | 1 | 0
E.40.51.53 |  | ENT CAMERA |  | 3 | 0
E.41.03.06 |  | ENT FLEXIBLE SCOPE |  | 3 | 0
E.52.06.11 |  | MICROSCOPE - OPERATING - ENT SURGERY |  | 1 | 1
F.101.03.06 |  | PHYSIOTHERAPY TABLE (BOBATH) |  | 3 | 0
F.106.45.86 |  | WHEEL CHAIR |  | 21 | 18
F.106.45.87 |  | WHEEL CHAIR - PEDIATRICS |  | 4 | 4
F.106.45.88 |  | WHEEL CHAIR - MRI COMPATIBLE |  | 1 | 1
F.109.55.03 |  | TROLLEY - PATIENT TRANSPORT - STAINLESS STEEL FRAME - WASHABLE PADDING |  | 21 | 21
F.109.55.05 |  | STRETCHER - PROCEDURAL |  | 2 | 2
F.116.58.09 |  | TROLLEY - PATIENT TRANSPORT - ABS FRAME - PADDED - TR AND RTR - HYDRAULIC |  | 22 | 22
F.118.09.62 |  | TROLLEY - PATIENT TRANSPORT - MRI COMPATIBLE - PADDED - ON CASTORS |  | 1 | 1
F.128.58.54 |  | BOWL STAND STAINLESS STEEL DOUBLE BOWL |  | 5 | 5
F.129.10.06 |  | BUCKET - KICK ABOUT ON CASTORS STAINLESS STEEL |  | 5 | 5
F.129.61.59 |  | CABINET - DANGEROUS DRUG COMPARTMENT |  | 22 | 19
F.130.13.12 |  | CABINET - OT - STAINLESS STEEL - INSTRUMENT AND CONSUMABLES STORAGE |  | 24 | 24
F.130.64.65 |  | DRESSING TROLLEY - OT - STAINLESS STEEL - ON CASTORS |  | 3 | 2
F.131.16.18 |  | DRESSING TROLLEY - STANDARD |  | 30 | 28
F.131.67.71 |  | TABLE - INSTRUMENTS - STAINLESS STEEL - 2 SHELVES - ON CASTORS |  | 5 | 5
F.132.19.23 |  | CART - ANAESTHESIA - ABS - 5 DRAWER |  | 7 | 7
F.132.19.24 |  | TABLE - MAYO - STAINLESS STEEL |  | 6 | 6
F.132.19.26 |  | TABLE - MAYO - MRI COMPATIBLE |  | 1 | 1
F.132.70.76 |  | TROLLEY - TRANSPORT - STERILE INSTRUMENTS - HERMETIC |  | 3 | 3
F.133.22.29 |  | TROLLEY - TRANSPORT - WIRE BASKETS |  | 9 | 9
F.133.73.82 |  | WASH STATION - DOUBLE SINK - STAINLESS STEEL - SPRAY GUN WATER |  | 1 | 1
F.133.73.83 |  | CURTAIN - PATIENT SEPARATION |  | 5 | 5
F.136.31.46 |  | WORK TABLE - STAINLESS STEEL - 1.8 M - PACKING AND SORTING |  | 2 | 2
F.164.92.17 |  | INSTRUMENT TROLLEY - OT - STAINLESS STEEL - ON CASTORS |  | 3 | 3
F.34.15.31 |  | BED - PEDIATRIC - 2 SECTION - MANUAL - ON CASTORS WITH MATTRESS |  | 43 | 43
F.35.66.82 |  | BABY COT - TRANSPARENT PRESPEX DESIGN ON CASTORS |  | 12 | 12
F.39.24.47 |  | BED INTENSIVE CARE FULL ELECTRIC - PEDIATRIC |  | 4 | 4
F.39.75.99 |  | BED - DELIVERY - HEIGHT ADJUSTABLE - HYDRAULIC - WITH ACCESSORIES |  | 12 | 12
F.40.75.99 |  | BED SIDE TABLE |  | 189 | 189
F.43.66.82 |  | OVERBED TABLE |  | 189 | 189
F.44.66.83 |  | PATIENT CHAIR - RECLINED - 3 SECTION - HYDRAULIC - FIXED HEIGHT - ARM SUPPORT |  | 12 | 12
F.46.27.52 |  | CLASSIC EXAMINATION COUCH |  | 26 | 3
F.46.79.04 |  | CLASSIC EXAMINATION COUCH - WITH HOLE |  | 1 | 1
F.72.57.64 |  | TABLE - OPERATING - ELECTRIC/HYDRAULIC - WITH MANUAL OVERRIDE - EYE/ENT SURGERY |  | 1 | 1
F.73.09.17 |  | TABLE - OPERATING - GENERAL SURGERY - ELECTRIC/HYDRAULIC |  | 2 | 2
F.74.12.23 |  | TABLE - OPERATING GENERAL SURGERY ELECTRIC/HYDRAULIC WITH MANUAL OVERRIDE - KIDNEY BRIDGE |  | 3 | 3
F.84.73.38 |  | POLE - IV ON CASTORS 4 HOOK STAINLESS STEEL |  | 32 | 32
F.92.48.92 |  | GYNAECOLOGICAL EXAMINATION CHAIR FIXED HEIGHT WITH LEGHOLDERS |  | 4 | 0
G.174.12.68 |  | DELIVERY SUCTION UNIT (VENTEUSE) WITH ACCESSORIES |  | 12 | 12
GYM1 |  | TREADMILL |  | 8 | 0
GYM10 |  | LAT PULL DOWN MACHINE |  | 2 | 0
GYM11 |  | DIPPING BAR |  | 2 | 0
GYM2 |  | ELLIPTICAL |  | 4 | 0
GYM3 |  | STATIONARY BIKE |  | 3 | 0
GYM4 |  | ABDOMINAL BENCH |  | 2 | 0
GYM5 |  | BENCH PRESS |  | 2 | 0
GYM6 |  | PEC DECK MACHINE |  | 2 | 0
GYM7 |  | LEG PRESS |  | 1 | 0
GYM8 |  | LEG MACHINE |  | 1 | 0
GYM9 |  | EXERCISE BIKE |  | 3 | 0
HYDR01 |  | HYDROTHERAPY POOL 4M X 6M WITH PUMP ROOM AND ACCESSORIES |  | 1 | 0
K.108.57.63 |  | EXAMINATION LIGHT - CSSD - MAGNIFYING - DESKTOP |  | 2 | 2
K.146.55.48 |  | LIGHT - CEILING MAJOR SURGERY 2 ARMS 300 KLUX |  | 4 | 4
K.157.03.95 |  | PHOTOTHERAPY UNIT ON CASTORS |  | 9 | 9
K.204.19.24 |  | HEAD LIGHT |  | 3 | 0
K.219.49.83 |  | EXAMINATION LED LIGHT - WALL MOUNTED |  | 1 | 1
M.101.45.86 |  | SPO2 MONITOR HANDHELD WITH PEDIATRIC PROBE |  | 4 | 4
M.101.97.41 |  | DRILL - ELECTRICAL - SURGICAL - ORTHOPAEDIC - SET OF ATTACHMENTS - ASSORTED |  | 1 | 1
M.101.97.42 |  | DRILL - ELECTRICAL - SURGICAL - CRANIAL PLASTY - WITH CRANIAL PERFORATOR |  | 1 | 1
M.106.54.59 |  | PENDANT - CEILING / 2 TV |  | 4 | 4
M.106.54.59.1 |  | PENDANT ACCESSORY |  | 4 | 0
M.107.12.23 |  | CRYOSURGERY UNIT - SET OF ACCESSORIES |  | 2 | 2
M.107.12.24 |  | CRYOSURGERY UNIT OPHTHALMOLOGY - SET OF ACCESSORIES |  | 1 | 1
M.107.18.34 |  | ELECTROSURGICAL UNIT 120 WATTS - WITH FUME EXTRACTION |  | 2 | 2
M.107.31.46 |  | PUMP - SUCTION ON TROLLEY TWIN CONTAINER 3L ELECTRIC |  | 8 | 8
M.108.15.73 |  | INSTRUMENT TRAYS FOR STERILE AND CLEAN MATERIALS |  | 18 | 18
M.116.45.86 |  | ELECTROSURGICAL UNIT 300 WATTS - SINGLE SURGEON |  | 3 | 3
M.120.15.29 |  | STORAGE UNIT - ORTHOPEDIC ATTACHMENTS - STAINLESS |  | 1 | 1
M.120.33.63 |  | MONITOR - PEDIATRIC ICU |  | 5 | 5
M.122.12.68 |  | ELECTROSURGICAL UNIT 400 WATTS - DOUBLE SURGEON - VESSEL SEALING |  | 4 | 4
M.122.31.02 |  | LARYNGOSCOPE - MACINTOSH - CURVED - ALL SIZES BLADES |  | 33 | 33
M.122.31.05 |  | LARYNGOSCOPE - FIBRE OPTIC - PEDIATRIC BLADES |  | 4 | 4
M.122.31.07 |  | LARYNGOSCOPE - MACINTOSH - STRAIGHT - INFANT BLADES |  | 1 | 1
M.122.61.59 |  | SPIROMETER - HAND HELD - WITH PC LINK - PC INCLUDED |  | 1 | 0
M.123.57.64 |  | INCUBATOR - TRANSPORT - ICU SERVICES - GAS CYLINDER - BATTERY POWERED |  | 2 | 2
M.126.57.64 |  | INCUBATOR - NICU - ELECTRONIC TEMP CONTROL - FIXED HEIGHT |  | 9 | 9
M.126.57.65 |  | CART - DIAPER CHANGING - WITH SHELVES - ATTACHED DISPOSAL BIN COVERED |  | 2 | 2
M.126.92.17 |  | LARYNGOSCOPE - FIBRE OPTIC - VIDEO - ALL SIZES BLADES |  | 3 | 3
M.139.69.87 |  | MONITOR - PATIENT - SURGICAL SUITE - ANAESTHETIC GASES MONITORING |  | 2 | 2
M.142.58.09 |  | SPO2 MONITOR HANDHELD WITH NEONATAL PROBE |  | 3 | 3
M.142.58.42 |  | INTRACRANIAL PRESSURE MONITOR |  | 1 | 1
M.143.21.40 |  | MONITOR - PATIENT - OPERATING THEATER - ANA GASES/FULL PARAMETER |  | 5 | 5
M.144.51.53 |  | CRANIOTOMY SAW - ELECTRICAL - HANDHELD |  | 1 | 1
M.147.03.95 |  | ANEROID SPHYGMO - ON CASTORS |  | 26 | 26
M.147.03.96 |  | ANEROID SPHYGMO - ON CASTORS - PEDIATRIC CUFF |  | 6 | 6
M.149.51.97 |  | ESOPHAGEAL DILATOR - ASSORTED SIZES - SET |  | 1 | 1
M.150.03.50 |  | ESOPHAGOSCOPE - RIGID AND FLEXIBLE - SET |  | 1 | 1
M.150.88.22 |  | SCRUB STATION-DOUBLE WIDTH-SENSOR OPERATED-SOAP DISPENSER |  | 1 | 1
M.150.88.24 |  | SCRUB STATION-TRIPLE WIDTH-SENSOR OPERATED-SOAP DISPENSER |  | 3 | 3
M.151.70.32 |  | INFRARED THERMOMETER |  | 2 | 2
M.156.21.85 |  | FRACTURE TABLE |  | 1 | 1
M.158.95.22 |  | PUMP - FLUSHING GASTROSCOPY/COLONOSCOPY |  | 3 | 3
M.163.40.65 |  | MICROSCOPE - OPERATING - NEUROSURGERY |  | 1 | 1
M.163.40.65.1 |  | TWO NURSE EYEPIECE FOLDABLE |  | 1 | 0
M.163.57.64 |  | TOWER - LAPARASCOPY COMPLETE MONITOR/CAMERA/LIGHT SOURCE/INSUFFLATOR/PUMP/VIDEO PROC |  | 2 | 2
M.164.51.53 |  | COLONOSCOPE |  | 2 | 2
M.164.51.54 |  | COLONOSCOPE - Pediatric |  | 2 | 2
M.165.89.11 |  | INCUBATOR - NICU TR AND REV TR AND VARIABLE HEIGHT ELECTRIC |  | 3 | 3
M.168.31.46 |  | PEAK FLOW METER |  | 1 | 0
M.169.66.82 |  | GASTROSCOPE |  | 2 | 2
M.169.66.83 |  | GASTROSCOPE - Pediatric |  | 2 | 2
M.174.73.38 |  | EMERGENCY TROLLEY - CRASH CART |  | 17 | 16
M.174.73.39 |  | CART - EQUIPMENT |  | 1 | 1
M.176.79.49 |  | DEFIBRILLATOR - NEONATAL PADDLES WITH MOINTORING AND PACE |  | 1 | 1
M.177.03.50 |  | TOWER - ARTHROSCOPY COMPLETE - VIDEO PROCESSOR AND INSTRUMENT SETS |  | 1 | 1
M.177.31.02 |  | DEFIBRILLATOR - PEDIATRIC PADDLES WITH MONITORING AND PACE |  | 1 | 1
M.177.82.56 |  | DEFIBRILLATOR - UNMONITORED - PEDIATRIC PADDLES |  | 1 | 1
M.180.64.65 |  | GLUCOMETER - HAND HELD - QUICK TEST |  | 39 | 38
M.182.51.53 |  | CABINET - ENDOSCOPES |  | 2 | 2
M.186.43.25 |  | MONITOR - NEONATAL NICU |  | 12 | 12
M.194.86.05 |  | MONITOR - PATIENT - VITALS - MRI COMPATIBLE |  | 1 | 1
M.195.22.29 |  | ENTERAL FEEDING PUMP |  | 8 | 8
M.197.85.61 |  | FLEXIBLE ENDOSCOPES TOWER WITH CAMERA AND LIGHT SOURCE (VIDEO) |  | 2 | 2
M.197.85.62 |  | LAPAROSCOPY SET |  | 2 | 2
M.197.85.63 |  | PAEDIATRIC LAPAROSCOPIC INSTRUMENT |  | 2 | 2
M.197.85.64 |  | CYSTOSCOPE SET AND ACCESSORIES |  | 2 | 2
M.197.85.65 |  | URETEROSCOPY AND LASER LITHOTRIPSY |  | 2 | 2
M.197.85.66 |  | RESECTOSCOPE - TURP |  | 2 | 2
M.197.85.67 |  | PAEDIATRIC URETHROCYSTOSCOPY |  | 2 | 2
M.197.85.68 |  | NEPHROSCOPE - PCNL |  | 2 | 2
M.20.21.40 |  | SHARPS COLLECTOR - 7L CLEAR SIGNS |  | 2 | 2
M.208.16.18 |  | FLUID WARMER |  | 7 | 6
M.208.16.19 |  | HYPO HYPERTHERMIA UNIT |  | 2 | 2
M.35.51.53 |  | DIGITAL SCALE ADULT/PEDIATRIC |  | 35 | 3
M.36.54.59 |  | INFANT WEIGHING SCALE - ELECTRONIC |  | 4 | 4
M.52.18.34 |  | SPHYGMOMANOMETER - ANEROID ON CASTORS |  | 6 | 6
M.64.27.52 |  | GONIOMETER SET |  | 1 | 0
M.68.33.63 |  | LENS - GONIOSCOPY |  | 1 | 1
M.70.36.69 |  | ORCHIDOMETER - WOOD |  | 3 | 0
M.72.51.53 |  | CENTRAL STATION - PICU TO BE CONNECTED TO NICU AND PED ICU MONITORS ICU |  | 1 | 1
M.73.51.53 |  | BLOOD PRESSURE HOLTER MONITOR |  | 6 | 0
M.78.03.06 |  | RADIANT WARMER - SIMPLE |  | 6 | 6
M.78.85.16 |  | MONITOR - FOETAL TWIN CAPABILITY |  | 12 | 12
M.82.51.53 |  | DOPPLER - VASCULAR - ABI CAPABILITY - HAND HELD - WITH PRINTER |  | 1 | 0
M.84.94.78 |  | STETHOSCOPE - NURSE - ADULT |  | 47 | 47
M.84.94.80 |  | STETHOSCOPE - NURSE - PEDIATRIC |  | 5 | 5
M.85.97.83 |  | STETHOSCOPE - SURGEON |  | 4 | 4
M.85.97.84 |  | REGULATOR - SUCTION |  | 1 | 4
M.89.51.53 |  | INFUSION PUMP VOLUMETRIC |  | 39 | 39
M.92.42.80 |  | 12 CHANNEL ECG WITH MONITOR AND INTERPRETATION (STRESS TEST) |  | 1 | 0
M.93.45.86 |  | ECG HOLTER MONITOR |  | 6 | 0
M.94.48.92 |  | ECG - 3 CHANNEL - ON TROLLEY |  | 1 | 1
M.97.06.11 |  | PENDANT - OPERATING THEATER SERVICES - SHELVES AND SUPPORTS |  | 4 | 4
MON.006 |  | PHLEBOTOMY CHAIR |  | 2 | 2
N.101.46.31 |  | HEATER - BABY MILK BOTTLES - 6 HOLDER |  | 1 | 1
N.80.61.15 |  | DVD RECORDER |  | 2 | 2
N.85.03.95 |  | GAS CYLINDER - O2 - ON TROLLEY |  | 7 | 7
N.86.07.01 |  | GAS CYLINDER TROLLEY - OXYGEN/N2O |  | 10 | 10
N.86.07.02 |  | CYLINDER RACKS |  | 1 | 1
O.136.51.53 |  | TRIAL LENSE FRAME WITH SET OF LENSES |  | 1 | 1
O.162.76.43 |  | OPHTHALMOSCOPE - INDIRECT |  | 5 | 1
O.172.73.82 |  | MAGNIFYING LOUPE - BINOCULAR |  | 1 | 1
O.204.21.85 |  | OPHTHALMOSCOPE - DIRECT |  | 1 | 1
O.206.46.75 |  | RETINOSCOPE |  | 1 | 1
O.209.21.85 |  | OPHTHALMOSCOPE - FUNDOSCOPE |  | 2 | 0
O.224.13.12 |  | PHACO EMULSIFIER UNIT |  | 1 | 1
P.121.60.70 |  | PULLEY SYSTEM |  | 1 | 0
P.125.21.40 |  | PARALLEL BARS |  | 1 | 0
P.131.91.27 |  | WEIGHTS - SET PHYSIO |  | 1 | 0
P.136.55.03 |  | QUADRICEP EXERCISER |  | 1 | 0
P.139.64.20 |  | SHOULDER WHEEL |  | 2 | 0
P.98.03.06 |  | TENS MACHINE (TNS OMEGA) |  | 3 | 0
S.185.61.15 |  | WASHER - DISINFECTOR - AUTOMATIC CYCLES - PASS THROUGH |  | 2 | 2
S.185.61.15.7 |  | UNINTERRUPTED POWER SYSTEM (UPS) |  | 5 | 5
S.187.67.26 |  | ENDOSCOPE WASHER - DISINFECTOR |  | 1 | 1
S.216.03.95 |  | THERMOWELDER - HEAT SEALING - MANUAL |  | 2 | 2
S.96.33.64 |  | AUTOCLAVE - 500 L - DOUBLE DOOR - WITH LOADING AND UNLOADING TROLLEYS |  | 2 | 2
S.96.33.64.8 |  | EXTERNAL LOADING/UNLOADING TROLLEY |  | 2 | 2
S.96.85.16.1 |  | EXTERNAL PRINTER |  | 6 | 0
S.98.66.82 |  | CLEANER - ULTRASONIC - >30L |  | 1 | 1
S.99.18.34 |  | SPRAY GUN - AIR |  | 1 | 1
S.99.18.37 |  | TROLLEY - SOILED LINEN - EPOXY COATED - WITH COVER |  | 15 | 11
S.99.18.40 |  | RECORD HOLDER TROLLEY - 2 LARGE Drawer - ABS |  | 18 | 18
TPHY |  | PHYSIO TABLE |  | 2 | 0
U.63.18.79 |  | DIALYSIS MACHINE |  | 12 | 12
U.63.18.79.1 |  | DIALYSIS MACHINE - ICU |  | 1 | 1
|  | TOTAL |  |  |  |  | This Represents Medical Equipment Excluded in the Phased Options
DIFFERENCE- This represents Sum total for medical Equipment for OPD(Full Amount) + IPD phased (selected areas only)